## Public
Committee or Subcommittee | Chair | ERCOT Point of Contact(s) | KTC 15-3 Switchable Resources | KTC 15-4 Provisions Associated with Delayed Outages | KTC 15-5 Black Start Service | KTC 15-6 Reliability Must-Run (RMR) and Must-Run Alternative (MRA) Services | KTC 15-9 Governor Dead-band Telemetry as a Concept
Short - High Level Description |  |  | The protocols do not address the possibility of a Switchable Resource being an ESR. Is it possible from a market and reliability perspective that a Switchable Resource could be an ESR? What are the special operational and market issues associated with a limited duration resource, with no start up costs? Does a Switchable Resource that is a battery that withdraws from ERCOT and subsequently injects into SPP create any FERC issues? (Need ERCOT Legal to help.) Is there a limit on how many of these Resources can be reasonably "handled" by the ERCOT Operators? | NPRR 930 "Process, Pricing, and Cost Recovery for Delayed Resource Outages" was partially implemented on 7-1-20. What issues must be addressed to appropriately address issues unique to batteries (limited duration resources)? | What issues must be addressed to appropriately allow or appropriately limit batteries to provide Black Start Service. Concerns about their limited duration and concerns about batteries located on the distribution system are examples of two topics to be addressed. | The protocols are silent on the possibility of an ESR or several ESRs providing MRA service. It does not exclude them and since it specifies GRs, CLRs and distributed resources could all ultimately provide MRA ---- what are the details and limitations that need to be added to the protocols in order to address the limited duration and no start up cost for a battery? What are the market and reliability concerns that need to be answered? Note that the MRA RFP from the summer of 2016 did not exclude batteries but there may need to be software changes required by ERCOT in order to handle a fleet of batteries on the distribution system. | During discussions at BESTF, it was suggested an approach be investigated that would allow resources to change and telemeter their dead-band setting. Is this practical? How should it be done? What protocol language changes and other language changes would be needed and what does the Impact Analysis look like?
TAC | Clif Lange | Kenan Ogelman | TAC Sunset BESTF on 3-24-21 and assigned 5 topics to ROS and WMS on 4-28-21. | TAC Sunset BESTF on 3-24-21 and assigned 5 topics to ROS and WMS on 4-28-21. | TAC Sunset BESTF on 3-24-21 and assigned 5 topics to ROS and WMS on 4-28-21. | TAC Sunset BESTF on 3-24-21 and assigned 5 topics to ROS and WMS on 4-28-21. | TAC Sunset BESTF on 3-24-21 and assigned 5 topics to ROS and WMS on 4-28-21.
ROS | Chair: Chase Smith | Freddy Garcia John Bernecker Nitika Mago Muhammad Khan | Assigned to ROS by TAC on 4-28-21 | Assigned to ROS by TAC on 4-28-21 | Assigned to ROS by TAC on 4-28-21 | Assigned to ROS by TAC on 4-28-21 | Assigned to ROS by TAC on 4-28-21
OWG | Chair: Rickey Floyd | Freddy Garcia | a) Assigned to OWG by ROS on 4-29-21 | a) Assigned to OWG by ROS on 4-29-21
BSWG | Chair: Tony Kroskey | Vice Chair: Freddy Garcia |  |  | a) Assigned to BSWG by ROS on 4-29-21
PLWG | Chair: Charles DeWitt | John Bernecker |  |  |  | a) Assigned to PLWG by ROS on 4-29-21 b) Briefly discussed at PLWG on 6-16-21
PDCWG | Chair: Chad Mulholland | Nitika Mago |  |  |  |  | a) Assigned to PDCWG by ROS on 4-29-21
DWG | Chair: Sam Jung | Muhammad Khan |  |  |  |  | a) Assigned to DWG by ROS on 4-29-21
WMS | Resmi Srendran | Dave Maggio Sandip Sharma | Assigned to WMS by TAC on 4-28-21 | Assigned to WMS by TAC on 4-28-21 |  | Assigned to WMS by TAC on 4-28-21
WMWG | Chair: David Detelich | Aaron Townsend | a) Assigned to WMWG by WMS on 5-5-21 and WMS stated that WMWG should consider the issue after ROS concludes their review. | a) Assigned to WMWG by WMS on 5-5-21 and WMS stated that WMWG should consider the issue after ROS concludes their review. |  | a) Assigned to WMWG by WMS on 5-5-21 and WMS stated that WMWG should consider the issue after ROS concludes their review.
|  |  | KTC 15-3 Switchable Resources | KTC 15-4 Provisions Associated with Delayed Outages | KTC 15-5 Black Start Service | KTC 15-6 Reliability Must-Run (RMR) and Must-Run Alternative (MRA) Services | KTC 15-9 Governor Dead-band Telemetry as a Concept