| PGRR Number | 090 | PGRR Title | Additional Flexibility for Updates to Seasonal Net Max Sustainable Rating |
| --- | --- | --- | --- |
| Date of Decision |  | July 8, 2021 |  |
| Action |  | Rejected |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Not applicable |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Planning Guide Sections Requiring Revision |  | 5.1.1, Applicability |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) allows Generation Resources to notify ERCOT of a Seasonal Net Max Sustainable Rating increase by updating its Resource Registration information if the request is within the limitations of an existing interconnection study/agreement. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | This PGRR allows approved generation with a valid Standard Generation Interconnection Agreement (SGIA) to generate to its Seasonal Net Max Sustainable Rating for any season. Currently, an approved generator is limited seasonally by its Resource Registration information versus its SGIA, and if a generator gains any efficiencies over a season the rules do not allow for that generator to provide that additional capacity. |  |
| ROS Decision |  | On 6/3/21, ROS voted unanimously via roll call to table PGRR090 and refer the issue to Planning Working Group (PLWG). All Market Segments participated in the vote. On 7/8/21, ROS voted via roll call to reject PGRR090. There was one opposing vote from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment and four abstentions from the Consumer (Air Liquide), Cooperative (LCRA), Independent Generator (Exelon), and Municipal (CPS Energy) Market Segments. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 6/3/21, there was no discussion. On 7/8/21, participants discussed PGRR090 and the 7/7/21 NRG comments. Opponents of PGRR090 stated that though a previous Seasonal Net Max Sustainable Rating value may have already been studied, ERCOT Transmission Grid conditions may have changed in the interim and therefore changes of ten MW or greater should remain subject to the current process to ensure reliability. |  |

| Sponsor |  |
| --- | --- |
| Name | Chandler Morris |
| E-mail Address | cmorris@woodlandsenergymanagement.com |
| Company | Temple Generation I, LLC |
| Phone Number | 713-240-0086 |
| Cell Number | 713-240-0086 |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-865-0064 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Temple Generation I 042821 | Withdrew request for Urgent status |
| NRG 070721 | Revised to also allow restoration of a previously approved Seasonal Net Max Sustainable Rating value |

Market Rules Notes

None

Proposed Guide Language Revision

- 5.1.1	Applicability

(1)	The requirements in this Section 5, Generation Resource Interconnection or Change Request, are applicable, to the following:

(a)	Any Entity proposing a Generation Resource or Settlement Only Generator (SOG), including a storage device, with an aggregate power output (gross power output minus auxiliary Load directly related to the generator) of ten MW or greater, planning to interconnect to the ERCOT Transmission Grid; or

(b)	Resource Entities that are seeking to modify a generator or storage device that is connected to the ERCOT Transmission Grid by:

(i)	Upgrading the summer or winter Seasonal Net Max Sustainable Rating from that shown in the latest Resource Registration data by ten MW or greater within a single year, unless the net increase is within the existing Seasonal Net Max Sustainable Ratings for all other seasons;

(ii)	Change the inverter, turbine, generator, or power converter associated with a facility of ten MW or greater, unless the replacement is in-kind; or

(iii)	Changing or adding a Point of Interconnection (POI) to a facility of ten MW or greater.

(2)	Interconnection requirements for Settlement Only Distribution Generators (SODGs) and on-site Distributed Generation (DG) that are either (a) one MW or less and not registered with ERCOT or (b) greater than one MW and registered with the PUCT as a self-generator are not subject to this Section 5 but are addressed in P.U.C. Subst. R. 25.211, Interconnection of On-Site Distributed Generation (DG), and P.U.C. Subst. R. 25.212, Technical Requirements for Interconnection and Parallel Operation of On-Site Distributed Generation.

(3)       Resource Entities making changes to any Generation Resource or SOG of ten MW or greater should consult ERCOT to determine applicability to the requirements of this Section 5.

[PGRR074 and PGRR082: Replace applicable portions of Section 5.1.1 above with the following upon system implementation of NPRR973 or PGRR082, respectively:] 5.2 General Provisions - 5.2.1 Applicability (1) The requirements in Section 5, Generator Interconnection or Modification, apply to the following: (a) Any Entity proposing to interconnect any generator with an aggregate nameplate capacity of one MW or greater, including but not limited to any Generation Resource or Energy Storage Resource (ESR), to the ERCOT System; or (b) Any Entity proposing to interconnect a Settlement Only Generator (SOG) to the ERCOT System; or (c) Any Resource Entity seeking to modify a Generation Resource, ESR, or SOG that is connected to the ERCOT System by: (i) Increasing the real power rating from that shown in the latest Resource Registration data by one MW or greater within a single year; (ii) Changing the inverter, turbine, generator, or power converter associated with a facility with an aggregate real power rating of ten MW or greater, unless the replacement is in-kind; (iii) Changing or adding a Point of Interconnection (POI) to a facility with an aggregate real power rating of ten MW or greater; or (iv) Increasing the aggregate nameplate capacity of a generator less than ten MW to ten MW or greater. (2) For the purposes of Section 5, the term “generator” includes but is not limited to a Generation Resource, SOG, and ESR. (3) For the purposes of determining the appropriate requirements in Section 5, a generator is considered a “large generator” if it currently has or is proposed to have an aggregate nameplate capacity of ten MW or greater. A generator is considered a “small generator” if it currently has or is proposed to have an aggregate nameplate capacity of less than ten MW. (4) Notwithstanding paragraph (3), above, if a Resource Entity is proposing to increase the real power rating of an existing generator by one MW or greater but less than ten MW, that generator shall be considered a small generator for the purposes of the interconnection process described in Section 5. (5) Notwithstanding paragraphs (3) and (4), above, if a Resource Entity is proposing to increase a generator’s real power rating by ten MW or more, or is proposing to increase a generator’s real power rating from less than ten MW to ten MW or more, that generator shall be considered a large generator for the purposes of the interconnection process described in Section 5. (6) For the purposes of determining the appropriate requirements in Section 5, ERCOT may require two or more separate generator interconnection requests to the same substation to follow the interconnection process applicable to the large generators, if, following the proposed change, those generators would have an aggregate nameplate capacity of ten MW or greater, and the projects are proposed by the same Entity or Affiliates. (7) For a new or modified generator that has been designated as a Self-Limiting Facility or as a component of a Self-Limiting Facility, the categorization of the generator as a small generator or large generator pursuant to paragraphs (3) through (5) above shall be determined using the Self-Limiting Facility’s established limit on the total MW Injection, or if applicable, the proposed increase in that value instead of the nameplate capacity of the Self-Limiting Facility.