**Section 2:**

NPRR1062 – Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report

This Nodal Protocol Revision Request (NPRR) changes the metering requirement for Premises connected at transmission voltage and/or having a peak Demand greater than 700kW/700kVA to be an IDR which includes IDR Meters and Advanced Meters. This NPRR also eliminates the IDR Meter Requirement Report.

Revised Subsection: 2.1 [unboxed due to system implementation]

**Section 10:**

NPRR1062 – Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report

*See Section 2 above*.

Revised Subsections: 10.2.2, 10.3.3.3, and 10.9 [unboxed due to system implementation]

**Section 18:**

NPRR1062 – Modify IDR Meter Requirement and Eliminate IDR Meter Requirement Report

*See Section 2 above*.

Revised Subsections: 18.6, 18.6.1, 18.7 (new), 18.6.2 (delete), 18.6.3 (delete), 18.6.4 (delete), 18.6.5 (delete), and 18.6.6 (delete) [unboxed due to system implementation]