## Slide 1
NPRR 1077 Distributed Generation Review
Includes Registered and Unregistered DG
July 22, 2021

## Slide 2: ERCOT Estimated Total DG Growth 2015-2020 (MW)
Note: The 2020 estimate includes NOIE data from their Annual Report to ERCOT, and TDSP data from their PUC reports excluding generation data informally reported by investor-owned utilities for generation that would typically be considered backup or emergency generation.
*2019 Transmission-connected generation incorrectly registered as SODG with ERCOT
** Other Renewable category includes: Wind, Landfill Gas and Hydro which were previously reported separately.
31%
181%
*
**

## Slide 3: Settlement-Only Distributed Generation in ERCOT 2010-2020
Chart: 
| Prior to 2010 | Q1 2010 | Q2 2010 | Q3 2010 | Q4 2010 | Q1 2011 | Q2 2011 | Q3 2011 | Q4 2011 | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020
ACCUMULATED MW | 79.36 | 84.16 | 84.16 | 99.02 | 107.22 | 110.42 | 110.42 | 121.22 | 121.22 | 150.02 | 200.58 | 200.58 | 200.58 | 200.58 | 350.66 | 362.93 | 372.31 | 392.07 | 396.07 | 401.07 | 413.34 | 432.61 | 456.34 | 465.47 | 467.05 | 470.31 | 479.44 | 490.44 | 499.1 | 507.14 | 535 | 568.3 | 633.59 | 649.93 | 686.1 | 712.5 | 782.73 | 788.73 | 812.83 | 836.53 | 848.93 | 860.63 | 874.53 | 910.53 | 930.93
Renewable MW | 67.66 | 72.46 | 72.46 | 87.32 | 87.32 | 90.52 | 90.52 | 93.72 | 93.72 | 122.52 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 133.08 | 143.07 | 143.07 | 143.07 | 143.07 | 152.57 | 154.57 | 154.57 | 156.15 | 156.15 | 157.72 | 168.72 | 168.72 | 168.72 | 168.72 | 177.51 | 213.06 | 215.64 | 215.64 | 225.64 | 285.64 | 285.64 | 300.64 | 313.14 | 323.14 | 323.14 | 323.14 | 323.14 | 333.14
ACCUMULATED COUNT | 14 | 15 | 15 | 17 | 18 | 19 | 19 | 21 | 21 | 24 | 30 | 30 | 30 | 30 | 46 | 48 | 49 | 53 | 54 | 55 | 57 | 60 | 64 | 65 | 66 | 68 | 70 | 72 | 79 | 91 | 111 | 122 | 139 | 152 | 178 | 194 | 213 | 218 | 223 | 233 | 236 | 241 | 252 | 283 | 292
Renewables
Non-renewables
Accumulated Count
SODGs are:
<10 MW
If >1 MW and inject to grid, must register with ERCOT
If <1 MW, registration optional

## Slide 4: Observations and Trends
Major areas of DG growth in ERCOT
Solar PV <1 MW
Natural gas > 1 MW (co-located with load)
DGR Energy Storage> 1 MW
Detail for Systems > 1 MW
New applications for Energy Storage
Continuation of upward trend for Nat Gas
Decreased growth for solar > 1 MW
Little Diesel growth
Declining Landfill Gas, Hydro, Wind
Detail for Systems < 1 MW
Accelerating Solar PV trend (even during Covid!)
Increased small energy storage and Nat Gas (some registered as SODG)
Note that there seems to be a significant increase in interest for systems providing resiliency since Winter Event.
Nat gas
Batteries
31%
181%

## Slide 5: SODG growth