## Slide 1: PGDTF July Presentation

## Slide 2: ROS Update
Working group to develop GIC model presented at the July ROS meeting
SSWG will discuss possibility of lessening their workload during their July meeting
Topic will be tabled for one more month
Notes: The development of corrective action plans for supplemental event

## Slide 3: Implementation Plan to meet TPL-007-4 Requirements
  R12
  Process to obtain GIC Monitor data
  R6
  Perform benchmark
  Impact Thermal
  Assessment for Transformers
  Experiencing
  ≥75 A GIC
R1
Identify Individual and Joint Responsibilities
  R2
  Develop/Maintain System models and GIC System Models
  R5
  GIC Flow Information used for benchmark thermal impact assessment
  R13
  Process to obtain geomagnetic field data
  R3
  Determine System Steady State Voltage Criteria for System Performance
  Per Attachment 1
  R8
  Complete supplemental GMD Vulnerability Assessment every
  60 months
v
  R10
  Perform supplemental
  Thermal Impact
  Assessment for
  Transformers
  Experiencing
  ≥85 A GIC
  R4
  Complete benchmark GMD Vulnerability Assessment every 60 months
  Completed on
  09/01/2020 (PGRR80)
  Enforceable as of
  10/01/2020
  Completed on
  10/1/2020 (NOGRR214)
  Enforceable by
  7/1/2021
  To be completed by
  12/31/2021
  Enforceable as of
  01/01/2023
  Completed on
  10/29/2018
  Refreshed on
  11/08/2019
  Enforceable as of
  01/01/2020
  R9
  GIC Flow Information used for supplemental thermal impact assessment
  To be completed by
  05/08/2021
  Enforceable as of
  01/01/2022
  To be completed by
  12/31/2021
  Enforceable as of
  01/01/2023
  To be completed by
  12/31/2021
  Enforceable as of
  01/01/2023
  Completed on
  11/08/2019
  Enforceable as of
  01/01/2020
  To be completed by
  05/08/2021
  Enforceable as of
  01/01/2022
  R7
  Develop Corrective Action Plan for benchmark
  GMD event
  R611
  Develop Corrective Action Plan for Supplemental
  GMD event
  To be completed by
  12/31/2021
  Enforceable as of
  01/01/2024
  To be completed by
  12/31/2021
  Enforceable as of
  01/01/2024
Notes: The development of corrective action plans for supplemental event

## Slide 4: Questions for ERCOT
Supplemental GMDVA results
Progression on topology processor update
Upcoming request for GMD measurement data
Notes: The development of corrective action plans for supplemental event

## Slide 5: Questions or Comments?

## Slide 6: Future Meetings
September 21, 2021.
Notes: Standard requires building the cases every 5 years