## Slide 1: Congestion Management Working Group
August 4, 2021
Katie Rich

## Slide 2: TAC Emergency Conditions Item No. 51/86
Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
ERCOT will bring back information on several topics:
  The potential for relaxing any constraints
  Formalizing a process for temporary higher line ratings
  Determining the importance of maintaining 60 Hz vs. thermal units

## Slide 3: OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
Discussion of Joint Comments (LCRA, Reliant, STEC, and TIEC) that would create a longer slope for the transmission demand curve (from 100% to 105%), eliminates the step change to a penalty factor of $9,251, and maintains the 2% shift factor rule
The IMM recommended a curve from 100% to 102% along with the removal of the 2% rule
Consensus was not reached at CMWG so further discussion at WMS is warranted

## Slide 4: Spatial Granularity of Solar Production and Forecasts
ERCOT is working on system updates that would allow solar regions to added
ERCOT will provide updates when a go live date is expected

## Slide 5: RUC Deployment Follow-Up
ERCOT provided a presentation on July RUC activity through July 18
Despite the changes to the AS procurement, ERCOT may still see a need to RUC units
  ERCOT has stated that it will attempt to defer RUCs closer to the peak Operating Hours
  ERCOT will also use discretion in determining the appropriate margin in all other hours

## Slide 6: Next Meeting: August 16
Item No. 86 - Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
  Joint meeting with OWG
Congestion at the cap discussion (proposed by Exelon)

## Slide 7: Questions?