## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to ROS
August 05, 2021
Chu Liang
2021 PGDTF Chair

## Slide 2: PGDTF Meeting – July 21,2021
PGDTF meeting was held on July 21, 2021.
ROS Update
  Feedbacks from ROS were presented to the Task Force.
  Working Group to model GIC model topic tabled.
NERC TPL-007-4 Requirement
  R6 and R10, Supplemental and Benchmark impact thermal assessments.
  R12 and R13, Process to obtain GIC monitor data and geomagnetic field data.
ERCOT Updates
  Request for GMD measurement data will be sent out in August.
  ERCOT suggested adding GIC data in the operation case.
  PGDTF will prepare a SCR to move forward with the addition of GIC data to the case.
  PGDTF will present at NDSWG for GIC data to be added into the operation case.

## Slide 3: Questions