## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
August 4, 2021
From July 12 WMWG Meeting

## Slide 2: Increase the minimum quantities of Responsive Reserve Service and Non-Spinning Reserve Service
Topics for this meeting came from the document For Evaluation at WMWG July 7, 2021 WMS
The increased quantities went into effect on the day of the meeting
The goal is to have 6,500 MW of reserves.
  Twelve resources were issued RUC instructions on the 12th
    Offline Non-Spin was not accounted in 6500 MW. ERCOT started counting it on Jul 13th (CMWG)
  ERCOT did not have staff that could address the RUC process at this meeting
The Forecast Variability web page is updated daily by 2:00 PM
  This is used to determine if the extra 1,000MW NSRS will be required
  ERCOT can increase the quantity one or two days ahead

## Slide 3: Energy Pricing Impacts
ERCOT will discuss the following internally and report back to WMWG
  Should offline NSRS be deployed before SCED could get to market based offers from QSGR not providing NSRS?
  Should offline NSRS be deployed in chunks?
    How to choose which blocks to deploy
Proposed protocol revisions presented for the following
  Should Online reserves be below certain level in addition to PRC <3200 before offline NSRS is deployed?
    Should Real-Time On-Line Reserves be less than 4000MW?
  Should $75/MWh offer floor language for online reserves be extended to offline reserves?
    This can be a QSE behavior change. System change is not required.
  Should 0-lsl of offline NSRS be relaxed in pricing run?
    This would require a system change
  Market participant will submit NPRR

## Slide 4: Review impact to retailers on procuring additional reserves
Should self-arrangements be opened up further to increase liquidity & enable hedging?
  Section 4.4.7.1 Self-Arranged Ancillary Service Quantities provides the ability
  Discussion of increasing the quantities or are they adequate
  Possible issues of driving MCPC to zero
  Unconstrained quantities could lead to errors due to lack of validation
  No resolution
Provide update on aggregate capacity qualified to provide AS
  ERCOT reports the quantities based on review of offers
  Off-line qualified – 5,700 MW
  On-line qualified – 9,300 MW

## Slide 5: ERCOT Reports
WMWG wants a report added to track the effectiveness of the Forecast Variability determinations
  ERCOT explained the analysis that goes into the determination
  ERCOT will determine how to make a report for this
Reminder that the RUC review report is included in the monthly Board report
  WMWG will review this report monthly
  Want to ensure sufficient detail is in the report

## Slide 6: Address concerns raised for NPRR1080
Proposals reviewed to
  Change the compensation for resources that are assigned AS in RT
  Concerns:
  AS assigned does NOT receive a capacity payment. Of the 3 RT components (LMP + ORDC + RDPA), a unit only receives LMP.
    ERCOT clarified that resources are getting paid via AS imbalance. The assigned AS is not included in AS responsibility.
  Undeployed NSRS, deployed DRS, and NFRC are not getting paid LMP
    Will NSRS be assigned in RT?- ERCOT don’t see a reason for Non-Spin assignment.
    Sponsor will work with ERCOT on this item.

## Slide 7: Address concerns raised for NPRR1080
Proposals reviewed to
  Setting ASPFs for Reg & RRS above SWCAP and capping AS prices at SWCAP to award Reg & RRS instead of energy in DAM
    This method will reduce need for uplift
    Sponsor will work with commission staff on this proposal.
Discussion on AS Plan as an obligation
  If minimum requirements are not met, ERCOT will RUC resources
    Capacity short QSE’s charged for the RUC make-whole

## Slide 8: Next meeting
WMWG August 23
  Continue on these topics
  Follow up on Emergency issues assignments including assigned NPRR’s
Any questions?