## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
08/05/2021

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification
Tabled pending new comments

## Slide 4: NOGRR223 - Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process.
After discussions at OWG, consensus has not been reached

## Slide 5: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
OWG reached consensus and does not support the original comments submitted

## Slide 6: NPRR1077 Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs.
PGRR092, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs.
RRGRR029, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs.
  ERCOT is considering information gathered from the 7/22/2021 work shop and are considering submitting additional comments.

## Slide 7: TAC Assignment: Remaining KTCs from Battery Energy Storage Task Force (BESTF)
KTC 15-3 Switchable Resources - ERCOT will have internal discussion on state of charge and limit on switchable resources.
  There were no initial concerns with ESRs being treated different than any other switchable resource.
KTC 15-4 Provisions Associated with Delayed Outages
  No initial issues or concerns identified.
No initial reliability or operational issues were recognized by OWG during the review of these two items. These will be discussed again at next OWG. If no reliability or operating concerns are identified, then OWG will recommend that ESRs be treated the same as other resources in regards to KTC 15-3 and 15-4.

## Slide 8: Emergency Conditions List Review
The Emergency Conditions List items are still being discussed at OWG. Item # Assignments
122 - Blake Gross
  122 - Dynamic Load Shed - pending additional data analysis to determine if it is feasible to adjust load shed tables dynamically prior to or during event.
5 - Outage Scheduler – Ian Haley – ERCOT has filed NPRR1084. During discussion at OWG, stakeholders expressed concerns on the comments submitted.
6 - Resource Telemetry – Lori Simpson presented some ideas for discussion at OWG including comments submitted in NPRR1085.

## Slide 9: Emergency Conditions List Review
49 - Energy Emergency Alert Review - David Detelich
  Discussions are continuing.
51 - Review GTC Management During EEA
73 - Review PRC EEA Trigger and ORDC Min. Reserve Levels – No update