## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
August 05, 2021
Charles DeWitt

## Slide 2: ROS Voting Items
PGRR 093 – Replace Inadvertent Deletions in Section 5
  PLWG recommends ROS vote to recommend approval with Oncor edits.
  Approval needed before PGRR 082 Implementation
NPRR 1056 - Market Impact Generic Transmission Constraint (GTC) Notification
  No consensus to move forward.
  Comments have been filed related to retaining the integrity of ECEII.
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Consensus to remain tabled at PLWG
  Next steps
    Review APA comments filed on 7/23/2021
    Rule making at PUCT for economic project assessments

## Slide 3: TAC Emergency Conditions List DC Tie Performance (#41, 106)
Key takeaways
  DC Ties were operational during the event
    Did not export during the event
  Requests for imports into ERCOT due to emergency conditions
    Declined due to conditions in the other regions
Planning Study Assumptions for DC ties
  Current Planning Guide
    Section 4.1.1.1 (6) – Assume DC Tie imports and exports will be curtailed as necessary to meet reliability criteria in planning studies.
    Section 4.1.1.2 (1) (e) requires no consequential load loss following unavailability of DC Tie followed by a common tower outage or single contingency.
  Regional Transmission Plan Study Scope presented by ERCOT to the Regional Planning Group sets the assumptions for DC Tie contributions in the RTP study cases.
    3.2.4 DC Ties - All existing DC ties will be set based on a review of historical DC tie import/export information and any changes in the capacity of the DC ties.
Recommendations:
  Update specific study scope documents to include specific assumptions for DC tie contributions
  Study scenarios should include scenarios with zero DC tie contributions

## Slide 4: TAC Emergency Conditions List Transmission Planning Studies and Winter Cases (#47, 93, 94)
Organizing sub-group to work between PLWG meetings
  Brainstorm ideas for updates clarifications to planning criteria
    Adequacy of “Extreme” event scenario definitions including
      Adequacy of study case development criteria for summer and winter conditions
      Common mode generation contingencies (including fuel supply)
    Frequency of studying extreme event scenarios
  Provide feedback and suggestions to PLWG
Reviewed MISO Planning Process related to Extreme Event Analysis

## Slide 5: Other Emergency Conditions List Items
TAC Emergency Conditions List GTC Management (#29, 51, 86)
  Organizing sub-group to work between meetings
    Monitor PUC Projects related to GTC Management
    Monitor progress in other working groups and identify areas of overlap
Review EEA rules(#49) & SODG Performance (#105)
  Monitor progress in other working groups and identify areas of overlap

## Slide 6: Draft PGRR – P6 Overlapping Single Contingencies
LCRA TSC Presented Draft PGRR
Discussion points:
  Define Off-Peak System Conditions criteria
  Manual Switching Definition
ERCOT to provide revision language on Off-Peak System Conditions and Manual Switching definition

## Slide 7: 2022 PLWG Meeting Calendar
Maintain RPG & PLWG Meetings on the same day
  PLWG meetings will follow RPG meetings

## Slide 8: Questions?