DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, June 3, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Claiborn-Pinto, Shawnee | OPUC |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Farhangi, Anoush | Demand Control 2 |  |
| Greer, Clayton | Morgan Stanley |  |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marr, Daniel | Lower Colorado River Authority |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Simpson, Lori | Exelon |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Surendran, Resmi | Shell Energy |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

The following proxies were assigned:

- Jennifer Ayers-Brasher to Chase Smith

- Resmi Surendran to Seth Cochran

| - Guests: |  |  |  |
| --- | --- | --- | --- |
| Ahn, Sirius | Oncor |  |  |
| Ainspan, Malcolm | NRG |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |
| Bell, Brad | Solar Proponent |  |  |
| Brandin, Samuel | Able Grid Energy |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |
| Burke, Tom | Invenergy |  |  |
| Burnett, Ben | CenterPoint Energy |  |  |
| Calcagni, Anthony | DC Energy |  |  |
| Canamar, Jorge | Sharyland |  |  |
| Castillo, Ernest | CPS Energy |  |  |
| Chan, Vanessa | Enel Green Power |  |  |
| Cloninger, Ross | Texas New Mexico Power |  |  |
| Coleman, Diana | CPS Energy |  |  |
| Cook, Tim | CTT |  |  |
| Cortinas, Cesar Augusto | Brownsville PUB |  |  |
| Detelich, David | CPS Energy |  |  |
| Dewitt, Charles | PEC |  |  |
| Downey, Marty | Jupiter Power |  |  |
| Dreyfus, Mark | MD Energy Consulting |  |  |
| Felhofer, Alex | Oncor |  |  |
| Ferman, Mitchell | Texas Tribune |  |  |
| Floyd, Rickey | Oncor |  |  |
| Galliguez, Percy | Brazos Electric Cooperative |  |  |
| Greaff, Venona | Oxy |  |  |
| Gross, Blake | AEP |  |  |
| Guo, Chenyan | Lone Star Transmission |  |  |
| Haley, Ian | Luminant Corporation |  |  |
| Hanson, Kevin | National Grid |  |  |
| Harris, Brenda | Oxy |  |  |
| Helton, Bob | ENGIE |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |
| Henson, Martha | Oncor |  |  |
| Jackson, Jimmy | CPS Energy |  |  |
| Jewell, Michael | Jewell and Associates |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |
| Jowlabar, Nicholas | RWE |  |  |
| Jung, Sam | Oncor |  |  |
| Kee, David | CPS Energy |  |  |
| Kilroy, Taylor | TPPA |  |  |
| Liang, Chu | Wind Energy of Texas |  |  |
| Loyferman, Larisa | CenterPoint Energy |  |  |
| Mathew, Shirley | Austin Energy |  |  |
| McCamant, Frank | McCamant Consulting |  |  |
| McClellan, Suzi | Good Company Associates |  |  |
| Mercado, David | CenterPoint Energy |  |  |
| Miller, Alexandra | EDF Renewables |  |  |
| Morris, Chandler | Woodlands Energy Management |  |  |
| Morris, Sandy | Customized Energy Solutions |  |  |
| Mulholland, Chad | NRG |  |  |
| Nagarajan, Ramya | LS Power |  |  |
| Narvarte, John | NBU |  |  |
| Pappu, Ajay | Invenergy |  |  |
| Penney, David | Texas Reliability Entity |  |  |
| Pokharel, Nabaraj | PUCT |  |  |
| Preas, Dylan | LCRA TSC |  |  |
| Price, Chris | 61 Commodities |  |  |
| Rainwater, Kim | LCRA |  |  |
| Rao, Anish | Apex Clean Energy |  |  |
| Reed, Ronald | CenterPoint Energy |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |
| Roberts, Vincent | TNMP |  |  |
| Rivers, Joshua | Pedernales Electric Cooperative |  |  |
| Shook, Mandie | CenterPoint Energy |  |  |
| Shumate, Walt |  |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |
| Sithuraj, Murali | Austin Energy |  |  |
| Smith, Caitlin | AB Power Advisors |  |  |
| Smith, Christopher | Austin Energy |  |  |
| Tovar, Mathew | Oncor |  |  |
| Varnell, John | Tenaska Power Services |  |  |
| Velasquez, Ivan | Oncor |  |  |
| Walke, Pranil | Calpine |  |  |
| Watkins, Olivia | Next Era Energy |  |  |
| White, Lauri | AEP |  |  |
| Williams, Scot | Oncor |  |  |
| Williams, Wes | BTU |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |
| Woods, Brad | Texas Reliability Entity |  |  |
| Yatar, J-M | CenterPoint Energy |  |  |
| ERCOT Staff: |  |  |  |
| Al-Homsi, Alex |  |  |  |
| Albracht, Brittney |  |  |  |
| Ayson, Janice |  |  |  |
| Balderas, Raul |  |  |  |
| Bernecker, John |  |  |  |
| Blevins, Bill |  |  |  |
| Bracy, Phil |  |  |  |
| Cheng, Yong |  |  |  |
| Cheng, Yunzhi |  |  |  |
| Clifton, Suzy |  |  |  |
| Daryabak, Mehdi |  |  |  |
| Devadhas Mohanadha, Thinesh |  |  |  |
| Du, Pengwei |  |  |  |
| Garcia, Freddy |  |  |  |
| Gnanam, Prabhu |  |  |  |
| Gravois, Patrick |  |  |  |
| Guiyab, Rochie |  |  |  |
| Huang, Fred |  |  |  |
| Jasper, Madeline |  |  |  |
| Kadel, Nemica |  |  |  |
| Kang, Sun Wook |  |  |  |
| Koepke, Joel |  |  |  |
| Lasher, Warren |  |  |  |
| Lee, Alex |  |  |  |
| Mago, Nitika |  |  |  |
| Meier, Eric |  |  |  |
| Miller, Megan |  |  |  |
| Murugesan, Malini |  |  |  |
| Nikouei, Farhad |  |  |  |
| Phillips, Cody |  |  |  |
| Phillips, Cory |  |  |  |
| Rickerson, Woody |  |  |  |
| Salinas, Justin |  |  |  |
| Sanchez, Daniel |  |  |  |
| Sanchez, Lilia |  |  |  |
| Schmall, John |  |  |  |
| Sharma, Sandip |  |  |  |
| Solis, Stephen |  |  |  |
| Stice, Clayton |  |  |  |
| Teixeira, Jay |  |  |  |
| Thuerwaechter, Kashia |  |  |  |
| Troublefield, Jordan |  |  |  |
| Williams, Leslie |  |  |  |
| Wolf, Craig |  |  |  |
| Woodfin, Dan |  |  |  |
| Xiao, Hong |  |  |  |
| Yan, Ping |  |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

Chase Smith called the July 8, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

- June 3, 2021

Market Participants reviewed the June 3, 2021 ROS meeting minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update (see Key Documents)

June 23, 2021

Mr. Smith reviewed the disposition of items considered at the June 23, 2021 TAC meeting, including clarifications to the Emergency Conditions List.  Market Participants and ERCOT Staff discussed improving operational communication during emergency events, communication tools used by ERCOT and other Independent System Operators (ISOs), and the potential for an assessment of an Instant Messaging communication tool for Emergency Operations Communication.  Market Participants expressed support to advance this issue for consideration at the July 28, 2021 TAC meeting.

June 30, 2021

Mr. Smith summarized the June 30, 2021 TAC discussion on the reliability need for a more conservative approach to procuring Ancillary Services, the ERCOT strategy to bring more reserves online and deploy reserves earlier, and the disposition of Other Binding Revision Request (OBDRR) 031, Change Non-Spinning Reserve Service Deployment.  Market Participants discussed the TAC assignment to review the issues raised along with the impacts of OBDRR031, identified issues to be evaluated, and requested review of the following issues by the (PDCWG):

- Review Responsive Reserve Service (RRS) increase to 2800MW

- Assess Impact of Ancillary Service changes over summer and report to TAC

- Analyze methodology for determining Non-Spinning Reserve (Non-Spin) requirements and value provided in non-peak times

- Account for RRS High Ancillary Service Limit (HASL) release in non-spin deployment

- How to define high/medium/low variability?

- Should Non-Controllable Load Resource (NCLR) be allowed to provide Non-Spin?

- Should higher RRS or ERCOT Contingency Reserve Service (ECRS) be procured?

- Review the impact to cycling resource before it is really needed in peak summer

- ERCOT Reports (see Key Documents)

- Operations Report

- Nitika Mago reviewed the May 2021 Operations Report.

- System Planning Report

- Ping Yan presented the May 2021 System Planning Report.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng presented recent GTC updates.

Transient Security Assessment Tool (TSAT) models update

Mehdi Daryabak presented the requirements in Resource Registration Glossary Revision Request (RRGRR) 021, Dynamic Model Requirement for TSAT, reminded Market Participants of the November 1, 2021 deadline for existing and new Generation Resources to submit TSAT User Defined Models (UDMs), and noted that since June 3, 2021 only one updated TSAT UDM model was received.  Mr. Daryabak stated that ERCOT is switching to the Powertech Labs TSAT version 21 on the anticipated release date of July 21, 2021.  Mr. Daryabak requested Resource Entities (REs) work with their Original Equipment Manufacturer (OEM) to confirm development of the correct model or generic model, and if generic, provide ERCOT notification of the generic model.

Southern Cross Transmission Directive #9, Determination regarding modifications to Ancillary Services Whitepaper (see Key Documents)

Ms. Mago reviewed ERCOT's Determination for Directive #9 as reflected in the Whitepaper, "PUC Project No. 46304 Oversight Relating to the Southern Cross Transmission (SCT) DC Tie Ancillary Services (Directive 9)” and noted Revision Requests impacting Directive 9 and PDCWG discussions in 2018, 2019 and 2021.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

Mr. Smith reminded Market Participants of the 6/4/21 ROS comments to NPRR1077.  Clayton Stice encouraged Market Participants to attend the July 22, 2021 NPRR1077 Workshop on Telemetry.  ROS took no action on this item.

ROS Revision Requests (See Key Documents)

Impact Analyses Review

Planning Guide Revision Request (PGRR) 091, FIS Application Completion 60-Day Limit

Market Participants reviewed the Impact Analysis and appropriate priority and rank for PGRR091.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

RRGRR030, Allow New Voltage Levels in Resource Registration Information

Jay Teixeira summarized RRGRR030.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

RRGRR031, Related to NPRR995, RTF-6 Create Definition and Terms for Settlement Only Energy Storage

Sandip Sharma summarized RRGRR031.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR093, Replace Inadvertent Deletions in Section 5

Ms. Yan summarized PGRR093.  Market Participants requested additional review of the issue by the Planning Working Group (PLWG).  Ms. Yan requested that PGRR093 advance in time for approval before implementation of PGRR082, Revise Section 5 and Establish Small Generation Interconnection Process, to avoid any gaps in requirements.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on this item.

PLWG (see Key Documents)

Charles DeWitt reviewed PLWG activities, including updates to the Emergency Conditions List.

PGRR090, Additional Flexibility for Updates to Seasonal Net Max Sustainable Rating

Mr. DeWitt summarized PGRR090 discussion at the June 15, 2021 PLWG meeting and stated PLWG was in consensus to recommend ROS reject PGRR090.  Kevin Matt reviewed the 7/7/21 NRG comments to PGRR090.  Market Participants opposed to PGRR090 stated that though a previous Seasonal Net Max Sustainable Rating value may have already been studied, ERCOT Transmission Grid conditions may have changed in the interim and therefore changes of ten Megawatts (MWs) or greater should remain subject to the current process to ensure reliability.

Clayton Greer moved to reject PGRR090.  Dennis Kunkel seconded the motion. The motion carried via roll call vote with one objection from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment and four abstentions from the Consumer (Air Liquide), Cooperative (LCRA), Independent Generator (Exelon), and Municipal (CPS Energy) Market Segments.  (Please see ballot posted with Key Documents.)

NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities., including updates to the Emergency Conditions List.

PGRR092, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

RRGRR029, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR223, Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process

ROS took no action on these items.

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

Ms. Mago summarized the ERCOT recommended approach to understanding the issues and proposed solutions in NOGRR226 as presented at the June 17, 2021 OWG meeting.  Mr. Floyd encouraged Market Participants to attend the July 13, 2021 OWG meeting to further discuss the issues.  Market Participants took no action on this item.

NOGRR227, Add Phasor Measurement Recording Equipment Location for Main Power Transformer for Intermittent Renewable Resource (IRR)

Mr. Floyd summarized NOGRR227 discussion at the June 17, 2021 OWG meeting and stated that OWG was in consensus to recommend ROS recommend approval of NOGRR227.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Dynamics Working Group (DWG) (see Key Documents)

Sam Jung reviewed DWG activities, including updates to the Emergency Conditions List and review of NOGRR226.

PDCWG (see Key Documents)

Chad Mulholland reviewed PDCWG activities, including updates to the Emergency Conditions List and review of NOGRR226.  Mr. Mulholland noted that to maximize meeting efficiencies future PDCWG presentations to ROS will not include a summarization of recent Frequency Events and Performance, however, the analyses will be included in the Appendix.

Network Data Support Working Group (NDSWG) (see Key Documents)

J-M Yatar reviewed NDSWG activities.

System Change Request (SCR) 813, NMMS Jointly-Rated Equipment Coordination Confirmation

Mr. Yatar summarized SCR813 and stated that NDSWG was in consensus to recommend ROS endorse SCR813.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Mr. Kunkel moved to approve the Combined Ballot as follows:

- To approve the June 3, 2021 ROS Meeting Minutes as submitted

- To endorse ERCOT's Determination for Directive #9 as reflected in the Whitepaper, "PUC Project No. 46304 Oversight Relating to the Southern Cross Transmission (SCT) DC Tie Ancillary Services (Directive 9)” as presented

- To endorse and forward to TAC the 6/3/21 ROS Report and the Impact Analysis for PGRR091 with a recommended priority of 2022 and rank of 3530

- To recommend approval of RRGRR030 as submitted

- To recommend approval of RRGRR031 as submitted

- To table PGRR093 and refer the issue to PLWG

- To recommend approval of NOGRR227 as submitted

- To endorse SCR813 as submitted

Shawnee Claiborn-Pinto seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Steady State Working Group (SSWG) (see Key Documents)

Chenyan Guo reviewed SSWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Chu Liang summarized PGDTF discussions with DWG and SSWG in evaluating which is the appropriate working group or task force to develop the Geomagnetically Induced Current (GIC) model build and presented the pros and cons of each.  Mr. Liang stated that the PGDTF recommends that either SSWG or DWG proceed to develop the GIC model build, however they do not have the bandwidth to complete.  Market Participants and ERCOT Staff further discussed the issues.  Market Participants requested additional time to review the issues.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed VPWG activities.

Other Business

Review Open Action Items List

Market Participants reviewed the Open Action Items list.

No Report

- Black Start Working Group (BSWG)

- Operations Training Working Group (OTWG)

- System Protection Working Group (SPWG)

Adjournment

Katie Rich adjourned the July 8, 2021 ROS meeting 1:22 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2021/7/8/214021-ROS