| NOGRR Number | 223 | NOGRR Title | Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process |
| --- | --- | --- | --- |
| Date of Decision |  | August 5, 2021 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Operating Guide Sections Requiring Revision |  | 6.1.3.2, Location Requirements |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) adds the requirement to have phasor measurement recording equipment at existing facilities that have an aggregated generating capacity above 20 MVA at a single site following any modification that is described in paragraph (1)(b) of Planning Guide Section 5.1.1, Applicability, in order to enter the Generation Resource Interconnection or Change Request (GINR) process. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Phasor measurement recording equipment is necessary to ensure the reliability of the ERCOT System by providing accurate disturbance data for off-line studies and model verification. |  |
| ROS Decision |  | On 3/4/21, ROS unanimously voted via roll call to table NOGRR223 and refer the issue to the Operations Working Group (OWG). All Market Segments participated in the vote. On 8/5/21, ROS voted via roll call to recommend approval of NOGRR223 as amended by the 6/10/21 ERCOT comments. There were 13 abstentions from the Consumer (2) (OPUC, Air Liquide), Independent Generator (2) (Exelon, Calpine), Independent Power Marketer (IPM) (3) (Shell, Morgan Stanley, Tenaska), Independent Retail Electric Provider (IREP) (2) (Reliant, Demand Control 2), and Municipal (4) (Brownsville, CPS, Austin Energy, Garland) Market Segments. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 3/4/21, ERCOT Staff provided an overview of NOGRR223. On 8/5/21, the OWG Chair reported to ROS that the group had been unable to reach a consensus in regard to NOGRR223’s modified generator requirements; opponents noted that NOGRR223 exceeds current North American Electric Reliability Corporation (NERC) requirements; ERCOT staff provided additional details regarding the reliability benefits of phasor measurement units. |  |

| Sponsor |  |
| --- | --- |
| Name | James Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number | 512-656-6734 |
| Market Segment | Not Applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant 052621 | Suggested that NOGRR223 does not justify why ERCOT requires phasor measurement unit capability and stated that NOGRR223’s recording equipment requirements exceed NERC Standard PRC-002 |
| ERCOT 061021 | Stated the benefits of phasor measurement units and their impact on reliability; and applied a language change to paragraph (4) of Section 6.1.3.2 in alignment with NOGRR223’s original edits |

Market Rules Notes

None

Proposed Guide Language Revision

- 6.1.3.2	Location Requirements

(1)	ERCOT shall identify Transmission Elements operated at or above 100 kV for which dynamic disturbance recording data is required, including the following:

(a)	Generation Resource(s) with:

(i)	Gross individual nameplate rating greater than or equal to 500 MVA; or

(ii)	Gross individual nameplate rating greater than or equal to 300 MVA where the gross plant/facility aggregate nameplate rating is greater than or equal to 1,000 MVA;

(b)	Any one Transmission Element that is part of a stability (angular or voltage) related system operating limit;

(c)	Each terminal of a high-voltage, direct current (HVDC) circuit with a nameplate rating greater than or equal to 300 MVA, on the alternating current portion of the converter;

(d)	One or more Transmission Elements that are part of an Interconnection Reliability Operating Limit (IROL); and

(e)	Any one Transmission Element within a major voltage sensitive area as defined by an area with an in-service Under-Voltage Load Shedding (UVLS) program.

(2)	ERCOT shall identify a minimum dynamic disturbance recording coverage, inclusive of those Transmission Elements identified above, of a least:

(a)	One Transmission Element; and

(b)	One Transmission Element per 3,000 MW of ERCOT’s historical simultaneous peak Demand.

(3)	Facility owners identified under paragraphs (1) or (2) above shall install dynamic disturbance recording equipment such that half of the identified facilities have the associated equipment installed by July 1, 2020, and all of the identified facilities by July 1, 2022.

(4)	The Facility owner(s), whether a Transmission Facility owner or Generation Resource owner, shall install phasor measurement recording equipment at the following Facilities:

(a)	Flexible AC transmission system devices configured to actively control steady-state voltage or power transfer capability, operated at or above 100 kV, and energized after July 1, 2015;

(b)	Within 18 months after receiving written notice from ERCOT, a Transmission Facility identified by ERCOT associated with each published generic transmission constraint as deemed necessary by ERCOT; and

(c)	New generating facilities over 20 MVA aggregated at a single site placed into service after January 1, 2017; and

(d)       Existing generating facilities over 20 MVA aggregated at a single site following any modification described in paragraph (1)(b) of Planning Guide Section 5.1.1, Applicability, with the modification’s Initial Synchronization after January 1, 2022.

[NOGRR177: Insert item (e) below upon system implementation of NPRR857:] (e) New Direct Current Ties (DC Ties) placed into service after January 1, 2019.