| PGRR Number | 089 | PGRR Title | Planning Data and Information Updates for Planning Posting |
| --- | --- | --- | --- |
| Date of Decision |  | August 10, 2021 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Not applicable |  |
| Planning Guide Sections Requiring Revision |  | 7.1, Planning Data and Information |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) makes changes to the list of data sets posted to the Market Information System (MIS) in Section 7.1. First, it removes the Planning Horizon Transmission Capability Methodology from the list. Second, it adds Long-Term System Assessment (LTSA) postings, Geomagnetic Disturbance (GMD) vulnerability assessments, and the monthly Generator Interconnection Status (GIS) Report to the list. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: Retirement of North American Electric Reliability Corporation (NERC) Reliability Standard FAC-013-2, Assessment of Transfer Capability for the Near-term Transmission Planning Horizon (please select all that apply) |  |
| Business Case |  | On December 14, 2020, NERC Reliability Standard FAC-013-2 was retired. As a result of the retirement, the Planning Horizon Transmission Capability Methodology became obsolete, and the reference in the list should be removed from the Planning Guide. Additionally, ERCOT needs the option to post cases containing Protected Information used for the LTSA to the MIS Certified Area for Transmission Service Providers (TSPs), post material containing Protected Information for the GMD vulnerability assessments to the MIS Certified Area for TSPs, and post study results for the GMD vulnerability assessments to the MIS Secure Area. Finally, ERCOT started posting the monthly GIS reports to the ERCOT website in June 2020, so listing this report in the list recognizes the current posting procedure for this data set. |  |
| ROS Decision |  | On 4/1/21, ROS voted unanimously via roll call to table PGRR089 and refer the issue to Planning Working Group (PLWG). All Market Segments participated in the vote. On 4/29/21, ROS voted unanimously via roll call to recommend approval of PGRR089 as revised by ROS. All Market Segments participated in the vote. On 6/3/21, ROS voted unanimously via roll call to endorse and forward to TAC the 4/29/21 ROS Report and the Impact Analysis for PGRR089. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 4/1/21, the sponsors provided an overview of PGRR089. On 4/29/21, participants corrected an acronym in the list in Section 7.1. On 6/3/21, there was no discussion. |  |
| TAC Decision |  | On 6/23/21, TAC voted unanimously via roll call to recommend approval of PGRR089 as recommended by ROS in the 6/3/21 ROS Report. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 6/23/21, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR089. |  |
| ERCOT Market Impact Statement |  | ERCOT Staff has reviewed PGRR089 and believes the market impact for PGRR089 provides one or more of the following benefits: transparency, efficiency, and/or reliability; and/or aligns with current market rules. |  |
| Board Decision |  | On 8/10/21, the ERCOT Board recommended approval of PGRR089 as recommended by TAC in the 6/23/21 TAC Report and the Revised Impact Analysis. |  |

| Sponsor |  |
| --- | --- |
| Name | Sun Wook Kang, John Bernecker, and Pete Warnken |
| E-mail Address | SunWook.Kang@ercot.com, John.Bernecker@ercot.com, Pete.Warnken@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4159 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

7.1	Planning Data and Information

(1)	The information available on the ERCOT website or applicable Market Information System (MIS) (i.e., Secure or Certified Areas) includes, but is not limited to, planning information pertaining to the following:

(a)	Long-term planning;

(b)	Regional transmission planning;

(c)	Steady state data;

(d)	Resource integration;

(e)	Case studies and files used in planning;

(f)	Model information; and

(g)	Data and information available to specific groups of Market Participants.

(i)	Market Participants with a nondisclosure agreement with ERCOT have designated sections on the MIS that allow access to the certified posting of group information.

(ii)	Market Participants may access the artifacts posted for their respective groups on the MIS Secure Area.

(2)	The list below includes both data set and designated MIS classification of the available planning data and information.  Where the information is classified as “Certified,” the appropriate Market Participant category or group is also indicated.  Information classified as “Public” is available on the ERCOT website.

| Data Set | Classification |
| --- | --- |
| Aggregated Wind Output | Public |
| Annual Planning Model Data Submittal Schedule | Secure |
| Demand and Energy Monthly Reports | Secure |
| Dynamic Data Information | Certified (all Transmission Service Providers (TSPs)) |
| Economic Studies of Transmission Projects for New Generation | Secure |
| ERCOT Long-Term System Assessment (LTSA) (except for Protected Information) | Secure |
| ERCOT LTSA | Certified (all TSPs) |
| ERCOT Steady State Planning Contingency Files | Secure |
| ERCOT System Operating Limit (SOL) Methodology | Public |
| Generation Data Forms | Secure |
| Generator Interconnection Status (GIS) Report | Public |
| Geomagnetically-Induced Current (GIC) Flow Information | Secure |
| Geomagnetic Disturbance (GMD) Vulnerability Assessment Postings (except for Protected Information) | Secure |
| GMD Vulnerability Assessment Postings | Certified (all TSPs) |
| Documents Initiating a Generation Interconnection or Change Request (GINR) | Certified (all TSPs) |
| GINR Security Screening Studies and Supporting Documents | Secure |
| Sub-Synchronous Oscillation Studies and Supporting Documents | Certified (all TSPs) |
| Full Interconnection Study (FIS): Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents (except for Protected Information) | Secure |
| FIS: Draft Steady-State, System Protection, Stability, and Facility Studies and Supporting Documents | Certified (all TSPs) |
| Independent Market Monitor (IMM) and Topology Processor Supporting Documents | Certified (all TSPs) |
| Performance, Disturbance, Compliance Working Group (PDCWG) Group Documents and Project Files | Certified (PDCWG members) |
| Public Generation Information | Public |
| Remedial Action Plan (RAP) Review Cases | Certified (all TSPs) |
| Resource Registration Data | Certified (all TSPs) |
| Regional Planning Group Projects | Secure |
| Regional Transmission Plan Postings (except for Protected Information) | Secure |
| Regional Transmission Plan Postings | Certified (all TSPs) |
| Seasonal Voltage Profile Studies | Certified (all TSPs) |
| Special Planning Studies (except for Protected Information) | Secure |
| Special Planning Studies | Certified (all TSPs) |
| Steady State Power Flow Base Cases | Secure |
| Steady State Power Flow Case Data | Certified (all TSPs) |
| Steady State Topology Processor Files | Secure |
| Steady State Transmission Project and Information Tracking (TPIT) Procedures | Secure |
| System Protection Short Circuit Data | Secure |
| Transient Stability Screening Study for ERCOT System | Certified (all TSPs) |
| TSP Planning Criteria and Procedures | Secure |
| Voltage Stability Screening Study for ERCOT System | Certified (all TSPs) |