## Slide 1
Historical Constraint Shadow Prices and Loading Levels
Congestion Management Working Group
Market Analysis & Validation
8/16/2021

## Slide 2: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 3: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 4: Background
Data on historical constraint shadow prices and loading levels were requested by stakeholders at the previous CMWG meeting to inform discussion of the IMM’s proposal for transmission demand curves.
Reminder of maximum shadow prices by voltage level:
  69 kV: $2800/MWh
  138 kV: $3500/MWh
  345 kV: $4500/MWh
Note: Irresolvable constraints typically have a maximum shadow price of $2000/MWh, and therefore will typically have a shadow price of $2000/MWh when violated, independent of voltage level.

## Slide 5: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 6: Methodology
Shadow price data is summarized by year, voltage level, and loading amount (% of limit).
Constraint data for April 2018 – March 2021 (3 years) was analyzed.
To illustrate yearly variation, data is divided into 1-year periods of beginning of April – end of March. Ex: April 1, 2018- March 31, 2019.
Constraints with shadow prices <= $500/MWh are not affected by the IMM’s proposal but are included for context.

## Slide 7: Methodology
Shadow prices were split into 4 different groups as follows:
  <= $500/MWh
  > $500/MWh and <= $1000/MWh
  > $1000/MWh and <= $2000/MWh
  > $2000/MWh
Loading amount (% of limit) was split into 5 different groups as follows:
  = 100% (constraint is binding)
  > 100% and <=102% (constraint is violated)
  > 102% and <=105% (constraint is violated)
  > 105% and <=120% (constraint is violated)
  > 120% (constraint is violated)

## Slide 8: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 9: 69 kV
Loading Amount (% of Limit)
Y-axis scale differs between slides.
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 1283.0522 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 162.5047 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 156.6867 | 1.165 | 2.0819 | 5.7508 | 0.83194
Shadow Price > 2000 | 56.7158 | 39.2908 | 39.5642 | 57.5303 | 23.1331
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 1889.1825 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 678.4789 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 274.4844 | 17.0967 | 27.975 | 23.4803 | 0.53722
Shadow Price > 2000 | 33.1292 | 50.6022 | 55.6847 | 62.9075 | 6.5069
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 1842.1306 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 272.9408 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 117.7642 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 25.0256 | 34.3056 | 32.65 | 57.3806 | 5.7689

## Slide 10: 69 kV, without <=$500/MWh
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 162.5047 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 156.6867 | 1.165 | 2.0819 | 5.7508 | 0.83194
Shadow Price > 2000 | 56.7158 | 39.2908 | 39.5642 | 57.5303 | 23.1331
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 678.4789 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 274.4844 | 17.0967 | 27.975 | 23.4803 | 0.53722
Shadow Price > 2000 | 33.1292 | 50.6022 | 55.6847 | 62.9075 | 6.5069
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 272.9408 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 117.7642 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 25.0256 | 34.3056 | 32.65 | 57.3806 | 5.7689
Loading Amount (% of Limit)
Y-axis scale differs between slides.

## Slide 11: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 12: 138 kV
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 10057.1172 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 897.3531 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 321.0486 | 99.9336 | 136.7797 | 397.6344 | 72.2281
Shadow Price > 2000 | 139.3708 | 106.3586 | 68.9353 | 90.3514 | 6.6833
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 11877.6458 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 571.2842 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 379.2872 | 279.1039 | 379.0392 | 565.9408 | 5.7889
Shadow Price > 2000 | 137.5314 | 162.775 | 147.9036 | 167.825 | 10.9692
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 10683.0517 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 607.4142 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 341.9411 | 17.3983 | 22.0464 | 31.7658 | 0
Shadow Price > 2000 | 99.3442 | 170.1442 | 116.2514 | 245.0825 | 34.2422
Loading Amount (% of Limit)
Y-axis scale differs between slides.

## Slide 13: 138 kV, without <=$500/MWh
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 571.2842 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 379.2872 | 279.1039 | 379.0392 | 565.9408 | 5.7889
Shadow Price > 2000 | 137.5314 | 162.775 | 147.9036 | 167.825 | 10.9692
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 897.3531 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 321.0486 | 99.9336 | 136.7797 | 397.6344 | 72.2281
Shadow Price > 2000 | 139.3708 | 106.3586 | 68.9353 | 90.3514 | 6.6833
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 607.4142 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 341.9411 | 17.3983 | 22.0464 | 31.7658 | 0
Shadow Price > 2000 | 99.3442 | 170.1442 | 116.2514 | 245.0825 | 34.2422
Loading Amount (% of Limit)
Y-axis scale differs between slides.

## Slide 14: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 15: 345 kV
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 969.3506 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 26.1069 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 20.2892 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 5.6764 | 15.9553 | 6.3242 | 5.0817 | 0.50083
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 1221.8431 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 22.1444 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 16.0369 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 8.2819 | 13.0086 | 4.7253 | 3.3592 | 0.9175
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price <=500 | 1854.0189 | 0 | 0 | 0 | 0
Shadow Price > 500 and <=1000 | 36.4297 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 18.6972 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 16.5219 | 13.4058 | 19.5436 | 26.8519 | 2.5
Loading Amount (% of Limit)
Y-axis scale differs between slides.

## Slide 16: 345 kV, without <=$500/MWh
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 36.4297 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 18.6972 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 16.5219 | 13.4058 | 19.5436 | 26.8519 | 2.5
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 22.1444 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 16.0369 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 8.2819 | 13.0086 | 4.7253 | 3.3592 | 0.9175
Chart: 
| 100% | 100% < x <= 102% | 102% < x <= 105% | 105% < x <= 120% | 120% < x
Shadow Price > 500 and <=1000 | 26.1069 | 0 | 0 | 0 | 0
Shadow Price > 1000 and <=2000 | 20.2892 | 0 | 0 | 0 | 0
Shadow Price > 2000 | 5.6764 | 15.9553 | 6.3242 | 5.0817 | 0.50083
Loading Amount (% of Limit)
Y-axis scale differs between slides.

## Slide 17: Agenda
Background
Methodology
69 kV Data
138 kV Data
345 kV Data
100%<= Loading <=105% Data

## Slide 18: 100%<= Loading <=105% Data
Year | Voltage Level | Binding: Shadow Price >$1000/MWh | Binding: Shadow Price >$500/MWh | Violated:100% < x <= 102% | Violated:102% < x <= 105%
2018-2019 | 69 | 11.67% | 20.56% | 2.21% | 2.28%
2018-2019 | 138 | 3.71% | 10.96% | 1.66% | 1.66%
2018-2019 | 345 | 2.47% | 4.96% | 1.52% | 0.60%
2019-2020 | 69 | 9.86% | 31.60% | 2.17% | 2.68%
2019-2020 | 138 | 3.52% | 7.41% | 3.01% | 3.59%
2019-2020 | 345 | 1.88% | 3.60% | 1.01% | 0.37%
2020-2021 | 69 | 5.98% | 17.41% | 1.44% | 1.37%
2020-2021 | 138 | 3.57% | 8.48% | 1.52% | 1.12%
2020-2021 | 345 | 1.77% | 3.60% | 0.67% | 0.98%
The table below shows the violated constraint-hours with 100%< loading <=105% and binding constraint hours with a shadow price >$500/MWh or >$1000/MWh as a percent of the total binding and violated constraint-hours for each year and voltage level.

## Slide 19: Data Available
An Excel file containing the data represented by these graphs is posted to the CMWG meeting page.

## Slide 20: Questions