## Sheet1
Date | Investigate | Section | Added By | Language | Comment
2021-08-17 | No | 1 - Introduction | Koepke | The Handbook specifies important configuration and functional requirements for ICCP implementations so that the Market Participant’s system will interoperate with ERCOT’s system. | Nothing actionable by any party or system.
2021-08-17 | No | 1 - Introduction | Koepke | Market Participants and, if applicable, their vendors will need this information to include the required features and to build the proper delivered ICCP configuration. | Nothing actionable by any party or system.
2021-08-17 | Yes | 1.4 - Change Control Process | Koepke | The Network Data Support Working Group (NDSWG) will review and coordinate all changes to the ERCOT ICCP Communications Handbook. | Method for keeping document up-to-date. Would be needed in a new OBD but may not be required if going to an existing document. For example, the NOG already have a mechanism to get the document up-to-date. Do we need to coordinate with EMSWG and add that language to the Handbook?
2021-08-17 | Yes | 1.4 - Change Control Process | Koepke | It will be NDSWG’s responsibility to review all substantive changes and update the document as required. | Method for keeping document up-to-date. See elaborated entry above.
2021-08-17 | Yes | 1.4 - Change Control Process | Koepke | NDSWG or ERCOT Staff will provide notice of proposed changes to Market Participant Stakeholders groups, such as the QSE Managers Working Group (QMWG), if proposed changes directly affect the representatives and seek their guidance with all proposed changes. | Method for keeping document up-to-date. See elaborated entry above.
2021-08-17 | Yes | 1.4 - Change Control Process | Koepke | ERCOT will post the revised Handbook and provide notification to the NDSWG and QMWG within 10 Business Days of ERCOT Board approval of the associated Nodal Protocol Revision Request (NPRR). | Method for keeping document up-to-date. See elaborated entry above.
2021-08-17 | Yes | 1.4 - Change Control Process | Koepke | Upon NDSWG review, the revised Handbook will be submitted to the ROS for review and approval of all changes. | Method for keeping document up-to-date. See elaborated entry above.
2021-08-17 | No | 1.5 - Naming Conventions | Koepke | The data exchange tables identify data enumerated in the Texas Protocols that Market Participants and ERCOT must provide to each other as applicable. | Language is referring to a needed process but this language is not requring it.
2021-08-17 | No | 2 - Connecting to WAN | Koepke | ERCOT will, from time to time, identify specific TSPs and any other QSEs (i.e. representing load resources) that are required to connect to the WAN. | Language should be revised to soften the "will" since it is next to "time to time". Not binding.
2021-08-17 | Yes | 2 - Connecting to WAN | Koepke | Any Market Participant required to connect must complete and submit the communication connection documentation as required in Section 0 | Candidate. This is a requirement inside of a non-binding document. There may be other language in other documents that capture this however. Yes, it is referenced in section 7 which was being modified by NOGRR230
2021-08-17 | Yes | 2 - Connecting to WAN | Koepke | The ERCOT WAN will not allow the exchange of data directly between Market Participants. | Candidate. This is a requirement inside of a non-binding document. There may be other language in other documents that capture this however.
2021-08-17 | Yes | 2 - Connecting to WAN | Koepke | If a link on the MPLS network between ERCOT and a particular Market Participant fails, the MPLS link connecting the Market Participant through the alternate ERCOT site will be used. | Candidate. This seems to be a requirement. Not sure if captured in other documents.
2021-08-17 | Yes | 2 - Connecting to WAN | Koepke | The DACS network will only be used if both MPLS links between ERCOT and a Market Participant fails. | Candidate. This seems to be a requirement. Not sure if captured in other documents.
2021-08-17 | Yes | 2.3 - Implementation Proc. | Koepke | During the process of establishing the WAN connections, the Market Participants must also define the data to be exchanged with ERCOT. | Candidate. This seems to be a requirement. Yes, is referenced in section 7.
2021-08-17 | Yes | 2.3 - Implementation Proc. | Koepke | Market Participants will submit ICCP changes using the ICCP Change Request Form to the ERCOT ICCP team through the Market Information System (MIS). | Candidate. This seems to be a requirement. Not sure if captured in other documents.
2021-08-17 | Correction | Figure 2 | Oncor | Fractional T1 isn't the truth any more. DACS to VOIP.
2021-08-17 | Correction | Table of Contents | Koepke | ToC entries do not map to correction sections (i.e. 1.6 says it is the glossary)