## Slide 1: SSWG Proposal: Case Build Schedule
Chenyan Guo (SSWG Chair)
Ross Cloninger (SSWG Vice Chair)

## Slide 2: Agenda:
Introduction
SSWG Meeting Discussion
Review the current SSWG Case Build Schedule
SSWG Proposal
SSWG Survey & Responses
Conclusions

## Slide 3: Introduction:
Case building continues to evolve in complexity:
  Number of validation rules increasing over time
  Increasing number of generation units added to cases (Conventional, DER, SODG, UDG, etc.)
    Increasing level of renewable resources (solar, BESS, DESR, etc.)
  Increasing extreme dispatch level
Requests for building additional cases
Transitioning from PSSE v33 to PSSE v35 modeling
  Significantly more data being modeled, requires additional PMCRs and revisions to contingency definitions

## Slide 4: SSWG Definition:
Case quality – Including but not limited to, the number of generation units at the reactive limits, active voltage control devices controlling the same bus should not have conflicting voltage regulation set points, parallel transformers should not have positive sequence circulating current, which should all trend down over time.
  Additional Steady-State Powerflow Metrics applicable to SSWG’s case quality definition are detailed within the NERC Case Quality Metrics document.

## Slide 5: SSWG Meeting Discussion:
SSWG workload currently near limit. Increasing stress to the current case build schedule will further impact case quality.
  SSWG seeing fewer passes to effectively tune cases
  SSWG’s immediate concern is improving case quality
Additional SSWG cases will need to be included in case builds relatively soon.
Transition from PSSE V33 bus-branch to PSSE V35 node-breaker modeling will be more time consuming.
SSWG open to adjusting TPIT schedule.

## Slide 6: Current SSWG Case Build Schedule:

## Slide 7: SSWG Proposal:
Reduce the number of SSWG case builds per year from 3 to 2.
  Specifically, remove the Update 2 cases.
Preliminary Option #1
Preliminary Option #2

## Slide 8: SSWG Survey:
On July 30th SSWG leadership sent out a five-question survey to SSWG members in order to determine the level of support for the proposal as well as identify concerns.
16 members responded
14 members supported the proposal, 1 member abstained, and one member opposed the proposal

## Slide 9: Survey Responses:
Question # 1: How do you feel about the proposed SSWG case build schedule?

## Slide 10: Survey Responses:
Question # 2: Why do you support/oppose/abstain the proposed SSWG case build schedule?
Support:
  Improve overall case quality (x5)
  New/Additional cases (x4)
  Transition to PSSE v35 data modeling (x3)
  GIC Modeling (x2)
  Reduce Workload (x2)
  Lack of use for update 2 cases (x1)
  Aligns with SPWG case build (x1)
Oppose:
  The 'Market' requested more construction transparency, TSPs construction schedules change rapidly and would like to see how cases are impacted by delays, etc. of projects.

## Slide 11: Survey Responses:
Question # 3: What concerns, if any, do you have with the proposed SSWG case build schedule?
Market Participants may not favor the proposed case build schedule
Impact to frequency of TPIT updates
May increase the number of interim idev updates
Concern ALDR/load forecasting timeline could be changed

## Slide 12: Survey Responses:
Question # 4: What changes to the proposed SSWG case build schedule should be implemented to address concerns from question 3?
Implement off-cycle TPIT updates
Do not change the ALDR/load forecasting timeline
Ensure case builds include new cases that the market can use

## Slide 13: Survey Responses:
Question # 5: Should SSWG pursue a request to adjust the ALDR deadline to earlier than March 1st?

## Slide 14: Conclusion:
SSWG is currently approaching workload capacity, and any additional responsibilities will likely impact case quality and the case build schedule.
SSWG’s consensus is that more time will be needed to improve case quality as case builds evolve.
SSWG is proposing to change from 3 to 2 case builds per year, with off cycle TPIT updates.

## Slide 15: Questions?