## Slide 1
August 19, 2021
The Timeline and Events of the February 2021 Texas Electric Grid Blackouts
A report coordinated by The Energy Institute
Joshua D. Rhodes, PhD

## Slide 2: Goal and scope of report
This report recounts the factors contributing to disruptions in electricity and natural gas service in Texas during Winter Storm Uri.
The report allowed researchers from the University of Texas to access some confidential information and to make findings public
Our goal was to create a common and authoritative basis of fact to educate the debate over the causes and potential policy/market changes for a reliable energy system.
The report does not make policy recommendations.

## Slide 3: New findings of report included some on DR programs:
We identified critical loads that were part of DR programs
  Analysis focused on ERS only
    Further focus on generator fuel supply chain
    Based on an ESIID analysis
  Limitations:
    Were not able to directly translate into “MW lost”
    Did not analyze use of any co-located backup generation
    Did not review number of loads on or changes to critical infrastructure lists past 02/21/2021

## Slide 4: Fuel Supply and Emergency Response Service
Emergency Response Service:
  Customers enrolled in the program reduce their purchases from the grid by reducing load or by starting backup generators.
At least 67 ESIIDs involved in the supply chain of fuel to power plants were also enrolled in ERS
5 ESIIDs that were part of ERS program (before the winter storm), requested critical natural gas infrastructure status during/after the winter storm

## Slide 5: Questions?
Joshua D. Rhodes, PhD
joshdr@utexas.edu
@joshdr83