## Slide 1: RUC RESOURCE REVIEW Operation Days June 13 through August 18, 2021
David Detelich
August 20, 2021

## Slide 2: AVERAGE AGE
Chart: Average Age of Units Getting RUC Instructions
| 13 | 14 | 15 | 16 | 17 | 18 | 23 | 25 | 26 | 27 | 28 | 29 | 30 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 11 | 12 | 13 | 16 | 17 | 18 | 19 | 20 | 21 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 1 | 3 | 4 | 5 | 6 | 11 | 13 | 15 | 16 | 17 | 18 | June | July | August
 | 19 | 50.5556 | 56.3333 | 56.3333 | 58.3333 | 58.6667 | 51.6667 | 34.5 | 45 | 52 | 56 | 46.8889 | 53.125 | 51.5833 | 53.3 | 47.7143 | 50 | 51.3333 | 29.8571 | 52.9375 | 52.7778 | 51.8 | 53.4167 | 54.5 | 55.75 | 56 | 52.6 | 56 | 49 | 51.7143 | 56.5 | 53.6667 | 57.75 | 57.75 | 57.75 | 55.8 | 57.75 | 58.3333 | 43 | 53.25 | 54.1818 | 55.3333 | 53 | 52 | 56.5 | 56 | 56.8 | 51.6667 | 56

## Slide 3: RESOURCE TYPES
Chart: Number of Units Getting RUC Instructions by Type
| 13 | 14 | 15 | 16 | 17 | 18 | 23 | 25 | 26 | 27 | 28 | 29 | 30 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 11 | 12 | 13 | 16 | 17 | 18 | 19 | 20 | 21 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 1 | 3 | 4 | 5 | 6 | 11 | 13 | 15 | 16 | 17 | 18 | June | July | August
CCGT90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCLE90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GSNONR | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 2 | 0 | 0 | 0 | 2 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
GSREH | 0 | 6 | 2 | 2 | 3 | 3 | 3 | 2 | 1 | 1 | 1 | 7 | 15 | 10 | 8 | 6 | 2 | 12 | 3 | 16 | 14 | 5 | 12 | 2 | 4 | 1 | 5 | 2 | 1 | 7 | 5 | 3 | 4 | 4 | 4 | 5 | 4 | 3 | 2 | 7 | 8 | 6 | 3 | 2 | 5 | 3 | 5 | 3 | 1
GSSUP | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCGT90 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCLE90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 4: AGE OF RESOURCES
Chart: Resource Age and Number of RUC Instructions
| 5 | 47 | 3 | 55 | 53 | 12 | 12 | 47 | 45 | 56 | 53 | 49 | 61 | 52 | 19 | 19 | 19 | 58 | 45 | 44 | 13 | 17 | 17 | 17 | 51 | 48 | 65 | 63 | 54 | 20 | 19 | 49 | 46 | 50 | 46 | 5 | 63 | 56 | 55 | 55 | 54 | 43 | 56
 | 1 | 1 | 1 | 8 | 13 | 1 | 1 | 3 | 1 | 3 | 4 | 4 | 22 | 16 | 1 | 2 | 1 | 5 | 11 | 8 | 1 | 1 | 1 | 1 | 25 | 18 | 4 | 4 | 4 | 1 | 1 | 7 | 5 | 6 | 7 | 1 | 26 | 18 | 5 | 3 | 1 | 2 | 23

## Slide 5: TOTALS
CCGT90 | CCLE90 | DSL | GSNONR | GSREH | GSSUP | SCGT90 | SCLE90
2 | 2 | 1 | 19 | 233 | 4 | 8 | 8
RUC Instruction Days by Resource Type
Older Gas Steam Reheat and Gas Steam Non-Reheat units are getting the RUC instructions.
Typically high heat rate units.
Summer of 2020
  11 days from July 30 through August 12th
  Three resources
  For two constraints
  12 RUC Instruction Days