Date:	August 27, 2021

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following SCRs recommended for approval by PRS: - SCR813, NMMS Jointly-Rated Equipment Coordination Confirmation [ERCOT] - SCR814, Point-to-Point (PTP) Obligation Bid Interval Limit [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - SCR813, NMMS Jointly-Rated Equipment Coordination Confirmation [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2022; Rank 3510 ERCOT Impact Analysis: Between $100k and $150k; no impacts to ERCOT staffing; impacts to Network Model Management System (NMMS); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR modifies the NMMS to highlight change submissions related to jointly-rated equipment. NMMS will display the jointly-rated equipment to the submitter and list other Entities which have also provided ratings. The submitter will be asked to confirm that the requested changes have been coordinated with the associated companies. Additional changes are requested to improve automated email notifications of these model changes. PRS Decision: On 7/15/21, PRS unanimously voted via roll call to recommend approval of SCR813 as submitted. On 8/12/21, PRS unanimously voted via roll call to endorse and forward to TAC the 7/15/21 PRS Report and Revised Impact Analysis for SCR813 with a recommended priority of 2022 and rank of 3510. - SCR814, Point-to-Point (PTP) Obligation Bid Interval Limit [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3350 ERCOT Impact Analysis: Between $10k and $25k; no impacts to ERCOT staffing; impacts to Market Operation Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR introduces a limit on the total number of Point-to-Point (PTP) Obligation bid intervals that can be submitted into the Day-Ahead Market (DAM) per Counter-Party. PRS Decision: On 7/15/21, PRS voted via roll call to recommend approval of SCR814 as submitted. There was one abstention from the Independent Generator (Luminant) Market Segment. On 8/12/21, PRS voted via roll call to endorse and forward to TAC the 7/15/21 PRS Report and Revised Impact Analysis for SCR814 with a recommended priority of 2021 and rank of 3350. There were six abstentions from the Independent Generator (Luminant, Exelon, Broad Reach Power, Enel Green Power, Calpine, EDP Renewables) Market Segment. Revision Requests Rejected - NPRR1072, Post Pre-Assigned Congestion Revenue Right (PCRR) Allocation Results to the ERCOT Website [Yes Energy] Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: This NPRR requires ERCOT to post Pre-Assigned Congestion Revenue Right (PCRR) allocation results to the ERCOT website. PRS Decision: On 8/12/21, PRS voted via roll call to reject NPRR1072. There were ten abstentions from the Consumer (Occidental), Independent Generator (5) (Luminant, Exelon, Enel Green Power, Calpine, EDP Renewables), Independent Power Marketer (IPM) (2) (Tenaska, Morgan Stanley), and Independent Retail Electric Provider (IREP) (2) (Reliant, Just Energy) Market Segments. Revision Requests Withdrawn - NPRR1076, Deadlines for Alternative Dispute Resolution (ADR) Requests Related to Winter Storm Uri [Luminant] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1082, Emergency Response Service (ERS) Test Exception for Co-located ERS Loads [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification [Invenergy] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs [ERCOT] - NPRR1084, Improvements to Reporting of Resource Outages and Derates [ERCOT] - NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs) [ERCOT] - NPRR1087, Prohibit Participation of Critical Loads and Generation Resource Support Loads as Load Resources or ERS Resources [ERCOT] - NPRR1088, Applying Forward Adjustment Factors to Forward Market Positions and Un-applying Forward Adjustment Factors to Prior Market Positions [Grand Oak Capital Partners] - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] - NPRR1090, ERS Winter Storm Uri Lessons Learned Changes and Other ERS Items [ERCOT] - SCR816, CRR Auction Bid Credit Enhancement [DC Energy] New Revision Requests Scheduled for Consideration at PRS - NPRR1091, Changes to Address Market Impacts of Additional Non-Spin Procurement [Shell] - NPRR1092, Remove RUC Offer Floor [IMM] These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr