## Slide 1
NPRR 1077
SODG Telemetry Analysis
WMWG
8/20/21

## Slide 2: Stakeholder Feedback from Telemetry Workshop
Although costs to install equipment for telemetry are not on the same scale as full Generation Resources, some SODG units don’t generate enough annual revenue to justify retrofitting controllers and/or communication equipment.
Stakeholders proposed several options for smaller units that are used primarily for self-serve
  Grandfathering
  Exemption based on annual export threshold

## Slide 3: NPRR1077 ERCOT Comments 081621
Provide Exemption from telemetry based on Cumulative Annual Export Threshold of 10 MW-Hr
  Provides exemptions for 60 units
  Captures 233 of 293 registered units (~80% of all SODG)
  Captures 802 of 891 MW of generation (~90% of total nameplate capacity)
  Excludes any energy produced during an EEA event
Larger Exemption threshold will reduce ERCOT visibility into SODG performance

## Slide 4: Questions
?