OPERATING PROCEDURE

MANUAL

# Day-Ahead Market Desk

Version 8.0

December 3, 2025

Document Control

Preparation

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| December 3, 2025 | 8.0 | Updated to reflect RTC+B processes and reports. | C. McKinney, C. Holden |
| December 2, 2024 | 7.0 | Updates to market participant message language to include key phrase for some notice types. Addition of hourly DAM Status Update notices during relevant DAM disruptions. Update MIS postings excluded from the GCC Notice requirement. Addition of Outage Schedule Adjustment procedure. | C. Holden |
| July 27, 2023 | 6.0 | Update Review QSE Counter-Party’s Credit Limits, remove ‘Update DAM to include Load Resource outages’, update AS Insufficiency procedure to account for decreased penalty costs, update with notice regarding post-publish missing reports. Update with ECRS edits. Other minor edits. | C. Holden |
| August 23, 2021 | 5.3 | Update MIS Notifications, ASPF, and minor edits | A. Moreno, C. Holden |
| April 15, 2021 | 5.2 | AS Insufficiency and minor edits | A. Moreno, C. Holden |
| August 9, 2019 | 5.1 | Update DAM Parameter Settings | A. Moreno |
| April 22, 2019 | 5.0 | Update DAM Parameter Settings and minor edits | A. Moreno |
| April 2, 2018 | 4.9 | Updated 3.2 Attachment 2: Day-Ahead Market Operational Assumptions and Configurations; Removed Helpdesk morning check, updated ESSP and Load Resource language, and made other minor edits to procedure language. | C. Bivens, A. Moreno, C. Holden |
| June 1, 2017 | 4.8 | Update 2.2.3 Copy EMSI Data forward for all applications to include new event. Update 2.3.1 Create the Electrically Similar SP List and PSS/E files in the Day-Ahead to include automatic running. NPRR792 Changing SPS to RAS. RRS Grouping posting under DAM publish postponement. | A. Moreno, C. Holden |
| April 24, 2015 | 4.7 | Update Procedure to Verify DSI and DSP parameters. Add DAM System Lambda and Electrically Similar Settlement Point verification. Update ‘Postpone of Day-Ahead Market Solutions Posting’ section. Remove Credit Limit Adjustment section and minor edits. Adding PLATTS (FIP/FOP) language. | A. Moreno, C. Holden, N. Bezwada |
| August 8, 2014 | 4.6.2 | Updated 2.5.1 Update DAM to include any temporary operational actions section and minor edits | A. Moreno |
| April 22, 2014 | 4.6.1 | Remove RMR related sections and update with minor edits | A. Moreno |
| January 10, 2014 | 4.6 | Remove SFT related sections. Update steps for DAM run with AS Insufficiency | J. Jacobs, A. Moreno, N. Smith, K. Li |
| July 10, 2013 | 4.5.1 | Update section on temporary operational actions | C. Bivens |
| June 12, 2013 | 4.5 | Remove Daily CCT per NPRR520 | K. Li |
| May 9, 2013 | 4.4.2 | Updated steps checking PSS/E posting | K. Li |
| April 23, 2013 | 4.4.1 | Updated Daily CCT | K. Li |
| December 19, 2012 | 4.3.1 | Added ‘Check Creditworthiness of QSEs w/Resources’ | A. Moreno |
| December 6, 2012 | 4.4 | Updated with Real Time PTP Option Modeling (NPRR322) and Daily CCT(NPRR469 and 472) | K. Li |
| August 24, 2012 | 4.3 | Updated ESSP. | K. Li |
| March 16, 2012 | 4.2 | Added selection of audience to notices sent. Added ERCOT.com display check & updated Attachment 2 to reflect current practices | A. Moreno, R. Staples, R. Villarreal, N. Smith |
| January 19, 2012 | 4.1 | Added ESSP, PSS/E, & Helpdesk procedures/steps and updated AS Insufficiency Steps & Credit check | K. Li, A. Moreno, R. Villarreal, N. Smith |
| September 14, 2011 | 4.0 | Updated Clear Day-Ahead Market section to reflect updates to the way the market is cleared | A. Moreno, R. Staples |
| August 5, 2011 | 3.9 | Deleted step for manual posting of report and updated to reflect manual run of another event after DAM publishing | R. Staples |
| July 13, 2011 | 3.8 | Updated sections relating to Daily CCT. Deleted COP Verification & Phase Shifter Settings sections and made other minor edits | K. Li, A. Moreno, R. Staples, C. Tucker |
| April 25, 2011 | 3.7 | Added appendix containing operational assumptions and configurations | C. Tucker |
| March 25, 2011 | 3.6 | Updated to include handling of Generic Constraints in CCT | K. Li |
| March 21, 2011 | 3.5 | Updated to include tasks that have now become part of the daily duties of the DAM Operator | A. Moreno, R. Staples |
| January 7, 2011 | 3.4 | Updated based on feedback from DAM Operators, DAM Support, and DAM Manager | A. Moreno, R. Staples |
| November 30, 2010 | 3.3 | Updated based on additional feedback from DAM Operators, DAM Support, and Market Reform Analyst | A. Moreno, R. Staples |
| November 5, 2010 | 3.2 | Updated based on feedback from DAM Operators and Market Reform Analyst | A. Moreno, S. Jacobs, R. Staples |
| October 11, 2010 | 3.1 | Reviewed and updated in preparation for Go-Live. | A. Moreno, N. Smith, R. Staples, S. Jacobs |
| September 3, 2010 | 3.0 | Update procedures for settings and new Action Plans received from Operations Support | R. Staples, S. Jacobs |
| July 21, 2010 | 3.0 | Update procedures for AS Insufficiency | R. Staples, A. Moreno |
| June 1, 2010 | 2.1 | Update procedures based on Market Trials 4 review | Y. Ren, R. Staples, DAM Operators |
| April 14, 2010 | 2.0 Rev 3 | Update procedures based on Market Trials 4 | N. Smith, Y. Ren, A. Moreno, C. Hansen |
| January 8, 2010 | 2.0 Rev 2 | Update language changed by Protocols and clean up previous version | R. Staples, A. Moreno, Y. Ren |
| October 4, 2008 | 2.0 Rev 1 | Incorporate comments from Reliant, Luminant, and PGC | Y. Ren, M. Patterson |
| August 12, 2008 | 1.0 | Revision 2 | Y. Ren, M. Patterson |
| August 5, 2008 | 1.0 | Revision 1 | Y. Ren, X. Ma, K. Methaprayoon, M. Patterson |
| August 4, 2008 | 1.0 | Original draft | Y. Ren, X. Ma |

Table of Contents

Document Control	2

1.	Introduction	8

1.1	Purpose	8

1.2	Scope	8

1.3	Associated Documents	8

1.5	General Duties	9

2.	Tasks	10

2.1	Review ERCOT System Conditions	10

2.1.1	Verify the MIS postings for the next Operating Day	11

2.1.2	Monitor / Review External System Data Interfaces	13

2.1.3	Copy EMSI Data forward for all applications	13

2.2	Create the Electrically Similar SP List and PSS/E files in the Day-Ahead	14

2.2.1      Create the Electrically Similar SP List and PSS/E files in the Day-Ahead	14

2.3	Phase II Validations of DAM Submissions	18

2.3.1	Review QSE Counter-Party’s Credit Limits	18

2.3.2	Initiate Phase II Validation Process	19

2.3.3	Review Phase II Validation Report	19

2.4	Review and update DAM to account for modifications to any temporary operational actions.	20

2.4.1	Update DAM to include modifications to Remedial Action Schemes (RAS), Transmission Equipment Status, and Contingencies	20

2.5	Perform DAM Input Data Processes	21

2.5.1	Monitor / Review DAM Submissions and Validations	21

2.5.2	Verify DAM Configuration Parameter Settings	22

2.5.3	Monitor Outage Schedule Adjustments	22

2.6	Execute DAM Clearing Process	23

2.6.1	Check DAM Submission Close Event	24

2.6.2	Check Creditworthiness of QSEs w/Resources	25

2.6.3	Clear Day-Ahead Market	26

2.6.4	Notify Market Participants of DAM awards and Verify MIS Posting	29

2.7	Manage Post-DAM Processes	31

2.7.1 Prepare the Day-Ahead Market Summary Report (Prior to end of shift)	31

2.7.2	Validate / Correct DAM Prices	32

2.7.3	Validate / Correct Electrical Bus Mapping for Heuristic Pricing	32

2.8	Manage Day-Ahead Issues	33

2.8.1	Manage Day-Ahead Issues	33

2.9	Manage DAM Timeline Deviations	34

2.9.1	Postpone Phase II Validation	34

2.9.2	Postpone Day-Ahead Market Submission Close Timeline	35

2.9.3	Postpone of Day-Ahead Market Solutions Posting	37

2.9.4	Abort the Day-Ahead Market Clearing	40

2.9.5	Emergency Operations	42

3.	 Attachments/Appendices	43

3.1	Attachment 1:  DAM Parameter Settings	43

3.2	Attachment 2:  Day-Ahead Market Operational Assumptions and Configurations	43

# 1.	Introduction

## 1.1	Purpose

This document provides the ERCOT Day-Ahead Market (DAM) Desk with the detailed procedures required for performing DAM duties.  The DAM Shift Engineer position is responsible for the oversight of DAM operations in full compliance with the ERCOT Nodal Protocols and ERCOT procedures.  Oversight includes all aspects associated with the preparation and execution of the DAM, including monitoring participant submission validation and posting DAM results on the Market Information System (MIS). If any conflict exists between this document and the ERCOT Nodal Protocols, the ERCOT Nodal Protocols shall control in all respects.

The DAM operations normally commence at 0600 and concludes at 1330 on the day prior to the Operating Day.

## 1.2	Scope

The instructions contained in this procedure document are limited to those required for the DAM Desk.  Instructions for other ERCOT nodal market positions are contained in separate procedure documents, one for each position.  This procedure does not imply that the duties contained herein are the only duties to be performed by this position, nor do these procedures foresee all possible circumstances where the DAM Shift Engineers' judgment may result in deviations as required to facilitate a market.  The individuals assigned to this position will be required to follow other instructions and perform other duties as required, or requested, by appropriate ERCOT supervision.

DAM Supervisor and/or support engineers are the reviewers of this document, and the approver is the DAM Manager.

## 1.3	Associated Documents

ERCOT Nodal Protocols

1.4	Roles/Responsibilities

DAM Desk Supervisor

The DAM Desk Supervisor is responsible for the supervision of the DAM Desk position and may at times be responsible for performing the procedures contained in this manual.

DAM Shift Engineer

The DAM Shift Engineer is primarily responsible for carrying out the subsequent tasks that are described in this document. In some instances, the DAM Desk activities, as described in this document, may be performed by DAM Support personnel.

## 1.5	General Duties

	Operate the DAM every day including weekends and ERCOT Holidays from 0500 to 1330 one day prior to the Operating Day.

	Respond to Market Participant questions and issues after being screened internally.

o	Receive questions and issues from Market Participants as they are funneled to the DAM Desk. Escalate issues to ERCOT Management as needed to resolve issues prior to market deadlines.

o	Respond/provide answers to Market Participant questions and issues when appropriate information is available.

o	Maintain record of Market Participant questions, issues, and resolutions.

o	Refer any unresolved questions or issues to DAM Support or the DAM Desk Supervisor.

# 2.	Tasks

## 2.1	Review ERCOT System Conditions

On a daily basis in the Day-Ahead, the DAM Desk reviews the following ERCOT system conditions:

	Verify that the postings required on the MIS for the next Operating Day are available to Market Participants.

	Monitor / Review External System Data Interfaces

	Copy EMSI Data forward for all applications

| ### 2.1.1 Verify the MIS postings for the next Operating Day |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | The postings required on the MIS for the next Operating Day are from different ERCOT sources. The DAM Shift Engineer shall verify that the postings required on the MIS for the next Operating Day are available to Market Participants. Recommended start time for this task is 0500. This task should be completed by 0600. |
| 1 | LOG on to MIS. |
| 2 | IF DAM workarounds need to be communicated (ex. DAM disabled contingencies, Generic Constraint Limits), NOTIFY Market Participants by sending out an “Operational Information” notice with “Medium” priority and a Classification of “Secure” using Notice Builder via Grid Conditions Communications (GCC) Notices. |
| 3 | NAVIGATE to the applicable MIS displays for the postings and VERIFY the postings required for the next Operating Day are available: - Transmission network conditions for the DAM period: o Consolidated Transmission Outage Report (Grid -> Transmission) o Weather Assumptions (Markets -> Day-Ahead Market) o Load Distribution Factors (published when revised) (Markets -> Day-Ahead Market) o Forecasted Distribution Loss Factors Report (Markets -> Data Aggregation) o Forecasted Transmission Loss Factors Report (Markets -> Data Aggregation) o Settlement Points List and Electrical Buses Mapping (Markets -> Day-Ahead Market) o Weekly RUC Active and Binding Transmission Constraints (Grid -> Forecasts) - DAM Ancillary Service Plan (Markets -> Day-Ahead Market) - DAM and SCED Ancillary Service Demand Curves (Markets -> Day-Ahead Market) - QSE Ancillary Service Advisory Obligations (View using Mimic function in Applications -> Market Manager)  Generic Transmission Limits (Grid -> Transmission)  Peaker Net Margin (Markets -> Real-Time Market) NOTE: Posting on Previous Day  Day-Ahead and Real-Time System Wide-Offer Caps (Markets -> Real-Time Market) - QSE Load Ratio Share (View using Mimic function at Markets -> Day-Ahead Market) - Wind Generation Resource Power Potential Forecast (View using Mimic function in Markets -> Day-Ahead Market) - Wind Power Production – Hourly averaged actual and forecasted values (Grid -> Forecasts) - Seven-Day Load Forecast by Forecast Zone (Grid -> Forecasts) - Seven-Day Load Forecast by Weather Zone (Grid -> Forecasts) If any postings are missing in MIS, refer to Manage Day-Ahead Issues. |
| 4 | IF any problems with postings are found, NOTIFY Market Participants by sending out an “Operational Information” notice with “Medium” priority and a Classification of “Secure” using Notice Builder via Grid Conditions Communications (GCC) Notices. For resolution of the problem, refer to Manage Day-Ahead Issues. The recommended message to be sent to Market Participants is as follows: ERCOT has discovered issues with the following MIS postings for Operating Day Month DD, YYYY: <Enter list of postings here>. These issues are currently under investigation. A notice will be sent out once the issue has been resolved. Note: Postings excluded from the GCC Notice requirement are: - Peaker Net Margin - System-Wide Offer Cap - Generic Transmission Limits - Forecasted Distribution Loss Factors Report - Forecasted Transmission Loss Factors Report |
| 5 | INFORM DAM Desk Supervisor if any DAM timing deviation must be executed. Refer to Manage DAM Timeline deviations if a deviation is necessary. |

| ### 2.1.2 Monitor / Review External System Data Interfaces |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | MMS data interfaces from External Systems shall be monitored and reviewed to resolve any data interface problems as soon as possible. Recommended start time for this task is 0515. This task should be completed by 0600. |
| 1 | Navigate to the MOI Events display for the status of External System Interfaces. |
| 2 | Check for the existence of any Warning or Error messages pointing to potential problems with the following External System interfaces. This includes but is not limited to: -  Energy Management System (EMS) – Refer to EMSI Workflow -  Congestion Revenue Right (CRR) System – CRR_TO_MI Event -  Credit System – CMM_TO_MI Event -  Outage Scheduler (OS) – Refer to EMSI Workflow -  Settlement System – STL_TO_MI Event -  Registration – MF_TO_DS Event - Argus (FIP/FOP)-PLATTS_TO_MI (Runs day before)* - *Note: If FIP or FOP (Argus) is not available for the Operating Day, the most recent valid FIP and FOP will be used. |
| 3 | COMMUNICATE to Helpdesk and ERCOT Production Support group if any transfer problems are identified and inform DAM Supervisor. |
| 4 | Log the actions or workaround measures taken by ERCOT internal groups to ensure the normal operation of External System Interfaces. |

| ### 2.1.3 Copy EMSI Data forward for all applications |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | In order for the DAM applications to have recent EMS data, data needs to be copied for DAM. Recommended start time for this task is 0500. This task should be completed by 0515. |
| 1 | Navigate to “EMSI Workflow” display. |
| 2 | VERIFY EMSI has completed successfully without errors for the run that begins at about 0450. If there were errors, refer to Manage Day-Ahead Issues. |
| 3 | navigate to the MOI Events display and VERIFY ‘COPY_EMSI_FOR_ESSP’ has completed successfully. If failed or need to run manually go to Step 4. |
| 4 | NAVIGATE to “EMSI Workflow” display. CLICK on “Copy_EMSI_data_for_DAM” button. A pop-up stating, “Wait for few minutes until another message dialog ‘Procedure executed: db_copycat’ popuped.” should appear. After no more than ten minutes, another pop-up that contains the wording “Stored Procedure Executed: call DB_COPYCAT(‘BMSPARMY’,’BMSPARMZ’)” should appear. Data has been copied for DAM applications once this pop-up appears. If either pop-up does not appear navigate to EMSI Workflow Messages and verify “Copy_EMSI_data_for_DAM” has started and completed. If EMSI Workflow Messages are not present refer to Manage Day-Ahead Issues. |

## 2.2	Create the Electrically Similar SP List and PSS/E files in the Day-Ahead

The DAM Shift Engineer shall create and publish a current list of Electrically Similar Settlement Points (ESSPs) and a Network Operations Model in PSS/E format no later than 0600 in the Day-Ahead.

| ### 2.2.1 Create the Electrically Similar SP List and PSS/E files in the Day-Ahead |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | - The DAM Shift Engineer shall create a current list of ESSPs and PSS/E files and publish results into the MMS database and the MIS Secure Area. Recommended start time for this task is 0515. This task shall be completed by 0550. This task includes performing the following activities: -  Check EMSI is completed -  Perform/monitor the execution of the ESSP application -  Review the ESSP results -  Publish the ESSP results to the MMS database -  Archive an ESSP save case -  Publish PSS/E files to the MIS - NOTE: ESSP will run automatically at 0523. DAM Shift Engineer will run ESSP manually on both DST days; short and long day. |
| 1 | - VERIFY EMSI has been copied. - IF the ESSP needs to be ran manually proceed to Step 2, else proceed to Step 14. |
| 2 | Navigate to the MOI “ESSP Workflow” display. Verify ESSP Workflow is down and verify “Publish ESSP Results” is set to NO. |
| 3 | START Up the ESSP workflow. |
| 4 | - Verify that the ESSP Workflow statuses shown on the MOI for each of ESSP functional modules (DSI, NDP and SAV)) are normal in green color and “Up” status. |
| 5 | NAVIGATE to “ESSP Execution Control Parameters” of “ESSP Displays” and set:  Retrieve MF Interface Data – “Yes”  Retrieve MI Interface Data – “Yes”  Retrieve EMS Interface Data – “Yes”  Use Save Case – “No” - NAVIGATE to “ESSP Workflow Parameters”, set “Execute SAV” and “Periodic Switch” to ON. |
| 6 | execute ESSP workflow by pressing “Run All”’ button. |
| 7 | MONITOR the “ESSP Workflow Messages” display and the following messages shall be observed: - Start of the Electrically Similar Settlement Point Determination Run - ESSP publishing is skipped |
| 8 | verify the ESSP application completes successfully by observing the following message: - End of the Electrically Similar Settlement Point Determination Run |
| 9 | Navigate to the MOI -> ESSP Displays -> “Electrically Similar Settlement Point (ESSP)” display. |
| 10 | verify Electrically Similar Settlement Points have been created successfully. |
| 11 | Navigate to the MOI “ESSP Workflow” display |
| 12 | set the “Publish ESSP Results” flag to “Yes” |
| 13 | Publish ESSP results by pressing “NDP” button. |
| 14 | Navigate to the MOI “ESSP Workflow Message” display. |
| 15 | MONITOR the “ESSP Workflow Messages” display to ensure publishing is successful. |
| 16 | NAVIGATE to the MI MOI “Events” display and verify the event “PSSE_FILE_DATA” completed successfully. If this event is not completed, refer to Manage Day-Ahead Issues. |
| 17 | verify ESSP results are published to MIS. NOTE: ESSP results will not be published until 0555. If the ESSP results are not posted, verify the ESSP list is in the database and then, contact ERCOT Web Services Support to manually post this report with a Report ID of NP4-158 and the appropriate BATCH_ID located in the ‘ESSP Workflow Messages’. If the ESSP results are not in the database or are not correct, refer to Manage Day-Ahead Issues. |
| 18 | verify PSS/E files are published to MIS. NOTE: PSS/E files publication is triggered by the completion of ESSP workflow. If the PSS/E files are NOT posted within ten minutes after the completion of ESSP workflow, check if the PSS/E file creation event, PSS/E files, or publication messages are executed /created successfully in MMS: If the PSS/E files creation event is NOT executed successfully - Manually run the PSS/E file creation event and check PSS/E files and posting If the PSS/E files and messages are created successfully - Contact EMMS Production Support to get a copy of the PSS/E files - Manually drop them at MIS Drop Off location at \\nprodmiddropoff\mIRAdapter\DropOff - If the final posting is after 0600, send a Market Notice - Notify the posting issue to HelpDesk, ERCOT TIBCO On Call, and ERCOT EMMS Production. If the PSS/E files or messages are NOT created successfully - Notify EMMS Production Support and HelpDesk - Re-run ESSP workflow if time allows - If PSS/E files are NOT able to be posted by 0600, send a Market Notice and refer to Manage Day-Ahead Issues. - Check and remove any duplicate ESSP reports via HelpDesk and EIS Production Support |
| 19 | VERIFY Electrical Bus Mapping for Heuristic Pricing file is published to MIS. This file will not be published until 0550. If the Electrical Bus Mapping for Heuristic Pricing results are not on the MIS or not correct, refer to Manage Day-Ahead Issues. |
| 20 | SHUT DOWN ESSP workflow by clicking the “Shut Down” button. |

## 2.3	Phase II Validations of DAM Submissions

The DAM Shift Engineer performs the following procedures to prepare required data for Phase II validation of DAM submissions:

	Review Counter-Party’s Credit Limits

	Initiate Phase II Validation Process

	Review Phase II Validation Reports

| ### 2.3.1 Review QSE Counter-Party’s Credit Limits |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | - Counter-Party’s Credit Limits are transferred to MMS from the Credit System every day. The DAM Shift Engineer reviews Counter-Party’s credit limits. Recommended start time for this task is 0605. This task should be completed by 0655. |
| 1 | Verify the Counter-Party’s Credit Limits are updated from the Credit System by navigating to the MOI Events display (CMM_TO_MI). If Counter-Party’s Credit Limits are not updated from the Credit System, refer to Manage Day-Ahead Issues and work with Credit Team and EMMS Production Support to manually update credit limit data. If any of the above data is NOT available or incorrect, DETERMINE with DAM management if holding the Phase II validation process is necessary. If a hold is necessary, refer to Postpone Phase II Validation for steps to follow. If the Counter-Party’s credit limit updates are few enough that manually updating is possible, then EMMS Production Support should update manually. If CMM_TO_MI did not complete properly, or if many issues exist, rerun of CMM_TO_MI may be necessary. NOTE: Do not run CMM_TO_MI after Phase II Validation has initiated. |
| 2 | VERIFY that a sampling of Counter-Party’s Credit Limits match with the Counter-Party specific MIS posting titled “Available Credit Limit (ACL) Summary Report”. NOTE: If ACLs sent by Credit team are available, please use the spreadsheet to VERIFY. If ACL differences are found, refer to Manage Day-Ahead Issues and contact the Credit team. Determine with DAM management to hold the Phase II validation process. If a hold is necessary, refer to Postpone Phase II Validation for steps to follow. |
| 3 | VERIFY Credit percentiles are below 300 for all the Load Zones and Hubs. IF there are credit percentiles above 300, send to the Credit team. |

| ### 2.3.2 Initiate Phase II Validation Process |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Phase II validation of DAM submissions is initiated at 0700 automatically unless the DAM Desk has postponed this validation. Recommended start time for this task is 0655. This task should be completed by 0715. |
| 1 | Verify that SWCAP has been updated for the DAM, when applicable. The display is located in Market Participation -> Physical Market -> Market Operator Data -> System-Wide Offer Cap. If the SWCAP is not correct, refer to Manage Day-Ahead Issues. |
| 2 | Navigate to the MOI Events display and verify that the Phase II validation events have initiated. |
| 3 | Verify that the Phase II validation events have successfully completed. If this validation was previously postponed and issues have been resolved, set the “PHASE2_VALIDATION_PREP” event “Start Time” to the beginning timeframe listed in the Postpone Phase II Information GCC Notice and “PHASE2_VALIDATION” event “Start Time” for five minutes later. Set both events to “Normal” Status. Verify that the Phase II validation event has successfully completed. |
| 4 | COMMUNICATE to ERCOT production support group and inform DAM supervisor if any problems are identified. |

| ### 2.3.3 Review Phase II Validation Report |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | DAM Desk monitors and reviews the Phase II validation reports from its initiation up to the close of DAM submission. |
| 1 | Review rejected submissions that occurred during the execution of the Phase II event using the Mimic Function on the MMS UI (Market Manager). |
| NOTE | When a Counter-Party’s credit limit is reached, ERCOT shall reject a QSE’s DAM submissions (bids and offers) that cause the QSE’s Counter Party’s credit exposure limit to be exceeded. |

## 2.4	Review and update DAM to account for modifications to any temporary operational actions.

| ### 2.4.1 Update DAM to include modifications to Remedial Action Schemes (RAS), Transmission Equipment Status, and Contingencies |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Changes may include RAS, Transmission Facility equipment and Contingency changes. Recommended start time for this task is 0800. This task should be completed by 1000. |
| 1 | VERIFY the actions needed with Operations. |
| 2 | Update changes according to the outage notes or other operations communication. |
| 3 | VERIfy that changes requested to be made are reflected in the following EMSI displays as applicable. RAS Deactivation Management Transmission Facility Monitored Secured Flags Contingency Deactivation Management Contingency Data |

## 2.5	Perform DAM Input Data Processes

Prior to the close of DAM submissions, the DAM Shift Engineer ensures the DAM input data has been received from Market Participants and is verified and ready for the execution of the DAM clearing process. To ensure the scheduled on-time execution of the DAM clearing process, DAM Desk performs the following processes:

	Monitor / Review DAM Submissions and Validations

	Review DAM Configuration Parameter Settings

| ### 2.5.1 Monitor / Review DAM Submissions and Validations |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Market Participants may submit DAM bids and offers until DAM Close. DAM Desk shall monitor and review submission validations periodically and resolve any problems in accordance with Section 2.8, Manage Day-Ahead Issues. This task includes the following activities: -  Monitor/Review participant submission related processes and messages -  Respond to participant inquiries related to data submissions -  Take necessary actions to ensure normal processing of data submissions |
| 1 | Navigate to the MOI display showing all participant activities. |
| 2 | Review the submission and validation messages periodically. |
| 3 | Respond to Market Participant inquiries related to data submissions and validation received after being screened internally. |
| 4 | Log actions or workarounds taken by the DAM Shift Engineer to ensure normal processing of data submissions and validation. |

| ### 2.5.2 Verify DAM Configuration Parameter Settings |  |  |
| --- | --- | --- |
| ###### Step # | ###### Procedural Steps |  |
| NOTE | Prior to execution of the DAM Clearing process scheduled for 1000, the DAM Desk reviews the DAM Clearing configuration parameter settings. |
| 1 | Navigate to the MOI displays for setting DAM Clearing configuration parameters. |
| 2 | VERIFY the DAM Clearing configuration parameter settings are as follows: -  Network Security Monitor configuration parameter settings: (1) Sensitivity Cutoff Threshold for Individual Resources = 0.0001 (2) Constraint Monitor Margin (%) = 95.00 (3) Constraint Reliability Margin (MW) = 0 (4) Constraint Selection Factor = 0.000001 (5) Absolute Bus Maximum MW Power Mismatch = 0.5 (6) Max Number of Nonlinear Power Flow Iterations = 50 -  Network Constrained Unit Commitment configuration parameter settings: (1) Infeasibility MIP Resolve Option = Skip Resolve (2) Infeasibility MIP Resolve Timeout (sec) = 300 -  Unit Commitment penalty function cost parameter settings: (1) Under generation / Over generation penalty = 5,000,000 (2) Transmission base case constraint penalties = 350,000 to 1,050,000 (3) Transmission contingency constraint penalties = 300,000 to 1,000,000 (4) Non-thermal constraint penalty = 1,000,000 (5) Power Flow Steady State penalty = 3,000,000 -  The Workflow configuration parameters for DAM execution mode shall be set to “Constrained” and “DAM Clearing”. -  For values to the remainder of the settings, see Appendix 3.1. |

| ### 2.5.3 Monitor Outage Schedule Adjustments |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | ERCOT Operations may issue an Advance Action Notice regarding an Outage Schedule Adjustment for some resources. DAM Desk shall monitor and review these notices and resolve any problems in accordance with Section 2.8, Manage Day-Ahead Issues. This task includes the following activities: -  Monitor/Review AANs for OSA information. -  Monitor Three-Part Supply Offers/Energy-Bid Offer Curves and Ancillary Service Offers submitted for resources in the OSA. - Cancel Energy-Bid Offer Curves, Three-Part Supply and Ancillary Service Offers submitted on resources listed in the OSA, during the AAN timeframe, that remain after DAM Submission Timeline has closed. |
| 1 | Monitor notices for AAN/OSA information. |
| 2 | Review information included in any AAN/OSA notification |
| 3 | Monitor submissions for OSA resources. |
| 4 | Contact EMMS Production Support and communicate regarding any Energy-Bid Offer Curves, Three-Part Supply or Ancillary Service Offers that need to be canceled after the DAM Submission Timeline has closed. |
| 5 | Review these submissions to confirm that the appropriate submissions were canceled. |

## 2.6	Execute DAM Clearing Process

When the market window for DAM submissions closes and all offers/bids submitted prior to the window closing are validated, the DAM Clearing process can be started.  The DAM Clearing Process includes the following tasks:

	Check DAM Submission Close Event

	Check Creditworthiness of QSEs w/Resources

	Perform Ancillary Service Insufficiency Check

	Notify QSEs of Ancillary Service Insufficiency condition

	Clear Day-Ahead Market

	Notify Market Participants of DAM awards

	Post DAM Results

If DAM needs to be postponed or aborted, refer to Manage DAM Timeline deviations.

| ### 2.6.1 Check DAM Submission Close Event |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | ERCOT shall reject any DAM offers/bids submitted for the Operating Day in which it’s “DAM_CLOSE” event has initiated, which normally occurs at 1000 the day prior to the Operating Day unless “DAM_CLOSE” is postponed or aborted. DAM offers/bids submitted prior to the “DAM_CLOSE” event initiation will be validated and submission response notifications will be sent to the corresponding QSE. This process will check for the DAM_CLOSE event to be in the “Completed” status. After DAM closes, all offers/bids for DAM will be rejected. This task includes performing the following activities: -  Check the status of “DAM_CLOSE” event -  Manually trigger this event if necessary -  Verify that all DAM submissions before DAM close time have been validated. |
| 1 | CHECK the status of “DAM_CLOSE” event in the MOI event display. Normally, this event shall be automatically executed at 1000. The status should show “Completed”. If the status of this event shows “Completed”, skip to Step 5. |
| 2 | If “DAM_CLOSE” event is “Normal” or “Hold” after 1000, check with the DAM Supervisor and whether ERCOT issued a DAM submission window extension notice. Notices can be reviewed on ‘Current Notices’ via Grid Conditions Communications (GCC) Notices. |
| 3 | If an approved DAM timeline deviation does not exist, update the DAM log and then change the “DAM_CLOSE” event status to “Start now”, which will initiate the event. |
| 4 | NOTIFY Market participants of any DAM close timeline deviation. Refer to 2.9.2 Postpone Day-Ahead Market Submission Close Timeline. |
| 5 | NAVIGATE to Market Participation -> Monitoring -> Event Manager -> Interface Control and VERIFY DAM_CLOSE’s Process Running Flag is ‘Completed’. The flag should change to ‘Completed’ no more than 15 minutes after the ‘Process Start Time’. If the flag does not show ‘Completed’, refer to Manage Day-Ahead Issues. |
| 6 | Navigate to “EMSI Workflow” display. |
| 7 | VERIFY EMSI has completed successfully without errors for the run that begins at about 0950. If there were errors, refer to Manage Day-Ahead Issues. |
| 8 | CLICK on “Copy_EMSI_data_for_DAM” button. A pop-up stating that “Wait for few minutes until another message dialog ‘Procedure executed: db_copycat’ popuped.” should appear. After no more than ten minutes, another pop-up that contains the wording “Stored Procedure Executed: call DB_COPYCAT(‘BMSPARMY’,’BMSPARMZ’)” should appear. Data has been copied for DAM applications once this pop-up appears. If either pop-up does not appear navigate to EMSI Workflow Messages and verify “Copy_EMSI_data_for_DAM” has started and completed. If EMSI Workflow Messages are not present refer to Manage Day-Ahead Issues. |

| ### 2.6.2 Check Creditworthiness of QSEs w/Resources |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | Prior to the execution of the Day-Ahead Market process review the creditworthiness of QSEs (w/ Resources), as necessary. |
| 1 | REVIEW creditworthiness status change for QSEs with active Resource relationships from email received from VP of Credit & Enterprise Risk Management, or other member of the Executive Team, if any such status change exists. |
| 2 | COORDINATE with EMMS Production Support to have the following QSEs transactions cancelled: DAM Energy-Only Offers DAM Energy Bids DAM AS-Only Offers PTP Obligation Bids PTP Obligation Bids with Links to an Option Self-Schedules Capacity, Energy, and AS trades |
| 3 | VERIFY transactions for affected QSEs w/Resources have been cancelled. |

| ### 2.6.3 Clear Day-Ahead Market |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | This task includes performing the following activities: -  Check DAM clearing market application system status -  Check DAM clearing market application configurations -  Verify that submission validation has completed -  Verify the input data -  Perform/monitor the executions of the DAM clearing application functions -  Take any actions necessary to ensure on-time completion of the DAM clearing process -  Review the DAM clearing solutions -  Take necessary actions to ensure validity/clarity of the DAM Clearing results -  Check for Electrically Similar Settlement Point List -  Approve the DAM Clearing and Market Participant award solutions -  Publish/store the DAM clearing solutions to the MIS database - Notify Market Participants of awarded energy and AS -  Verify that DAM results and data are available to Market Participants on the MIS -  Archive the DAM Clearing case Recommended start time for beginning the clearing of DAM is 1000. This task should be completed by 1300. DAM Clearing results shall be posted by 1330. |
| 1 | NAVIGATE to “DAM Workflow”. |
| 2 | SET Execution Mode to “Constrained” and “DAM Clearing”. |
| 3 | SHUT DOWN system by clicking “Shut Down” button. |
| 4 | START UP system by clicking “Start Up” button |
| 5 | NAVIGATE to DAM “DSI Execution Control Parameters” of “DSI Displays” and set:  Retrieve MF Interface Data – “Yes”  Retrieve MI Interface Data – “Yes”  Retrieve EMS Interface Data – “Yes”  Use Save Case – “No” VERIFY MOI display location is DAM “DSI Execution Control Parameters” |
| 6 | NAVIGATE to DAM “Execution Control Parameters” of “DSP Displays” and set “Publish Data to MI” to “NO” VERIFY MOI display location is DAM “DSP Execution Control Parameters” NAVIGATE to “DAM Workflow Parameters” and VERIFY “Execute SAV” is set to “ON” |
| 7 | Secondary DAM Shift Engineer should VERIFY the DAM DSI and DSP parameters. |
| 8 | NAVIGATE to UC Displays > DAM UC Execution Control Parameters, verify parameters and change as necessary. NAVIGATE to NSM Displays > DAM NSM Execution Control Parameters, verify parameters and change as necessary. |
| 9 | NAVIGATE to “DAM Workflow” and click ‘Run All’ button. |
| 10 | CHECK the details of the execution on the “DAM Workflow Messages” display. CHECK to see if SCUC Convergence is set to ‘Yes’ on the “DAM Workflow” display. IF an error occurs, refer to Manage Day-Ahead Issues. |
| 11 | If all DAM processes are successful, check that the results are consistent with DAM inputs at “Output Display Menu” of “UC Displays”. NAVIGATE to DAM PVT Data display and click on “PVT DATA” button. If this does not run correctly, refer to Manage Day-Ahead Issues. CLICK on the “NSM TAB DATA” button. If this does not run correctly, refer to Manage Day-Ahead Issues. VALIDATE the DAM solution. Refer to Validate / Correct DAM Prices. If any part of the solution appears to be inconsistent from expected results, check the inputs and network data. After data correction and Supervisor approval: NAVIGATE to DSI Execution Control Parameters CHANGE “Retrieve MI Interface data” to ‘No’ THEN go back to step #1. |
| 12 | SET “Publish Data to MI” to “YES” |
| 13 | re-execute the DSP module and verify the DSP execution is completed successfully for each of the DAM hours. |
| 14 | VERIFY save case was created (System Administration -> Savecase Management). If the save case was not created, manually create the SAVECASE. If this does not run correctly, refer to Manage Day-Ahead Issues. Shut-DOWN DAM Workflow. |
| 15 | VERIFY that DAM awards and data are published to the MIDB database. Notify Market Participants of DAM awards and Verify MIS Posting. |
| 16 | VERIFY CRRSFT_VIOLATED_CONSTR_SB_OT table in MIDB schema has been populated. |
| 17 | NAVIGATE to ‘Events’ display and VERIFY the following events complete: Note: Events will automatically trigger with the CRRSFT_TO_STL job completion. DAMINPUT_TO_STL DAMOUTPUT_TO_STL If these events do not run correctly, refer to Manage Day-Ahead Issues. |
| 18 | VERIFY DAM data has been transferred from MIDB to MIINF. If data is not transferred correctly, refer to Manage Day-Ahead Issues. |

| ### 2.6.4 Notify Market Participants of DAM awards and Verify MIS Posting |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE | DAM Desk should verify that the DAM clearing results are posted and ready for participant access. This task includes the following verification: -  DAM Clearing result CSV files are ready for MP access |
| 1 | NAVIGATE to “DAM Market Results” display to see the MI MOI results. |
| 2 | VERIFY the DAM solution and data displays in the MI MOI match the DAM Output in the MA MOI: -  DAM Energy-Only Awards -  Three-Part Supply Awards -  CRR Awards (PTP Obligation with Links to an Option Awards) -  PTP Obligation Awards -  AS Awards - CPC (Market Clearing Price for Capacity) -  LMP Settlement Point - If the results do not match, refer to Manage Day-Ahead Issues. |
| 3 | VERIFY the MI MOI and MIDB results match. If the results do not match, refer to Manage Day-Ahead Issues. |
| 4 | NAVIGATE to “Participant Messages”. |
| 5 | VERIFY that the notification of DAM results has been sent out and the clearing prices are available on the MIS. MIS Postings: - DAM Shift Factors - Aggregated Ancillary Service Offer Curve - DAM Clearing Prices for Capacity - DAM De-Energized Settlement Points in Base Case - DAM Hourly LMPs - DAM Settlement point Prices - DAM Shadow Prices - DAM System Lambda - DAM Total Energy Purchased - DAM Total Energy Sold - DAM PTP Obligation Results by Settlement Point - Total Ancillary Service Offers - DAM Electrically Similar Settlement Points - Day-Ahead Point-to-Point Option Price Report(Settlements Tab) - DAM Total Ancillary Services Sold - QSE Ancillary Service Final Obligations (View using Mimic function in Applications -> Market Manager) If the notification was not sent or the clearing prices are not available, refer to Manage Day-Ahead Issues. IF any problems with postings are found, NOTIFY Market Participants by sending out an “Operational Information” notice with “Medium” priority and a Classification of “Public” using Notice Builder via Grid Conditions Communications (GCC) Notices. For resolution of the problem, refer to Manage Day-Ahead Issues. The recommended message to be sent to Market Participants is as follows: ERCOT has discovered an issue with the following MIS postings for Operating Day Month DD, YYYY: <Enter list of postings here>. These issues are currently under investigation. A notice will be sent out once the issue has been resolved. |
| 6 | VERIFY that the displays for DAM Settlement Point Prices and DAM Clearing Prices for Capacity on Ercot.com are available and complete. |

## 2.7	Manage Post-DAM Processes

After the DAM Clearing and award process, the DAM Desk shall perform the following tasks:

	Complete the Day-Ahead Market Summary Report

	Validate / Correct DAM Prices

| ### 2.7.1 Prepare the Day-Ahead Market Summary Report (Prior to end of shift) |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| ###### Note | DAM Shift Engineers shall log all actions related to data error corrections, market application execution abnormalities and measures taken, changes to market application configurations, summaries of communications with Market Participants, etc. After DAM clearing, DAM Shift Engineers shall review their actions and complete the DAM Operation Summary Report. |
| 1 | GO TO DAM Shift log. |
| 2 | REVIEW operation actions have been taken. Complete the log. |
| 3 | COMPLETE the Daily DAM Operations Summary report and store it on the Market Operations Support drive. |

| ### 2.7.2 Validate / Correct DAM Prices |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| Note | After the DAM Clearing results have been posted to the MIS, any findings, either by market participants or DAM Desk, with incorrect DAM Clearing results shall be reported to the ERCOT Board of Directors. The Board of Directors may request DAM price corrections. |
| 1 | Refer to the DAM PVT procedure document. |
| 2 | VALIDATE flags received from PVT and respond as needed. |

| ### 2.7.3 Validate / Correct Electrical Bus Mapping for Heuristic Pricing |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| Note | DAM Shift Engineers shall validate the topology for all Electrical Bus Mappings for Heuristic Pricing will produce results consistent with the original intent of the mapping. |
| 1 | GO TO DAM De-Energized Topology Mapping tool. |
| 2 | REVIEW the results of the tool. |
| 3 | VALIDATE Electrical Bus Mappings for Heuristic Pricing. |
| 4 | UPDATE Electrical Bus Mappings for Heuristic Pricing if needed. |

## 2.8	Manage Day-Ahead Issues

This section establishes the process for the DAM Desk to take when an error occurs within any of the DAM applications.

Note: Follow steps as they apply to the problem.

| ### 2.8.1 Manage Day-Ahead Issues |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | REVIEW the steps in the applicable procedure to ensure no mistakes were made. |
| 2 | INVOLVE Market Support team and DAM Supervisor to help identify issue |
| 3 | ESCALATE the issues to EMMS Production Support and Helpdesk for resolution. |
| 4 | WORK with EMMS Production Support and other ERCOT internal groups as necessary to help resolve the issues. |
| 5 | NOTIFY Market Participants about any disruptions that impact the DAM Timeline, require Market Participant action or to help Market Participants maintain an awareness of current DAM conditions. A GCC notice should be sent at least hourly until resolution. IF other notice types will not be sent at least hourly, a DAM Status Update notice will be sent with an Operational Information notice using a “High” priority and a Classification of “Secure” using Notice Builder via Grid Conditions Communications (GCC) Notices. The recommended message to be sent to Market Participants should begin with “DAM Notice:”: DAM Notice: <Enter current incident information and/or required actions here>. |
| 6 | Log the actions and/or workaround measures taken by ERCOT internal groups. |
| 7 | VERIFY that issues were resolved. |

## 2.9	Manage DAM Timeline Deviations

This section establishes the conditions in which the DAM Desk may deviate from the normally scheduled DAM process timelines in the Nodal Protocols and the procedures to be followed when the DAM timeline deviations occur:

- Postpone Phase II Validation

- Postpone Day-Ahead Market Submission Close Timeline

- Postpone Day-Ahead Market Solutions Posting

- Abort the Day-Ahead Market Clearing

| ### 2.9.1 Postpone Phase II Validation |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | REVIEW the following Day-Ahead applications for system issues: -  ERCOT postings by 0600. (Refer to Verify the MIS postings for the next Operating Day) -  External System Data Interface. (Refer to Monitor / Review External System Data Interfaces) -  Any application/database/computer issues |
| 2 | INFORM DAM Desk Supervisor with the estimated time of delay. DAM management (supervisor/manager/director) approval of the delay is required. |
| 3 | DETERMINE whether to delay the Phase II Validation event. |
| 4 | If delaying the event is needed, estimate how long is necessary for the delay of Phase II Validation. |
| 5 | COMMUNICATE with EMMS Production Support about the issues discovered. |
| 6 | NAVIGATE to the MOI Events display and change the status to “HOLD” for ‘PHASE2_VALIDATION_PREP’ and ‘PHASE2_VALIDATION’ Events. |
| 7 | NOTIFY Market Participants of the delay by sending out an Advisory notice with a “Medium” priority and a Classification of “Secure” using Notice Builder via Grid Conditions Communications (GCC) Notices. The recommended message to be sent to Market Participants is as follows: ERCOT has postponed Phase II Validation for Operating Day MONTH DD, YYYY <until ETA, if applicable> due to <Enter Reason Here>. Once the issue that caused Phase II Validation is resolved, inform Market Participants of the new Phase II Validation timeframe. The recommended message to be sent to Market Participants is as follows: ERCOT will execute Phase II Validation today, MONTH DD, YYYY from HH:MM to HH:MM. Submissions will not be accepted during this time frame. Note that the times are approximate. |
| 8 | VERIFY that the message has been sent to QSEs. |
| 9 | REVIEW impact to other Day-ahead processes and incorporate them into the new timeline. |

| ### 2.9.2 Postpone Day-Ahead Market Submission Close Timeline |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | DAM offers/bids submissions are normally closed at 1000 Day-Ahead. If situations which are anticipated or have occurred that may require ERCOT to postpone the DAM close time, Market Participants must be notified as soon as practical. This Task includes the following activities:  Study the identified Day-ahead application and computer issues  Identify the conditions which require extending the submission timeline  Estimate new DAM close time  DAM Desk Supervisor approves the delay  Notify QSEs of the delay  Monitor / Review offers/bids submission under the new timeline |
| 1 | REVIEW the following Day-ahead applications for system issues: -  ERCOT postings by 0600. (Refer to Verify the MIS postings for the next Operating Day) -  External System Data Interface. (Refer to Monitor / Review External System Data Interfaces) -  Phase II validations. (Refer to Phase II Validations of DAM Submissions ) -  DAM submissions. (Refer to Perform DAM Input Data Processes) -  Any application/database/computer issues |
| 2 | INFORM DAM Desk Supervisor about the estimated delay. DAM management (supervisor/manager/director) approval of the delay is required. |
| 3 | ESTIMATE how long is necessary for the submission extension. Adjust DAM_CLOSE based on MMS down time. A down time greater than one hour shall result in a one-hour delay. |
| 4 | COMMUNICATE with EMMS Production Support about the issues discovered. |
| 5 | SET the start time of the “DAM_CLOSE” event to the extended time. If the Start Time is unknown set the “DAM_CLOSE” event to “HOLD” |
| 6 | NOTIFY Market Participants of the delay by sending out an Advisory notice with a “Medium” priority and a Classification of “Secure” using Notice Builder via Grid Conditions Communications (GCC) Notices. The recommended message to be sent to Market Participants is as follows: DAM Notice: ERCOT has extended the deadline for DAM submissions for Operating Day MONTH DD, YYYY <until ETA, if applicable> due to <Enter Reason Here>. <Enter action you would like MPs to take, if applicable>. |
| 7 | VERIFY that DAM close time extension message has been sent to the QSEs. |
| 8 | MONITOR / REVIEW offers/bids submissions under the new timeline. (Refer to Perform DAM Input Data Processes) |

| ### 2.9.3 Postpone of Day-Ahead Market Solutions Posting |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | ERCOT shall notify Market Participants and post the DAM solution by 1330. Any situations which are anticipated or have occurred that impact ERCOT’s ability to solve DAM, notify the Market Participants of DAM awards, or post the DAM solution by 1330 shall be communicated to all Market Participants as soon as practical. The DAM awards should be available no later than 1900. This Task includes the following activities:  Study the identified Day-ahead application and computer issues  Identify the conditions which requires extending posting DAM solution timeline  Estimate new DAM posting time  DAM Desk Supervisor approves the delay  Notify QSEs of the delay  Inform System Operations of the need to Delay DRUC If the DAM solution is delayed, ERCOT shall take all actions necessary to produce a solution, as documented, and as approved by ERCOT management. |
| 1 | REVIEW the following Day-ahead applications for system issues: -  DAM clearing process. (Refer to Clear Day-Ahead Market) -  DAM solutions -  DAM Result Posting. (Refer to Notify Market Participants of DAM awards and Verify MIS Posting) -  Any application/database/computer issues |
| 2 | INFORM DAM Supervisor about the estimated delay. DAM management (supervisor/manager/director) approval of the delay is required. |
| 3 | ESTIMATE how much time is necessary to extend DAM clearing, award notices, and posting times. |
| 4 | COMMUNICATE with EMMS Production Support for any software/hardware issues discovered. |
| 5 | NOTIFY Market Participants of the delay by sending out an Advisory notice with a “Medium” priority and a Classification of “Public” using Notice Builder via Grid Conditions Communications (GCC) Notices. (Refer process - “Notify Participants of DAM Posting Timeline Deviations”) The recommended message to be sent publicly is as follows: DAM Notice: ERCOT has postponed the deadline for the posting of the DAM solution for Operating Day MONTH DD, YYYY <until ETA, if applicable> due to <Enter Reason Here>. <Enter action you would like MPs to take, if applicable>. |
| 6 | VERIFY that the DAM clearing, award, and posting time extension message has been sent to the Market Participants. |
| 7 | NAVIGATE to Events display and change the ‘Status’ to ‘HOLD’ for the following events: DA_RTSWCAP_CHECK DRUC_CLOSE AS_TRADE_OVERAGE_1430 |
| 8 | INFORM System Operations of DRUC delay. DRUC should be delayed at least one hour after DAM results posting. |
| 9 | COMMUNICATE with System Operations, upon DAM completion, regarding the start time for DRUC. |
| 10 | NAVIGATE to Events display and change the ‘Start Time’ to the agreed upon DRUC start time THEN change the Status to ‘NORMAL’. for the following events: DA_RTSWCAP_CHECK DRUC_CLOSE AS_TRADE_OVERAGE_1430 |
| 11 | VERIFY the following reports are posted correctly. NP7-464: Day Ahead Point-to-Point Option Price Report NP6-552: Group Assignments for Load Resources Providing RRS and ECRS Note: Report NP7-464 is triggered to post when DAM-PTP-OPT Data is available. This notification can be found in table cm_participant_message. Report NP6-552 is triggered to post with DRUC publishing or 1800. If any of the postings above are inaccurate/missing, coordinate with EMMS Production Support and Web Services Support to correct the posting. |

| ### 2.9.4 Abort the Day-Ahead Market Clearing |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| NOTE: | The Day-Ahead Market Clearing process may not execute due to any number of application / database / computer system problems. Once ERCOT makes the decision to abort DAM Market Clearing, Market Participants shall be notified immediately. This task includes the following activities:  Study the identified Day-ahead application and computer issues  Identify the conditions which requires aborting the DAM clearing  DAM Desk Supervisor/manager/director must approve the aborting of DAM  Notify QSEs of the aborting DAM |
| 1 | REVIEW the following Day-ahead applications for system issues: -  ERCOT postings by 0600. (Refer to Verify the MIS postings for the next Operating Day) -  External System Data Interface. (Refer to Monitor / Review External System Data Interfaces) -  DAM clearing process. (Refer to Clear Day-Ahead Market) -  DAM solutions -  Any application/database/computer issues |
| 2 | INFORM DAM Supervisor of any issues or conditions found that constitute an abort. DAM management (supervisor/manager/director) approval of the abort is required. |
| 3 | STUDY DAM data issues. Identify data issues preventing DAM from executing successfully. Resolve issues if possible. (refer process: “Day-Ahead Clear”) |
| 4 | IDENTIFY the conditions which may impact the initiation of DAM before 1230. |
| 5 | IDENTIFY the conditions which may impact DAM solution awards and postings before 1400. |
| 6 | COMMUNICATE to EMMS Production Support for any software/hardware issues discovered. |
| 7 | NOTIFY Market Participants of the abort by sending out a WATCH notice with a “High” priority and a Classification of “Public” using Notice Builder via Grid Conditions Communications (GCC) Notices. The recommended message to be sent to Market Participants is as follows: DAM Notice: ERCOT has aborted the DAM for Operating Day MONTH DD, YYYY due to <Enter Reason Here>. ERCOT will attempt to procure the Ancillary Services Plan through the SASM process and run the HRUC process in lieu of the DRUC process. |
| 8 | VERIFY that the DAM abort message has been sent out. |
| 9 | COORDINATE with EMMS Production Support to make the following changes: Update Market Status to “DAM_POST” for affected Operating Day (Table to update is CM_MARKET_OT in MIDB Schema). |
| 10 | COORDINATE with Shift System Operations Engineers to abort DRUC and delay HRUC. |

| ### 2.9.5 Emergency Operations |  |
| --- | --- |
| ###### Step # | ###### Procedural Steps |
| 1 | In the event that the DAM Control Room is unavailable at the Taylor location, please refer to the Business Continuity Plan on the ERCOT SharePoint site. |

# 3.	 Attachments/Appendices

## 3.1	Attachment 1:  DAM Parameter Settings

## 3.2	Attachment 2:  Day-Ahead Market Operational Assumptions and Configurations

Summary:

Certain assumptions and configurations are documented herein for transparency of operations of the DAM in terms of solution configurations and operational considerations.  Each item listed below is critical in managing effective execution of the Day-Ahead Market in order to balance performance and quality of solution.  Also listed are future studies for consideration that have come forward in the discussions with Market Participants.

ERCOT Implementation:

ERCOT has implemented the following processes and tools for DAM:

- Excluding constraints due to Radial Load Pockets from DAM solution:

  - Configuration in the ERCOT software to exclude the radial load pockets- load that cannot be solved by increasing resources (addresses early market trials issue of under-selling of Load Zones in DAM).

    - Also, an enhancement was delivered to exclude Load Resources from solving radial load pockets (since they can only provide Ancillary Services- not energy to resolve constraint).

      - Technical Background:

        - Network analysis (NSM) module performs powerflow & contingency analysis based on awards obtained from the unit commitment/dispatch (SCUC) module.

        - The output of NSM is a list of constraints (contingency-overloaded element pairs) that SCUC needs to consider so that the flow on overloaded element is <= Limit (normal, emergency or generic).

      - The MMS configuration to ignore radial load pockets suppresses constraints caused by radial load pockets from being sent to SCUC

      - Radial load pocket constraints are identified by meeting ALL conditions of a), b), c) below:

        - Determine shift factors of settlement points to constraint – ignore shift factors below cutoff threshold – this cutoff only applicable for resource nodes and hubs.

        - If the only non-zero shift factors to this constraint are from load zone settlement points (i.e. no other settlement points/resource nodes/ hubs have shift factors to this constraint)

        - If for each load zone, the magnitude of the shift factor to this constraint is less than 10% (configurable)

  - No posting requirements

  - This has been in effect since go-live.

- Phase Shifting Transformers (PST) equipment:

  - ERCOT has enabled PST optimization for the DAM application. This functionality allows tap settings for PSTs to be considered and adjusted hourly as part of the DAM solution processes.

  - No plans to post on daily basis.

- Change management for DAM contingencies:

  - Operational changes and contingencies

    - Contingencies are studied as part of the model validation process.

    - If contingency is no longer valid due to operational change, DAM Shift Engineer will de-activate for DAM

    - Functionality was delivered to allow DAM Shift Engineers to deselect contingencies for DAM only, without affecting RUC.

      - Posting of de-selected contingencies from HRUC in EMIL Hourly report “NP5-200-CD”

      - Consider leverage of MIS Notifications if other circumstances require de-selection for day-ahead contingencies, such as TOAPs

    - This process has been in effect since go-live.

  - Reduced contingency set for performance issues

    - If significant performance issues are experienced, ERCOT has the ability to reduce contingencies based on real-time operational experience. To the extent possible, ERCOT would prioritize leaving contingencies that are at a higher voltage level, have been recently binding in DAM, SCED, or in the relevant CRR monthly auction. This would be done if significant performance issues experienced and would be noticed through a formal market notice communication.

    - An available mitigation strategy can be activated with market notice.

- Daily Operational Alignment based on 2-day System Operations Look-Ahead

  - Pre-Contingency Action Plans (PCAPs)

    - Forecasted usage of PCAPs and applicable hours for next day from Operations Engineering

    - Modeled as outages in the DAM

    - DAM Shift Engineer has a display to manage and activate PCAPs

    - This process has been in effect since go-live

  - Non-Thermal Generic Constraints

    - Set by system operations and automatically integrated from EMS/MMS

    - Daily Generic Constraint posting- NP3-766-M, Generic Transmission Limits, that reflects both the Interconnection Reliability Operating Limit (IROL) and the limit being used by DAM, if that number is discounted from the IROL

    - This process has been in effect since go-live

- Modeled Mitigation Plans

  - Remedial Action Schemes (RAS) are in the network operations model and automatically triggered in the DAM

  - Load Rollover Schemes are in the network operations model and provided by TSP

- Certain step-up transformers

  - When a Resource Node is located on the low side of a step-up transformer, power flow divergence can occur. ERCOT may secure transmission equipment as necessary to solve the power flow.