| NPRR Number | 1063 | NPRR Title | Dynamic Rating Transparency |
| --- | --- | --- | --- |
| Date of Decision |  | August 19, 2021 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2021; Rank – 3330 |  |
| Nodal Protocol Sections Requiring Revision |  | 3.10.8.4, ERCOT Responsibilities Related to Dynamic Ratings |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) requires ERCOT to post information related to Dynamic Rating approvals to the Market Information System (MIS) Secure Area. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Dynamic Rating changes can have a significant impact on congestion costs. Posting the proposed information will increase transparency of these changes and thereby improve Market Participants’ ability to assess and hedge risk. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR1063 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 2/11/21, PRS voted via roll call to table NPRR1063 and refer the issue to ROS and WMS. There were two abstentions from the Independent Generator (Luminant, Calpine) Market Segment. All Market Segments participated in the vote. On 5/13/21, PRS voted unanimously via roll call to recommend approval of NPRR1063 as amended by the 4/21/21 DC Energy comments. All Market Segments participated in the vote. On 6/10/21, PRS voted unanimously via roll call to endorse and forward to TAC the 5/13/21 PRS Report and Impact Analysis for NPRR1063 with a recommended priority of 2021 and rank of 3330. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 2/11/21, participants requested additional time to examine more cost effective methods of delivering dynamic rating transparency. On 5/13/21, participants referenced the 5/4/21 ROS comments and 5/7/21 WMS comments. On 6/10/21, participants reviewed the Impact Analysis and the priority and rank for NPRR1063. It was noted that the information in NPRR1063 qualifies as ERCOT Critical Energy Infrastructure Information (ECEII) as stated in the 6/8/21 ERCOT comments. |  |
| TAC Decision |  | On 6/23/21, TAC voted unanimously via roll call to recommend approval of NPRR1063 as recommended by PRS in the 6/10/21 PRS Report. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 6/23/21, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR1063. |  |
| ERCOT Market Impact Statement |  | ERCOT Staff has reviewed NPRR1063 and believes the market impact for NPRR1063 provides one or more of the following benefits: transparency, efficiency, and/or reliability; and/or aligns with current market rules. |  |
| Board Decision |  | On 8/10/21, the ERCOT Board voted to recommend approval of NPRR1063 as recommended by TAC in the 6/23/21 TAC Report. |  |
| PUCT Decision |  | On 8/19/21, the Public Utility Commission of Texas (PUCT) approved NPRR1063 and accompanying ERCOT Market Impact Statement as presented in Project No. 52307, Review of Rules Adopted by the Independent Organization in Calendar Year 2021. |  |

| Sponsor |  |
| --- | --- |
| Name | Seth Cochran |
| E-mail Address | cochran@dc-energy.com |
| Company | DC Energy Texas |
| Phone Number | 512-971-8767 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | Jordan.Troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 030521 | Requested PRS continue to table NPRR1063 |
| WMS 030921 | Requested PRS continue to table NPRR1063 for further review by the Congestion Management Working Group (CMWG) |
| DC Energy Texas 042121 | Aligned NPRR1063 language in support of ERCOT’s Dynamic Ratings sample report as provided at the April 1, 2021 ROS meeting |
| ROS 050421 | Endorsed NPRR1063 as amended by the 4/21/21 DC Energy Texas comments |
| WMS 050721 | Endorsed NPRR1063 as amended by the 4/21/21 DC Energy Texas comments |
| ERCOT 060821 | Provided notice that NPRR1063 contains ECEII that would only be available on the MIS Secure Area to users with ECEII-eligible Digital Certificates |

Market Rules Notes

None

Proposed Protocol Language Revision

3.10.8.4	ERCOT Responsibilities Related to Dynamic Ratings

(1)	ERCOT shall provide a system to accept and implement Dynamic Ratings or temperatures to be applied to rating tables for each hour in the Day-Ahead and in the Operating Hour.  ERCOT shall also:

(a)	Provide software and processes that allow secure access for TSPs and Market Participants and that maintains a log of data provided and the actions of the TSP and ERCOT, to implement the Dynamic Ratings as described above;

(b)	Use Dynamic Ratings for alarming, compliance with ERCOT and NERC requirements, and SCED purposes in both Real-Time operations and operational planning;

(c) 	Approve or reject the new Dynamic Rating request within 24 hours of receipt;

(d)     Post Dynamic Ratings approved by ERCOT for each planned production load of the Network Operations Model on the MIS Secure Area.  The posting will include the Transmission Element name, approved thermal rating limits, and the planned effective date; and

(e)	Implement the approved Dynamic Rating automatically within 24 hours of approval.

(2)	ERCOT shall provide a system to implement Dynamic Ratings and to obtain monthly expected ambient air temperatures to be applied to rating tables for the CRR Network Models.  Temperatures applied to the rating tables shall be determined using the same method as described in item (3)(f) of Section 7.5.5.4, Simultaneous Feasibility Test.  Transmission Elements that have Dynamic Ratings implemented in the Network Operations Model must have Dynamic Ratings in the CRR Network Models.

(3)	ERCOT shall identify additional Transmission Elements that have a high probability of providing significant added economic efficiency to the ERCOT market through Dynamic Rating and request such Dynamic Ratings from the associated TSP.  ERCOT shall post annually the list of the Transmission Elements and identify if the TSP has agreed to provide the rating on the MIS Secure Area.