## Slide 1: Emergency Conditions List
ROS & WMS Update to TAC
August 27th, 2021

## Slide 2: OVERVIEW
Status Updates
Assignment Updates
Proposed Deletions

## Slide 3: STATUS UPDATES
ROS
Item #45 (Analysis of system frequency, impacts of low frequency on resource and load tripping): status is “In Progress” and being reviewed at PDCWG
Item #121 (Assessment of dynamic stability in a UF scenario during Uri): this will be a ROS item for future discussion at PDCWG and DWG
Item #122 (Consider dynamic load shed ratios): status is “In Progress” and being reviewed at OWG

## Slide 4: STATUS UPDATES
WMS
Item #62 (prohibition of critical loads in ERS and LR): timing updated from “Outside the Stakeholder Purview” to “Near Term Stakeholder Items”; NPRR1087 is currently being reviewed; this item also incorporates item 97, which involved examining conflicting risks on ERS loads
Item #64 (critical infrastructure hardening): this is a DSWG item but timing has been updated to reflect that discussion is awaiting commission direction
Item #67 (DAM design for AS pricing, ASDC in DAM): Timing updated from “Outside Stakeholder Purview” to “Near Term Stakeholder Item”; NPRR1080 addressed AS caps while review of ASDC in DAM remains open for discussion

## Slide 5: STATUS UPDATES
WMS, Cont.
Item #71 (EEA3 fuel cost make whole payments): timing updated from “Awaiting Legislative Direction) to “Near Term Stakeholder Item”, owner updated to WMS, and comment added indicating NPRR1086 partially addressed this item
Item #69 (monthly default uplift cap): timing updated from “Awaiting Legislative Direction” to “Near Term Stakeholder Items”; discussion is ongoing at MCWG
Item #80 (performance of resource adequacy incentives; evaluate alternative market designs): status updated from “Not Started” to “Awaiting Commission Direction”

## Slide 6: STATUS UPDATES
WMS, Cont.
Item #112 (peaker net margin methodology changes): discussion of this item is on hold pending commission direction
Several other WMS list items have been updated to reflect ongoing progress (see Appendix)

## Slide 7: STATUS UPDATES
Joint ROS/WMS Items
Item #44 (Review AS suite products and amount): performance has been discussed at PDCWG and WMWG, but timing and status have been updated to reflect Awaiting Commission Direction
Item #49 (Review EEA rules and potential changes): status has been updated to “In Progress” with discussions at OWG, PLWG, WMWG
Several other ROS/WMS list items have been updated to reflect ongoing progress (see Appendix)

## Slide 8: ASSIGNMENT UPDATES
Several list items have been updated to reflect the correct ROS, WMS, or joint ownership
Lead contacts have been assigned for SAWG item #61
(See appendix for details)

## Slide 9: COMPLETED ITEMS
Several items that have been addressed by the working groups and/or an NPRR are being proposed for close out; one item is a duplicate that that has been incorporated into another
With TAC’s approval, we will update the status of the following items as “Complete”
Item | Item Description | Findings
68 | Should LCAP be capped at $9K? | NPRR1086, aligning the protocols with the PUCT order in project 51871, received PUC approval on 8/19/2021
97 | Are there conflicting risks on any ERS loads? Discuss conflicts and provide details to WMS. | This item was combined with item 62 and is a duplicate
103 | Quantify T vs D connected ERS load and examine self curtailment | Results of this analysis was completed and presented at August 4th WMS meeting
104 | Would increased ERS resources have helped? | DSWG consensus that more response, including ERS and generation resources, would have helped
120 | How batteries qualify for AS and impact of duration limits | AS qualification and charging requirements were defined by the set of 9 NPRRs developed in the BEST Force

## Slide 10
QUESTIONS?

## Slide 11: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
41 | ROS/WMS | Comments | Added WMS note “Review complete; per protocol methodology, future winter DC tie capacity contribution will use Uri DC tie performance as a basis”
44 | ROS/WMS | Timing, Status | Updated status to “Awaiting Commission Direction” Updated status to “Awaiting Commission Direction”
45 | ROS | Status | Updated to “In Progress”
48 | ROS/WMS | Comments | Added WMS note “ERCOT has established a lessons learned list; NPRR1090 submitted; DSWG Review is ongoing”
49 | ROS/WMS | Status | Updated to “In Progress”
50 | ROS/WMS | Comments | Added WMS note” Have reviewed DR performance during Uri for REP and NOIE areas; education session on LR providing RRS planned for future DSWG meeting; NPRR1087”
61 | WMS | Status, Comments | Updated status to “In Progress” Added WMS Notes “Caitlin Smith, Lori Simpson assigned as leads”
62 | WMS | Description, Timing, Owner, Status, Comments | Modified description to include item 97 description Updated timing from “Outside Stakeholder Purview” to “Near-Term Stakeholder Items” Updated owner to “WMS” Updated status to “In Progress” Added WMS note “NPRR1087 has been submitted to address this item; review is ongoing”

## Slide 12: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
64 | WMS | Timing, Owner, Comments | Updated timing from “Awaiting Legislative Direction” to “Awaiting Commission Direction” Updated owner to “WMS” Added WMS note “DSWG is awaiting commission direction before addressing”
67 | WMS | Status, Comments | Updated status to “In Progress” Added WMS note “NPRR1080 addressed AS capping; review of ASDC in DAM remains open”
68 | WMS | Owner, Status, Comments | Updated owner to “WMS” Updated status to “Complete” Added WMS note “NPRR1086 addressing this item received PUC approval 8/19/2021”
69 | WMS | Timing, Owner, Status | Updated timing from “Awaiting Legislative Direction” to “Near-Term Stakeholder Items” Updated owner to “WMS” Updated status to “In Progress”
71 | WMS | Timing, Owner, Status, Comments | Updated timing from “Awaiting Legislative Direction” to “Near-Term Stakeholder Items” Updated owner to “WMS” Updated Status to “In Progress” Added WMS comment “NPRR1086 partially addressed”
80 | WMS | Status | Updated status from “Not Started” to “Awaiting Commission Direction”
86 | ROS/WMS | Comments | Added ROS comment “Joint OWG/CMWG discussions at 6/14, 7/19, 8/16 CMWG meetings”
87 | WMS | Comments | Added WMS note “Ongoing work for Winter SARA”

## Slide 13: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
88 | WMS | Comments | Added WMS note “Work is ongoing for Summer 2021 probabilistic model”
93 | ROS/WMS | Comments | Added WMS note “Planning for joint SAWG/PLWG meeting”
94 | ROS/WMS | Comments | Added WMS note “Planning for joint SAWG/PLWG meeting”
96 | WMS | Comments | Added WMS note “DSWG has completed DR performance review; AS items to be worked with WMWG (Mike Hourihan, Holly O'Neill leads for DSWG)”
97 | WMS | Description, Status | Modified description to indicate this was combined with item 62 Marked as complete
98 | WMS | Status, Comments | Updated status to “In Progress” Added WMS note “SODG RFI summary provided by ERCOT; DGR will be a future topic with completion targeted for Q1-2022”
100 | ROS/WMS | Comments | Added ROS note “No ESR bid for FFR during time of Feb 14/15 winter event” Added WMS note “WMWG to determine if any additional review is needed”
103 | WMS | Status, Comments | Updated status to “Complete” Added WMS note “ERCOT findings presented at August 4th WMS meeting”
104 | WMS | Status, Comments | Updated status to “Complete” Added WMS note “DSWG generally believes more response, including ERS, as well as more generation, would have helped; Any additional data/findings will be reported to WMS”

## Slide 14: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
112 | WMS | Timing, Status, Comments | Updated timing from “Outside Stakeholder Purview” to “Awaiting Commission Direction” Updated status to “Awaiting Commission Direction” Added WMS comment “WMS will assign this upon receiving commission direction”
118 | RMS/WMS | Timing, Owner, Comments | Updated timing from “Outside Stakeholder Purview” to “Near-Term Stakeholder Items” Updated Owner to RMS/WMS Added WMS note “NPRR1073 received board approval 8/13/2021 and partially addresses this item”
120 | ROS | Timing, Owner, Status, Comments | Updated timing to “Near-Term Stakeholder Items” Added ROS as owner Updated status to “Complete” Added ROS note “ESR qualifications for AS and duration/charging requirements were defined by a set of 9 NPRRs that stakeholders developed in the Battery Energy Storage Task Force”
121 | ROS | Owner | Added ROS as owner
122 | ROS | Timing, Owner, Status | Updated timing to “Long-Term Stakeholder Items” Added ROS as owner Updated status to “In Progress”