## Slide 1: Wholesale Market Working Group Report to WMS
David Detelich
Murali Sithuraj
September 1, 2021
From August 20 WMWG Meeting

## Slide 2: 2022 ERCOT Ancillary Service Methodology
ERCOT presented the AS quantities for 2022 using the current methodology
  The quantities presented did not include the additional A/S to get the 6,500 of reserves
  ERCOT is assessing if additional RRS quantities are needed during peak hours to help respond to larger frequency events
  ERCOT is considering if intra-day forced outage rate may need to be incorporated into the calculation for Non-Spin quantities
  ERCOT is assessing if the Net Load Forecast Error used in the methodology may need to be based upon a look-ahead time point earlier than 3 hours ahead.
  ERCOT is seeking feedback and will present the proposed methodology at next month’s WMWG and PDCWG meetings.
Some comments and questions posed:
  Question on using additional responsive reserve instead of non-spin
  Question on the reliability drivers and the relationship of the A/S quantities to the reliability risk
  The additional 1,000 MW of NSRS will be for targeted hours only beginning September 1st, 2021 through December 31, 2021
  Request for clarification on the rules concerning the approved methodology

## Slide 3: Review of Forecast Variability
ERCOT presented on the Performance of Net Load Forecast Variability Assessment
  At the time of the meeting, six days were identified as high risk for net load variability
  ERCOT increased Non-Spin requirements further by 1000 MW on Jul 29, Aug 1, Aug 2 and Aug 14
  ERCOT reviewed the drivers for Net Load Variability from three days out to actual for the six days
The assessment is based on the 3 day ahead forecast
Once the additional NSRS amount is posted, it will not be rescinded if conditions change
One day out of the six had a higher net load than forecast

## Slide 4: Alternative methods for incentivizing resource self-commitment
NPRR 1092 Remove RUC Offer Floor was presented
  Initial feedback included request to wait for the PUC to complete its ORDC reforms and to remove the RUC buyback option in tandem
  The IMM feels the high offer floor is an inefficiency that should be addressed as soon as possible
The market is based on the self commitment of resources
  How to incentivize the self commitment was discussed
  The ORDC curve starts at 5,000MW but ERCOT wants 6,500 MW of available reserves
  Will RUC still be needed in addition to 6500MW of reserve?
  Can we set parameters for RUC use

## Slide 5: NPRR1077 Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs
ERCOT presented 08162021 comments on the NPRR that were a result of feedback from the workshop
  A threshold based on the amount of export (10MWH per year) that occurs from a site with load and an SODG will be used to exempt sites from the requirement
  The proposed exemption will exempt 60 of the SODG units and capture 90% of total nameplate capacity
  The idea is if an SODG is exporting for the purpose of getting paid, they should provide the telemetry required by this NPRR
Comments were:
  The threshold is too low
  The benefit may not justify the cost
  The threshold is not expected to change as the installations increase
No further review by WMWG required

## Slide 6: NPRR1084 Improvements to Reporting of Resource Outages and Derates
WMWG understands that an SCR will be issued by ERCOT for allowing updates to outages
WMWG will review the NPRR and SCR together

## Slide 7: Follow up on energy pricing impacts of the minimum quantities of Responsive Reserve Service and Non-Spinning Reserve Service
ERCOT presented analysis on the ancillary service prices and cost
  This was additional analysis to what was presented at TAC
  Impacts to energy prices were not analyzed
  Suggestions for further analysis can be sent to Dave Maggio
The IMM is still reviewing the data
The amount of offers did increase in August

## Slide 8: Emergency Issues List Items
Follow up on concerns raised for NPRR1080 - work ongoing
Issue 100 How did batteries providing FFR perform? Were FFR providers allowed to charge and if not, what penalties did they get charged: No ESR bid for FFR during time of Feb 14/15 winter event
  This issue can be closed

## Slide 9: Next meeting
September 22
Any questions?