## Slide 1: Congestion Management Working Group
September 1, 2021

## Slide 2: TAC Emergency Conditions Item No. 51/86
Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
The remaining item to be discussed is how to clarify ERCOT’s procedures on the process:
  Reducing from double circuit to single circuit
  Use of a 15-minute emergency rating

## Slide 3: OBDRR 026, Change Shadow Price Caps to Curves and Remove Shift Factor Threshold
This item will be taken up in September
ERCOT provided a presentation on the August CMWG meeting page

## Slide 4: Improving Efficient Control of GTCs
ERCOT introduced the Not-to-Exceed (NTE) method
Under this concept, Intermittent Renewable Resources (IRRs) behind a binding GTC with a considerable impact should not exceed their SCED basepoint when the NTE is activated
Some of the benefits ERCOT stated include:
  ERCOT should be able to bind at a higher limit, resulting in more MW production from IRRs behind IROL when binding
  Keeps ERCOT from exceeding SOLs and IROLs
  More efficient way of meeting reliability requirements
Next month we will review draft protocol and SCR language

## Slide 5: Congestion at the Cap
During the February event, there were units that offered at the cap that were not able to be dispatched due to congestion.
ERCOT conducted an analysis and scenario to see how SCED would react.
The result summary showed that:
  SCED will solve under the scenario
  Transmission Constraint violations would be reduced
  Most Resources would have lower Base Points
As a follow-up, ERCOT will come back with a scenario of the distribution of shift factors associated with the 7000 MW not dispatched as well as the impact of a higher Power Balance Penalty Curve (PBPC).

## Slide 6: Next Meeting: September 20
Item No. 86 - Review constraint management process during EEA3: How much generation was curtailed for congestion including GTCs during EEA3?
OBDRR 026
Improving Efficient Control of IRRs to Manage GTCs
Congestion at the Cap

## Slide 7: Questions?