## Slide 1
Impacts of Change in Ancillary Service Procurement and RUC Activity –
June and July ’21
David Maggio
TAC
August 31, 2021

## Slide 2: Reliability Unit Commitment (RUC) Activity

## Slide 3: Monthly RUC Effective Resource-Hours, 2017-2021

## Slide 4: Daily RUC Effective Resource-Hours, June-July 2021
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 5: Monthly RUC Settlements Summary, 2017-2021
Effectively, all Make-Whole was covered by Capacity Short Charges

## Slide 6: Ancillary Service Procurement

## Slide 7: Change in Ancillary Service Plan Amounts for July: Non-Spinning Reserve (Non-Spin)
Chart: Hour
July 1-11 | 1110 | 1110 | 1245 | 1245 | 1245 | 1245 | 1577 | 1577 | 1577 | 1577 | 1599 | 1599 | 1599 | 1599 | 1406 | 1406 | 1406 | 1406 | 1276 | 1276 | 1276 | 1276 | 1110 | 1110
July 12-31 | 2725 | 2766 | 2544 | 2511 | 2467 | 2386 | 2099 | 2084 | 2032 | 1944 | 2029 | 2032 | 2110 | 2154 | 1922 | 1976 | 1999 | 2005 | 2185 | 2225 | 2208 | 2276 | 2703 | 2812
The quantities for July 12 to July 31 shown here are only for non-high forecast variability days.

## Slide 8: Change in Ancillary Service Plan Amounts for July: Responsive Reserve Service (RRS)
Chart: Hour
July 1-11 | 2469 | 2469 | 2566 | 2566 | 2566 | 2566 | 2469 | 2469 | 2469 | 2469 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2469 | 2469
July 12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 0 | 0
Lighter color reflects the incremental change for the latter part of the month

## Slide 9: RRS and Non-Spin Offer Volume
RRS and On-Line Non-Spin offers were treated independently for this analysis, although these offer may be linked.
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 10: Average Daily Day-Ahead Market (DAM) Market Clearing Prices for Capacity (MCPCs) for July
Monthly Average DAM MCPCs ($/MWh) |  |  |  | 
 | July-20 | Jun-21 | July 1-11, 2021 | July 12-31, 2021
Reg-Up | 9.52 | 25.24 | 10.55 | 22.78
Reg-Down | 5.11 | 9.18 | 4.62 | 6.08
RRS | 9.80 | 30.86 | 12.15 | 22.89
Non-Spin | 4.27 | 16.97 | 2.00 | 24.56
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 11: Hourly DAM MCPCs for July
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 12: Total DAM Ancillary Service Costs for July
Monthly Total DAM Ancillary Service Costs ($ Million) |  |  |  | 
 | Jul-20 | Jun-21 | July 1-11, 2021 | July 12-31, 2021
Reg-Up | 2.2 | 5.9 | 0.8 | 3.2
Reg-Down | 1.4 | 2.4 | 0.4 | 0.9
RRS | 10.2 | 33.2 | 4.6 | 19.1
Non-Spin | 3.9 | 19.7 | 0.7 | 39.4
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 13: Data Looking at the Real-Time Market

## Slide 14: Daily Average Non-Spin Responsibility
Load Resource Non-Spin Responsibility was zero for the duration of the time period shown in this graph.
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.
Along with overall increase in Non-Spin Responsibility, the number of Resources with a non-zero Non-Spin Responsibility in also increasing.
On-Line
Off-Line
Load

## Slide 15: Daily Distribution of Capacity Available in Real-Time – High Dispatch Limit (HDL) minus Base Point
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 16: Daily Distribution of Capacity Available in Real-Time – High Ancillary Service Limit (HASL) minus Base Point
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 17: Daily Average RRS Responsibility
Fast Frequency Response (RFR) Responsibility was zero for the duration of the time period shown in this graph.
Dashed line indicates when changes in Ancillary Service procurement amounts took effect.

## Slide 18: Physical Responsive Capability (PRC) vs. Net Load
Net load is calculated as Generation-to-be-Dispatched (GTBD) minus base points from Intermittent Renewable Resources (IRRs).
Chart: Net Load (MW)

## Slide 19: Real-Time On-Line Reserve Capacity (RTOLCAP) vs. Net Load
Net load is calculated as Generation-to-be-Dispatched (GTBD) minus base points from Intermittent Renewable Resources (IRRs).
Chart: Net Load (MW)

## Slide 20: Real-Time Off-Line Reserve Capacity (RTOFFCAP) vs. Net Load
Net load is calculated as Generation-to-be-Dispatched (GTBD) minus base points from Intermittent Renewable Resources (IRRs).
Chart: Net Load (MW)

## Slide 21: Comparison of Price Adders by Month
Chart: Real-Time On-Line Reserve Price Adder (RTORPA)
| Jun-20 | Jul-20 | Mar-21 | Apr-21 | May-21 | Jun-21 | Jul-21
>= $1/MWh | 89 | 533 | 30 | 317 | 77 | 323 | 281
>= $10/MWh | 10 | 210 | 1 | 136 | 22 | 197 | 109
>= $25/MWh | 4 | 116 | 0 | 88 | 14 | 147 | 48
Chart: Real-Time Off-Line Reserve Price Adder (RTOFFPA)
| Jun-20 | Jul-20 | Mar-21 | Apr-21 | May-21 | Jun-21 | Jul-21
>= $1/MWh | 19 | 416 | 15 | 265 | 48 | 293 | 257
>= $10/MWh | 1 | 169 | 0 | 126 | 12 | 188 | 90
>= $25/MWh | 0 | 81 | 0 | 80 | 4 | 137 | 15
Chart: Real-Time On-Line Reliability Deployment Price Adder (RTORDPA)
| Jun-20 | Jul-20 | Mar-21 | Apr-21 | May-21 | Jun-21 | Jul-21
>= $1/MWh | 0 | 12 | 11 | 24 | 0 | 370 | 1047
>= $10/MWh | 0 | 2 | 0 | 0 | 0 | 54 | 205
>= $25/MWh | 0 | 0 | 0 | 0 | 0 | 21 | 105