- Section 1:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

This Nodal Protocol Revision Request (NPRR) accomplishes objectives of the Resource Definition Task Force (RTF) undertaken at the direction of the Protocol Revision Subcommittee (PRS).  Specifically, this NPRR provides a definition for the term Settlement Only Energy Storage System (SOESS) and further defines them as transmission-connected or distribution-connected; relocates the definition for Settlement Only Generator (SOG) from underneath Resource to stand alone as its own unrelated term; and incorporates the relevant SOESS terms into the Market Information System (MIS) reporting created for SOGs via NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs).

Revised Subsections:  1.2, 1.3.1.1, and 1.6.5 [effective upon system implementation]

- Section 2:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  2.1 [effective upon system implementation] and 2.2

NPRR1005 – Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

This Nodal Protocol Revision Request (NPRR): revises the definition of Point of Interconnection (POI) to refer to any physical location where a Generation Entity’s Facilities connect to a Transmission Service Provider’s (TSP’s) Facilities, and removes references to Load interconnections, since the only relevant Load connection points are those associated with the Generation Entity’s generators, which are included in the term “Generation Entity’s Facilities”; introduces the term “Point of Interconnection Bus (POIB)” to refer to the Electrical Bus in the substation that is closest to the Generation Resource’s POI, or any electrically equivalent Electrical Bus in that substation, for each TSP-owned substation to which the Generation Resource interconnects; changes POI to POIB throughout the Protocols in appropriate cases based on the above clarifications; removes the reference to POI in Section 2.1, Definitions, in the definition of Aggregate Generation Resource because having a common Generator Step-Up (GSU) transformer would aggregate output before the POI, and the generators’ separate outputs do not have separate POIs; clarifies Section 10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters, to specify that, at a given Generation Resource Facility, generation and associated Load must either be physically metered at each POI or Service Delivery Point, or loss-compensated to the applicable POI in accordance with Section 10.3.2.2, Loss Compensation of EPS Meter Data; adds NPRR917, Nodal Pricing for Settlement Only Distribution Generators (SODGs) and Settlement Only Transmission Generators (SOTGs), greyboxed language to Section 10.3.2.3 and removes the greybox, as there is no system implementation required for language in Section 10.3.2.3; and removes incorrect usage of POI from Section 23, Form K, Wide Area Network (WAN) Agreement.

Revised Subsections:  2.1 [effective upon system implementation] and 2.2

- Section 3:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  3.1.6.9, 3.7, 3.8.7, 3.10.1, 3.10.6, 3.10.7.2, and 3.14.4.1 [effective upon system implementation]

NPRR1005 – Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

See Section 2 above.

Revised Subsections:  3.2.6.2.2, 3.10.3.1, 3.10.7.2, 3.10.7.3, 3.10.7.5.2, 3.15, 3.15.1, and 3.15.2 [effective upon system implementation]

NPRR1063 – Dynamic Rating Transparency

This Nodal Protocol Revision Request (NPRR) requires ERCOT to post information related to Dynamic Rating approvals to the Market Information System (MIS) Secure Area.

Revised Subsection:  3.10.8.4 [effective upon system implementation]

NPRR1079 – Day-Ahead Market RRS / ECRS 48-Hour Report Clarification

This Nodal Protocol Revision Request (NPRR) splits ERCOT Contingency Reserve Service (ECRS) and Fast Frequency Reserve (FFR) project language from the 48-hour Day-Ahead Market (DAM) report requirements.

Revised Subsection:  3.2.5 [effective upon system implementation of NPRR863, Creation of ERCOT Contingency Reserve Service and Revisions to Responsive Reserve]

- Section 6:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  6.3.2, 6.5.5.2, 6.5.9.4.2, 6.6.3.2, 6.6.3.9, and 6.6.10 [effective upon system implementation]

NPRR1005 – Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

See Section 2 above.

Revised Subsection:  6.5.7.7 [effective upon system implementation]

- Section 8:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  8.1.1.4.2, 8.5.1.1, 8.5.1.2, 8.5.2, and 8.5.2.1 [effective upon system implementation]

- Section 9:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  9.5.3, 9.17.1, and 9.19.1 [effective upon system implementation]

- Section 10:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  10.1, 10.2.3, 10.2.3.1, 10.2.4, 10.2.4.1, 10.3.2.3, and 10.9.1 [effective upon system implementation]

NPRR1005 – Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

See Section 2 above.

Revised Subsection:  10.3.2.3 [effective upon system implementation]

- Section 11:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsection:  11.1.6 [effective upon system implementation]

- Section 16:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Subsections:  16.5, 16.5.1.2, and 16.11.4.3.2 [effective upon system implementation]

NPRR1073 – Market Entry/Participation by Principals of Counter-Parties with Financial Obligations

This Nodal Protocol Revision Request (NPRR) modifies ERCOT’s market entry qualification and continued participation requirements for ERCOT Counter-Parties i.e., Qualified Scheduling Entities (QSEs) and Congestion Revenue Right (CRR) Account Holders and modifies application forms for QSEs and CRR Account Holders.  This NPRR defines Principals of a Market Participant and provides that a QSE/CRR Account Holder applicant or existing QSE/CRR Account Holder must be able to demonstrate to ERCOT’s reasonable satisfaction that its Principals were/are not Principals of a terminated Market Participant with money remaining owed to ERCOT.  This NPRR also modifies the QSE/CRR Account Holder applicant form to require disclosure of the Principals of the QSE/CRR Account Holder applicant.

Revised Subsections:  16.1.2 (new), 16.2.1, 16.2.2, 16.2.2.2, 16.2.2.3, 16.2.3.2, 16.8.1, 16.8.2, 16.8.2.2, 16.8.2.3, and 16.8.3.1 [effective upon staffing completion]

- Section 22:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Attachment:  L [effective upon system implementation]

- Section 23:

NPRR995 – RTF-6 Create Definition and Terms for Settlement Only Energy Storage

See Section 1 above.

Revised Form:  I [effective upon system implementation]

NPRR1005 – Clarify Definition of Point of Interconnection (POI) and Add Definition Point of Interconnection Bus (POIB)

See Section 2 above.

Revised Form:  K [effective upon system implementation]

NPRR1073 – Market Entry/Participation by Principals of Counter-Parties with Financial Obligations

See Section 16 above.

Revised Forms:  A and G [effective upon staffing completion]