## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
August 05, 2021

## Slide 2: ROS Voting Items
NPRR 1056 - Market Impact Generic Transmission Constraint (GTC) Notification
  Comments have been filed related to need to retain the integrity of ECEII.
  Sponsor to bring update to next PLWG Meeting
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  Consensus to remain tabled at PLWG
  Reviewed APA comments filed on 7/23/2021
  Next steps
    Rule making at PUCT for economic project assessments

## Slide 3: TAC Emergency Conditions List DC Tie Performance (#41, 106)
Key takeaways
  DC Ties were operational during the event
    Did not export during the event
  Requests for imports into ERCOT due to emergency conditions
    Declined due to conditions in the other regions
Planning Study Assumptions for DC ties
  Current Planning Guide
    Section 4.1.1.1 (6) – Assume DC Tie imports and exports will be curtailed as necessary to meet reliability criteria in planning studies.
    Section 4.1.1.2 (1) (e) requires no consequential load loss following unavailability of DC Tie followed by a common tower outage or single contingency.
  Regional Transmission Plan Study Scope presented by ERCOT to the Regional Planning Group sets the assumptions for DC Tie contributions in the RTP study cases.
    3.2.4 DC Ties - All existing DC ties will be set based on a review of historical DC tie import/export information and any changes in the capacity of the DC ties.
    Assumptions for 2021 Regional Transmission Plan are available at: http://www.ercot.com/content/wcm/key_documents_lists/213851/2021RTP_AssumptionsUpdate_04062021.pdf
Recommendations:
  Update specific study scope documents to include specific assumptions for DC tie contributions
  Study scenarios should include scenarios with zero DC tie contributions
  No Planning Guide revisions are recommended.

## Slide 4: TAC Emergency Conditions List Transmission Planning Studies and Winter Cases (#47, 93, 94)
Subgroup reported on meeting outcomes
  Presentation available at PLWG August meeting site
  Reported brainstorm list of extreme event case/scenario development
Planning Joint Meeting with SAWG in September
Need for Planning Guide Revisions Under Review

## Slide 5: Draft PGRR – P6 Overlapping Single Contingencies
LCRA TSC Presented update to Draft PGRR
Discussion points:
  Version incorporated input received from ERCOT and others
  Impact to ERCOT RTP analysis.
  Sponsor will continue to coordinate with stakeholders.

## Slide 6: Questions?