## Slide 1: DWG Report to ROS
Sam Jung – DWG Chair
September 2nd, 2021

## Slide 2: DWG Update
DWG WebEx meeting held on 8/13/2021
MOD-026/027 Quarterly Update
DWG will continue to meet remotely

## Slide 3: MOD-026/027 Quarterly Update
Per Planning Guide and DWG Procedure Manual, a Resource Entity shall submit new or updated dynamic data within 30 days of the update
Per NERC MOD-26/27, Generator Owners need to verify the models and data and provide the data to its Transmission Planner
With support from TSPs, ERCOT tracks the MOD-026/27 verifications/updates and the corresponding RARF updates
For 2021 Q2, 13 model updates were made by RE’s
4 models were submitted to RARF/RIOO and accepted
1 model was submitted but rejected