## Slide 1
Emergency Condition List #122:
Load Shed Tables
September 14th, 2021

## Slide 2: Seasonal Load Ratio Shares (%)
LOAD SHARE RATIO (%) |  |  |  | 
Total Load = | 30151 MW | 32272 MW | 74354 MW | 51905 MW
Transmission Operator | Off Peak |  | Peak | Typical Winter Peak
 | 11/6/2020 3:00 | 4/2/2021 5:00 | 8/13/2020 16:45 | 12/16/2020 8:00
AEP Texas Central Company | 8.84 | 8.2 | 8.28 | 8.18
Brazos Electric Power Cooperative Inc. | 3.75 | 4.13 | 5.15 | 5.14
Brownsville Public Utilities Board | 0.27 | 0.24 | 0.36 | 0.25
Bryan Texas Utilities | 0.52 | 0.53 | 0.51 | 0.53
CenterPoint Energy Houston Electric LLC | 26.9 | 26.11 | 24.94 | 22.88
City of Austin dba Austin Energy | 3.69 | 3.37 | 3.57 | 3.49
City of College Station | 0.2 | 0.17 | 0.29 | 0.2
City of Garland | 0.57 | 0.6 | 0.77 | 0.72
CPS Energy | 5.65 | 5.27 | 6.52 | 6.43
Denton Municipal Electric | 0.4 | 0.37 | 0.49 | 0.41
GEUS | 0.13 | 0.14 | 0.15 | 0.14
Lamar County Electric Cooperative Inc. dba LEC | 0.06 | 0.08 | 0.07 | 0.1
LCRA Transmission Services Corporation | 4.93 | 5.03 | 6.07 | 6.84
Oncor Electric Delivery Company LLC | 36.94 | 38.23 | 36.38 | 37.88
Rayburn Country Cooperative Inc. | 0.78 | 1.15 | 1.39 | 1.51
South Texas Electric Cooperative Inc. | 2.95 | 2.9 | 2.39 | 2.61
Texas-New Mexico Power Company | 3.42 | 3.48 | 2.67 | 2.69
Total = | 100.00 | 100.00 | 100.00 | 100.00

## Slide 3: Seasonal Load Ratio Shares (%) Continued
Transmission Operator | Variation | Min. | Max. | Min. At | Max. At
CenterPoint Energy Houston Electric LLC | 4.02 | 22.88 | 26.9 | Winter Peak | Off Peak
LCRA Transmission Services Corporation | 1.91 | 4.93 | 6.84 | Off Peak | Winter Peak
Oncor Electric Delivery Company LLC | 1.85 | 36.38 | 38.23 | Summer Peak | Off Peak
Brazos Electric Power Cooperative Inc. | 1.4 | 3.75 | 5.15 | Off Peak | Summer Peak
CPS Energy | 1.25 | 5.27 | 6.52 | Off Peak | Summer Peak
Texas-New Mexico Power Company | 0.81 | 2.67 | 3.48 | Summer Peak | Off Peak
Rayburn Country Cooperative Inc. | 0.73 | 0.78 | 1.51 | Off Peak | Winter Peak
AEP Texas Central Company | 0.66 | 8.18 | 8.84 | Winter Peak | Off Peak
South Texas Electric Cooperative Inc. | 0.56 | 2.39 | 2.95 | Summer Peak | Off Peak
City of Austin dba Austin Energy | 0.32 | 3.37 | 3.69 | Off Peak | Off Peak
City of Garland | 0.2 | 0.57 | 0.77 | Off Peak | Summer Peak
Brownsville Public Utilities Board | 0.12 | 0.24 | 0.36 | Off Peak | Summer Peak
Denton Municipal Electric | 0.12 | 0.37 | 0.49 | Off Peak | Summer Peak
City of College Station | 0.12 | 0.17 | 0.29 | Off Peak | Summer Peak
Lamar County Electric Cooperative Inc. dba LEC | 0.04 | 0.06 | 0.1 | Off Peak | Winter Peak
Bryan Texas Utilities | 0.02 | 0.51 | 0.53 | Summer Peak | Off Peak
GEUS | 0.02 | 0.13 | 0.15 | Off Peak | Summer Peak
Table is sorted by the variation.