## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for August 2021

## Slide 2: Non-IRR GREDP < 85% – August 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 347 | 5 | 55 | 0.80 | 9.09

## Slide 3: IRR Summary – August 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.42 | 76.45 | 82.69
GREDP Median (%) | 94.35 | 85.36 | 86.99
Average MW Error | 4.78 | 5.48 | 6.65
Median MW Error | 3.96 | 4.41 | 5.66
Total Intervals Scored | 26,613 | 12,176 | 10,741
100+ Intervals Scored | 53 | 225 | 25
Total Intervals Scored Average | 94.71 | 190.25 | 429.64

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,189 | 1,226 | 3.31 | 96.98
Unit 3 | 1,169 | 1,200 | 10.01 | 97.42
Unit 4 | 1,104 | 1,105 | 4.04 | 99.91
Unit 6 | 1,065 | 1,097 | 2.88 | 97.08
Unit 7 | 1,038 | 1,047 | 2.96 | 99.14
Unit 9 | 902 | 902 | 4.15 | 100.00
Unit 10 | 732 | 732 | 4.30 | 100.00
Unit 11 | 701 | 731 | 2.80 | 95.90
Unit 15 | 658 | 661 | 5.87 | 99.55
Unit 16 | 568 | 597 | 4.32 | 95.14
Unit 17 | 567 | 582 | 4.01 | 97.42
Unit 18 | 533 | 537 | 3.21 | 99.26
Unit 24 | 295 | 298 | 5.50 | 98.99
Unit 26 | 292 | 294 | 1.90 | 99.32
Unit 28 | 289 | 290 | 2.50 | 99.66
Unit 29 | 276 | 289 | 1.03 | 95.50
Unit 30 | 277 | 287 | 3.74 | 96.52
Unit 31 | 286 | 287 | 7.63 | 99.65

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – August 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 217 | 224 | 2.46 | 96.88
Unit 35 | 222 | 222 | 5.06 | 100.00
Unit 39 | 182 | 182 | 3.19 | 100.00
Unit 40 | 168 | 176 | 3.61 | 95.45
Unit 42 | 165 | 169 | 1.12 | 97.63
Unit 44 | 163 | 163 | 4.73 | 100.00
Unit 45 | 144 | 144 | 3.19 | 100.00
Unit 47 | 126 | 127 | 2.57 | 99.21
Unit 50 | 106 | 109 | 1.34 | 97.25
Unit 52 | 102 | 105 | 2.76 | 97.14

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – August 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,629 | 1,790 | 4.79 | 91.01
Unit 5 | 1,047 | 1,105 | 22.84 | 94.75
Unit 8 | 495 | 913 | 3.81 | 54.22
Unit 12 | 675 | 722 | 9.27 | 93.49
Unit 13 | 363 | 679 | 8.30 | 53.46
Unit 14 | 608 | 665 | 2.25 | 91.43
Unit 19 | 472 | 519 | 1.94 | 90.94
Unit 20 | 395 | 499 | 4.48 | 79.16
Unit 21 | 321 | 480 | 5.86 | 66.88
Unit 22 | 388 | 419 | 11.65 | 92.60
Unit 23 | 264 | 310 | 3.50 | 85.16
Unit 25 | 259 | 298 | 13.41 | 86.91
Unit 27 | 254 | 292 | 5.66 | 86.99
Unit 32 | 263 | 284 | 7.95 | 92.61
Unit 33 | 150 | 259 | 2.02 | 57.92
Unit 36 | 187 | 203 | 4.57 | 92.12
Unit 37 | 165 | 197 | 7.54 | 83.76
Unit 38 | 148 | 195 | 3.73 | 75.90

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – August 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 41 | 153 | 171 | 11.84 | 89.47
Unit 43 | 148 | 166 | 7.50 | 89.16
Unit 46 | 125 | 142 | 3.55 | 88.03
Unit 48 | 97 | 113 | 9.52 | 85.84
Unit 49 | 77 | 111 | 7.18 | 69.37
Unit 51 | 95 | 106 | 1.52 | 89.62
Unit 53 | 89 | 103 | 1.65 | 86.41