## Slide 1
Remaining Battery Energy Storage Task Force (BESTF) Key Topic Concepts (KTCs) Assigned to WMS/WMWG
ERCOT
9-22-21 WMWG Webex

## Slide 2: Outline
KTCs assigned by TAC to WMS/WMWG
2 of 3 KTCs ready for WMWG
KTC 15-3
KTC 15-4
Appendix (Slides from OWG presentation to ROS on 9-2-21)

## Slide 3: 3 KTCs Assigned by TAC to WMS/WMWG
KTC 15-6 Reliability Must-Run (RMR) and Must-Run Alternative (MRA) Services
The protocols are silent on the possibility of an ESR or several ESRs providing MRA service. It does not exclude them and since it specifies GRs, CLRs and distributed resources could all ultimately provide MRA ---- what are the details and limitations that need to be added to the protocols in order to address the limited duration and no start up cost for a battery? What are the market and reliability concerns that need to be answered? Note that the MRA RFP from the summer of 2016 did not exclude batteries but there may need to be software changes required by ERCOT in order to handle a fleet of batteries on the distribution system.
Assigned to WMS by TAC on 4-28-21
Assigned to WMWG by WMS on 5-5-21 (***Consider after ROS concludes their review)
3
KTC 15-3 Switchable Resources
The protocols do not address the possibility of a Switchable Resource being an ESR. Is it possible from a market and reliability perspective that a Switchable Resource could be an ESR? What are the special operational and market issues associated with a limited duration resource, with no start up costs? Does a Switchable Resource that is a battery that withdraws from ERCOT and subsequently injects into SPP create any FERC issues? (Need ERCOT Legal to help.) Is there a limit on how many of these Resources can be reasonably "handled" by the ERCOT Operators?
KTC 15-4 Provisions Associated with Delayed Outages
NPRR 930 "Process, Pricing, and Cost Recovery for Delayed Resource Outages" was partially implemented on 7-1-20. What issues must be addressed to appropriately address issues unique to batteries (limited duration resources)?

## Slide 4: KTC 15-3 Switchable Resources
Are there any market issues with changing Switchable Generation Resource (SWGR) to Switchable Resource (SWR)? [Technology neutral]
Are there concerns that a switchable ESR would subject ERCOT to FERC's plenary jurisdiction? What would need to be done to ensure there is no issue?
Is a switchable ESR eligible for Wholesale Storge Load treatment? [Gen Accumulator Concept … similar to NPRR995]
Any market issues with an ESR withdrawing from ERCOT and (later) injecting to a non-ERCOT Control Area (for example SPP)?
Any market issues with an ESR withdrawing from a non-ERCOT Control Area (for example SPP) and (later) injecting to ERCOT?
Can a switchable ESR be RUCed or instructed to leave SPP (for example) and inject into ERCOT? [Settlement Issues?]
What adjustments to settlement equations are needed (if any)?
4

## Slide 5: KTC 15-4 Provisions Associated with Delayed Outages
  1) What (if any) market issues need to be addressed with Delayed Outages for ESRs?
5

## Slide 6: Proposed Next Steps
  ERCOT gathers feedback from today’s webex (and any feedback sent to WMWG exploder or Kenneth.Ragsdale@ERCOT.com by 9-30-21).
  ERCOT prepares draft document to address the sub-topics and posts the document prior to 10-25-21 WMWG webex. [Date subject to change. May be later.]
  Step through document at 10-25-21 WMWG. “Approve” all or parts of the document. Specify sub-topics that need more discussion and work. [Date subject to change. May be later.]
  Eventually have a document (similar to KTC format) that outlines how to address sub-topics.
6

## Slide 7: Appendix
The next 5 slides are from the OWG Update to ROS on 9-2-21
7

## Slide 8: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
09/02/2021
8

## Slide 9: TAC Assignment: Remaining KTCs from Battery Energy Storage Task Force (BESTF)
KTC 15-3 Switchable Resources
KTC 15-4 Provisions Associated with Delayed Outages
  ERCOT provided a response to the following questions
9

## Slide 10: KTC 15-3 Switchable Resources
Question 1:
  Does ERCOT see any reliability issues with having a switchable ESR?
Answer
  In general, did not identify any major issues, if current rules for SWGR apply to ESRs
  One thing we will have to address is the current SWGR definition.
    Limited to Generation Resources,
    Will need to be modified to maybe Switchable Resource and include GR’s and ESRs
    Extend to coordination plans with SPP and MISO, in place 2019
10

## Slide 11: KTC 15-3 Switchable Resources
Question 2:
  How will ERCOT be informed of the State of Charge of the battery when it is operating in a Non-ERCOT control area?
Answer:
  ESRs should continue to telemeter and provide COP information that reflects state of charge even when interconnected to non-ERCOT area.
  This should provide Operator situational awareness needed to maintain reliability
11

## Slide 12: KTC 15-3 Switchable Resources
Question 3:
  Is there a limit on how many SWGRs and switchable ESRs that the ERCOT Control Room can handle?
Answer:
  We haven’t identified a hard limit
  ERCOT staffing levels will likely need to be increased if there’s a significant increase of Switchable Resources.
  As the number increases, this becomes a larger management and coordination process with SPP & MISO that pull operators away from their other responsibilities
  Currently have 5 sites with capability, manageable with current staff
  May want to consider initially limiting the total number of new switchable resources
  Would also need to discuss with SPP & MISO and adjust coordination plans as necessary
12

## Slide 13: KTC 15-4 Provisions Associated with Delayed Outages
Question 1:
  Does ERCOT staff have any concerns from a reliability or operational perspective?
Answer:
  Currently ERCOT does not have or didn’t initially identify any concerns with delaying Outages through the Outage Schedule Adjustment process
  Its ERCOT’s intent to omit ESR’s from the Outage Adjustment Evaluation since they are limited duration.
13