## 2020 RRS
Note that the 2020 quantities are based on the 2020 RRS table that was built using Resource Contingency Criteria (RCC) of 2805 MW and the minimum RRS-PFR limit of 1150 MW has been used.
2020-01-01 | [6 empty] | 2020-02-01 | [6 empty] | 2020-03-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 1 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 1 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
2 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 2 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 2 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
3 | 2959 | 1184 | 1776 | 1.65 | 60% | 4114.4 | 3 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 3 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
4 | 2959 | 1184 | 1776 | 1.65 | 60% | 4114.4 | 4 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 4 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
5 | 2959 | 1184 | 1776 | 1.65 | 60% | 4114.4 | 5 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 5 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
6 | 2959 | 1184 | 1776 | 1.65 | 60% | 4114.4 | 6 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 6 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
7 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 7 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
8 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 8 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
9 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 9 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
10 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 10 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 11 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 12 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 13 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 14 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
19 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 19 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 19 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
20 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 20 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 20 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
21 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 21 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 21 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
22 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 22 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 22 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1
23 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 23 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 23 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
24 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 24 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 24 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16
2020-04-01 | [6 empty] | 2020-05-01 | [6 empty] | 2020-06-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 1 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 1 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
2 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 2 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 2 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
3 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 3 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 3 | 2598 | 1150 | 1448 | 1.28 | 55.7% | 3003.44
4 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 4 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 4 | 2598 | 1150 | 1448 | 1.28 | 55.7% | 3003.44
5 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 5 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 5 | 2598 | 1150 | 1448 | 1.28 | 55.7% | 3003.44
6 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 6 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 6 | 2598 | 1150 | 1448 | 1.28 | 55.7% | 3003.44
7 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 7 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 7 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
8 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 8 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 8 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
9 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 9 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 9 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
10 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 10 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 10 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
11 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 11 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 11 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
12 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 12 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 12 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
13 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 13 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 13 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
14 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 14 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 14 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 15 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87 | 15 | 2341 | 1150 | 1191 | 1.01 | 50.9% | 2352.91
16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 16 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87 | 16 | 2341 | 1150 | 1191 | 1.01 | 50.9% | 2352.91
17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 17 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87 | 17 | 2341 | 1150 | 1191 | 1.01 | 50.9% | 2352.91
18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 18 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87 | 18 | 2341 | 1150 | 1191 | 1.01 | 50.9% | 2352.91
19 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 19 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 19 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
20 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 20 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 20 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
21 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 21 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 21 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
22 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 22 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72 | 22 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
23 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 23 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 23 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
24 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 24 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68 | 24 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
2020-07-01 | [6 empty] | 2020-08-01 | [6 empty] | 2020-09-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 1 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 1 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
2 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 2 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 2 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
3 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 2686.4 | 3 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 3 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
4 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 2686.4 | 4 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 4 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
5 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 2686.4 | 5 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 5 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
6 | 2486 | 1150 | 1336 | 1.15 | 53.7% | 2686.4 | 6 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 6 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
7 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 7 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88 | 7 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
8 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 8 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88 | 8 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
9 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 9 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88 | 9 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
10 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 10 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88 | 10 | 2523 | 1150 | 1373 | 1.19 | 54.4% | 2783.87
11 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 11 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 11 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
12 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 12 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 12 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
13 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 13 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 13 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
14 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 14 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 14 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
15 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 15 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 15 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
16 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 16 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 16 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
17 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 17 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 17 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
18 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 18 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 18 | 2372 | 1150 | 1222 | 1.04 | 51.5% | 2420.88
19 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 19 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 19 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
20 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 20 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 20 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
21 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 21 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 21 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
22 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 22 | 2300 | 1150 | 1150 | 1 | 50% | 2300 | 22 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72
23 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 23 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 23 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
24 | 2440 | 1150 | 1290 | 1.12 | 52.9% | 2594.8 | 24 | 2409 | 1150 | 1259 | 1.08 | 52.3% | 2509.72 | 24 | 2553 | 1150 | 1403 | 1.24 | 55% | 2889.72
2020-10-01 | [6 empty] | 2020-11-01 | [6 empty] | 2020-12-01
HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs | HE | Total RRS MW | PFRS | LRs | Equivalency Ratio | %RRS from LRs | Total Equivalent PFRs
1 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 1 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 1 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26
2 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 2 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 2 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26
3 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75 | 3 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 3 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
4 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75 | 4 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 4 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
5 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75 | 5 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 5 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
6 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75 | 6 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26 | 6 | 2959 | 1184 | 1775 | 1.65 | 60% | 4112.75
7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 7 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 7 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 8 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 8 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 9 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 9 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 10 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 10 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
11 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 11 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 11 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
12 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 12 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 12 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
13 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 13 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 13 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
14 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 14 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 14 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
15 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 3138.35 | 15 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 15 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
16 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 3138.35 | 16 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 16 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
17 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 3138.35 | 17 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 17 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
18 | 2645 | 1150 | 1495 | 1.33 | 56.5% | 3138.35 | 18 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18 | 18 | 2797 | 1150 | 1647 | 1.44 | 58.9% | 3521.68
19 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 19 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 19 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
20 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 20 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 20 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
21 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 21 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 21 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
22 | 2707 | 1150 | 1557 | 1.39 | 57.5% | 3314.23 | 22 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 22 | 2868 | 1150 | 1718 | 1.51 | 59.9% | 3744.18
23 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 23 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 23 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26
24 | 2908 | 1163 | 1745 | 1.58 | 60% | 3920.1 | 24 | 3086 | 1234 | 1852 | 1.83 | 60% | 4623.16 | 24 | 2998 | 1199 | 1799 | 1.74 | 60% | 4329.26

## 2021_RRS
2021 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul 12 - 31 | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
2 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
3 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
4 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
5 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
6 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
7 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
8 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
9 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
10 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
11 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
12 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
13 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
14 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2800 | 2800 | 3002 | 2880
15 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
16 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
17 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
18 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
19 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2800 | 2800 | 2800 | 2800 | 3002 | 2959
20 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2800 | 2800 | 2800 | 2800 | 3002 | 2959
21 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2800 | 2800 | 2800 | 2800 | 3002 | 2959
22 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2800 | 2800 | 2469 | 2783 | 3002 | 2959
23 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
24 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
Total | 71136 | 72564 | 72564 | 73424 | 67048 | 61148 | 61616 | 60724 | 63964 | 69792 | 73596 | 70820

## 2021_RRS_0901
2021 RRS
HE | Jan | Feb | Mar | Apr | May | Jun | Jul 1-11 | Jul 12 - 31 | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
2 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
3 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
4 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
5 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
6 | 3053 | 3092 | 3170 | 3170 | 3002 | 2783 | 2566 | 2566 | 2469 | 2712 | 3053 | 3170 | 3053
7 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
8 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
9 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
10 | 2959 | 2959 | 3002 | 3053 | 2880 | 2605 | 2469 | 2469 | 2383 | 2605 | 2959 | 3053 | 2880
11 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
12 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
13 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2469 | 2783 | 3002 | 2880
14 | 2880 | 2959 | 2959 | 3002 | 2658 | 2429 | 2300 | 2300 | 2300 | 2800 | 2800 | 3002 | 2880
15 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
16 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
17 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
18 | 2880 | 2959 | 2959 | 2959 | 2605 | 2383 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2880
19 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2959
20 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2959
21 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2800 | 2800 | 3002 | 2959
22 | 2959 | 3002 | 2959 | 3002 | 2658 | 2429 | 2300 | 2800 | 2800 | 2469 | 2783 | 3002 | 2959
23 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
24 | 3053 | 3170 | 3092 | 3170 | 2959 | 2658 | 2469 | 2469 | 2429 | 2605 | 3053 | 3170 | 3053
Total | 71136 | 72564 | 72564 | 73424 | 67048 | 61148 | 57616 | 61616 | 60724 | 63964 | 69792 | 73596 | 70820

## 2022_RRS
2022 RRS (with 2300 MW floor)
HE | Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
2 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
3 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
4 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
5 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
6 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
7 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
8 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
9 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
10 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
11 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
12 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
13 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
14 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
15 | 2959 | 3002 | 3053 | 3002 | 2783 | 2383 | 2300 | 2300
16 | 2959 | 3002 | 3053 | 3002 | 2783 | 2383 | 2300 | 2300
17 | 2959 | 3002 | 3053 | 3002 | 2783 | 2383 | 2300 | 2300
18 | 2959 | 3002 | 3053 | 3002 | 2783 | 2383 | 2300 | 2300
19 | 2959 | 3002 | 3053 | 3002 | 2783 | 2469 | 2300 | 2300
20 | 2959 | 3002 | 3053 | 3002 | 2783 | 2469 | 2300 | 2300
21 | 2959 | 3002 | 3053 | 3002 | 2783 | 2469 | 2300 | 2300
22 | 2959 | 3002 | 3053 | 3002 | 2783 | 2469 | 2300 | 2300
23 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
24 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
Total | 71768 | 72424 | 75512 | 74116 | 70372 | 62284 | 57824 | 58032 | 0 | 0 | 0 | 0

## 2022_RRS_FLOOR
2022 RRS (with 2800 MW floor for peak hours)
HE | Jan | Feb | Mar | Apr | May | Jun | July | Aug | Sep | Oct | Nov | Dec
1 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
2 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
3 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
4 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
5 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
6 | 3053 | 3092 | 3255 | 3210 | 3092 | 2880 | 2566 | 2566
7 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
8 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
9 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
10 | 2959 | 2959 | 3170 | 3092 | 3002 | 2658 | 2469 | 2521
11 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
12 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
13 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
14 | 2959 | 2959 | 3092 | 3053 | 2880 | 2469 | 2300 | 2300
15 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
16 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
17 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
18 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
19 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
20 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
21 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
22 | 2959 | 3002 | 3053 | 3002 | 2800 | 2800 | 2800 | 2800
23 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
24 | 3053 | 3092 | 3255 | 3170 | 3053 | 2712 | 2521 | 2521
Total | 71768 | 72424 | 75512 | 74116 | 70508 | 65276 | 61824 | 62032 | 0 | 0 | 0 | 0

## Charts
Month | Date | Group | HE | Type | 2020 RRS Value | 2021 RRS Value | 2022 RRS Value (w/o floor) | 2022 RRS Value (w floor) | Delta | Delta-2 | Delta-3 | Month | Aug |  |  | Responsive Reserve Requirement Comparison for August
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2998 | 3053 | 3053 | 3053 | 0 | 0 | 0 | Type | RRS
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2998 | 3053 | 3053 | 3053 | 0 | 0 | 0
Jan | 2018-01-01 | b. HE3-6 | 3 | RRS | 2959 | 3053 | 3053 | 3053 | 0 | 0 | 0 | Row Labels | 2021 RRS | 2022 (Dec-2020 Methodology) | 2022 RRS (2800 MW floor peak hours)
Jan | 2018-01-01 | b. HE3-6 | 4 | RRS | 2959 | 3053 | 3053 | 3053 | 0 | 0 | 0 | a. HE1-2 & HE23-24 | 2429 | 2521 | 2521
Jan | 2018-01-01 | b. HE3-6 | 5 | RRS | 2959 | 3053 | 3053 | 3053 | 0 | 0 | 0 | b. HE3-6 | 2469 | 2566 | 2566
Jan | 2018-01-01 | b. HE3-6 | 6 | RRS | 2959 | 3053 | 3053 | 3053 | 0 | 0 | 0 | c. HE7-10 | 2383 | 2521 | 2521
Jan | 2018-01-01 | c. HE7-10 | 7 | RRS | 2797 | 2959 | 2959 | 2959 | 0 | 0 | 0 | d. HE11-14 | 2300 | 2300 | 2300
Jan | 2018-01-01 | c. HE7-10 | 8 | RRS | 2797 | 2959 | 2959 | 2959 | 0 | 0 | 0 | e. HE15-18 | 2800 | 2300 | 2800
Jan | 2018-01-01 | c. HE7-10 | 9 | RRS | 2797 | 2959 | 2959 | 2959 | 0 | 0 | 0 | f. HE19-22 | 2800 | 2300 | 2800
Jan | 2018-01-01 | c. HE7-10 | 10 | RRS | 2797 | 2959 | 2959 | 2959 | 0 | 0 | 0
Jan | 2018-01-01 | d. HE11-14 | 11 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | d. HE11-14 | 12 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | d. HE11-14 | 13 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | d. HE11-14 | 14 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | e. HE15-18 | 15 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | e. HE15-18 | 16 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | e. HE15-18 | 17 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | e. HE15-18 | 18 | RRS | 2868 | 2880 | 2959 | 2959 | 79 | 79 | 0
Jan | 2018-01-01 | f. HE19-22 | 19 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0
Jan | 2018-01-01 | f. HE19-22 | 20 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0
Jan | 2018-01-01 | f. HE19-22 | 21 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0
Jan | 2018-01-01 | f. HE19-22 | 22 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2998 | 3053 | 3053 | 3053 | 0 | 0 | 0
Jan | 2018-01-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2998 | 3053 | 3053 | 3053 | 0 | 0 | 0
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2998 | 3170 | 3092 | 3092 | -78 | -78 | 0
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2998 | 3170 | 3092 | 3092 | -78 | -78 | 0
Feb | 2018-02-01 | b. HE3-6 | 3 | RRS | 2998 | 3092 | 3092 | 3092 | 0 | 0 | 0
Feb | 2018-02-01 | b. HE3-6 | 4 | RRS | 2998 | 3092 | 3092 | 3092 | 0 | 0 | 0
Feb | 2018-02-01 | b. HE3-6 | 5 | RRS | 2998 | 3092 | 3092 | 3092 | 0 | 0 | 0 | Type | RRS |  |  | Hourly Average Responsive Reserve Requirement Comparison
Feb | 2018-02-01 | b. HE3-6 | 6 | RRS | 2998 | 3092 | 3092 | 3092 | 0 | 0 | 0
Feb | 2018-02-01 | c. HE7-10 | 7 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Row Labels | 2021 | 2022 (Dec 2020 Methodology) | 2022 (2800 MW floor peak hours)
Feb | 2018-02-01 | c. HE7-10 | 8 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Jan | 2964 | 2990.3333 | 2990.3333 | 26.3333 | 0 | 26.3333
Feb | 2018-02-01 | c. HE7-10 | 9 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Feb | 3023.5 | 3017.6667 | 3017.6667 | -5.8333 | 0 | -5.8333
Feb | 2018-02-01 | c. HE7-10 | 10 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Mar | 3023.5 | 3146.3333 | 3146.3333 | 122.8333 | 0 | 122.8333
Feb | 2018-02-01 | d. HE11-14 | 11 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Apr | 3059.3333 | 3088.1667 | 3088.1667 | 28.8333 | 0 | 28.8333
Feb | 2018-02-01 | d. HE11-14 | 12 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | May | 2793.6667 | 2932.1667 | 2937.8333 | 138.5 | 5.6667 | 144.1667
Feb | 2018-02-01 | d. HE11-14 | 13 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Jun | 2547.8333 | 2595.1667 | 2719.8333 | 47.3333 | 124.6667 | 172
Feb | 2018-02-01 | d. HE11-14 | 14 | RRS | 2868 | 2959 | 2959 | 2959 | 0 | 0 | 0 | Jul | 2567.3333 | 2409.3333 | 2576 | -158 | 166.6667 | 8.6667
Feb | 2018-02-01 | e. HE15-18 | 15 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Aug | 2530.1667 | 2418 | 2584.6667 | -112.1667 | 166.6667 | 54.5
Feb | 2018-02-01 | e. HE15-18 | 16 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Sep | 2665.1667 |  |  | -2665.1667 | 0 | -2665.1667
Feb | 2018-02-01 | e. HE15-18 | 17 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Oct | 2908 |  |  | -2908 | 0 | -2908
Feb | 2018-02-01 | e. HE15-18 | 18 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Nov | 3066.5 |  |  | -3066.5 | 0 | -3066.5
Feb | 2018-02-01 | f. HE19-22 | 19 | RRS | 2868 | 3002 | 3002 | 3002 | 0 | 0 | 0 | Dec | 2950.8333 |  |  | -2950.8333 | 0 | -2950.8333
Feb | 2018-02-01 | f. HE19-22 | 20 | RRS | 2868 | 3002 | 3002 | 3002 | 0 | 0 | 0
Feb | 2018-02-01 | f. HE19-22 | 21 | RRS | 2868 | 3002 | 3002 | 3002 | 0 | 0 | 0
Feb | 2018-02-01 | f. HE19-22 | 22 | RRS | 2868 | 3002 | 3002 | 3002 | 0 | 0 | 0
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2998 | 3170 | 3092 | 3092 | -78 | -78 | 0 | Type | RRS
Feb | 2018-02-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2998 | 3170 | 3092 | 3092 | -78 | -78 | 0
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 1 | RRS | 3086 | 3092 | 3255 | 3255 | 163 | 163 | 0 | Month | Group | Max of Delta | Max of Delta-2 | Max of Delta-3
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 2 | RRS | 3086 | 3092 | 3255 | 3255 | 163 | 163 | 0 | Jan | a. HE1-2 & HE23-24 | 0 | 0 | 0
Mar | 2018-03-01 | b. HE3-6 | 3 | RRS | 3086 | 3170 | 3255 | 3255 | 85 | 85 | 0 | Jan | b. HE3-6 | 0 | 0 | 0
Mar | 2018-03-01 | b. HE3-6 | 4 | RRS | 3086 | 3170 | 3255 | 3255 | 85 | 85 | 0 | Jan | c. HE7-10 | 0 | 0 | 0
Mar | 2018-03-01 | b. HE3-6 | 5 | RRS | 3086 | 3170 | 3255 | 3255 | 85 | 85 | 0 | Jan | d. HE11-14 | 79 | 79 | 0
Mar | 2018-03-01 | b. HE3-6 | 6 | RRS | 3086 | 3170 | 3255 | 3255 | 85 | 85 | 0 | Jan | e. HE15-18 | 79 | 79 | 0
Mar | 2018-03-01 | c. HE7-10 | 7 | RRS | 2959 | 3002 | 3170 | 3170 | 168 | 168 | 0 | Jan | f. HE19-22 | 0 | 0 | 0
Mar | 2018-03-01 | c. HE7-10 | 8 | RRS | 2959 | 3002 | 3170 | 3170 | 168 | 168 | 0 | Jan Total |  | 79 | 79 | 0
Mar | 2018-03-01 | c. HE7-10 | 9 | RRS | 2959 | 3002 | 3170 | 3170 | 168 | 168 | 0 | Feb | a. HE1-2 & HE23-24 | -78 | -78 | 0
Mar | 2018-03-01 | c. HE7-10 | 10 | RRS | 2959 | 3002 | 3170 | 3170 | 168 | 168 | 0 | Feb | b. HE3-6 | 0 | 0 | 0
Mar | 2018-03-01 | d. HE11-14 | 11 | RRS | 2908 | 2959 | 3092 | 3092 | 133 | 133 | 0 | Feb | c. HE7-10 | 0 | 0 | 0
Mar | 2018-03-01 | d. HE11-14 | 12 | RRS | 2908 | 2959 | 3092 | 3092 | 133 | 133 | 0 | Feb | d. HE11-14 | 0 | 0 | 0
Mar | 2018-03-01 | d. HE11-14 | 13 | RRS | 2908 | 2959 | 3092 | 3092 | 133 | 133 | 0 | Feb | e. HE15-18 | 43 | 43 | 0
Mar | 2018-03-01 | d. HE11-14 | 14 | RRS | 2908 | 2959 | 3092 | 3092 | 133 | 133 | 0 | Feb | f. HE19-22 | 0 | 0 | 0
Mar | 2018-03-01 | e. HE15-18 | 15 | RRS | 2868 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Feb Total |  | 43 | 43 | 0
Mar | 2018-03-01 | e. HE15-18 | 16 | RRS | 2868 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar | a. HE1-2 & HE23-24 | 163 | 163 | 0
Mar | 2018-03-01 | e. HE15-18 | 17 | RRS | 2868 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar | b. HE3-6 | 85 | 85 | 0
Mar | 2018-03-01 | e. HE15-18 | 18 | RRS | 2868 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar | c. HE7-10 | 168 | 168 | 0
Mar | 2018-03-01 | f. HE19-22 | 19 | RRS | 2908 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar | d. HE11-14 | 133 | 133 | 0
Mar | 2018-03-01 | f. HE19-22 | 20 | RRS | 2908 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar | e. HE15-18 | 94 | 94 | 0
Mar | 2018-03-01 | f. HE19-22 | 21 | RRS | 2908 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar | f. HE19-22 | 94 | 94 | 0
Mar | 2018-03-01 | f. HE19-22 | 22 | RRS | 2908 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Mar Total |  | 168 | 168 | 0
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 23 | RRS | 3086 | 3092 | 3255 | 3255 | 163 | 163 | 0 | Apr | a. HE1-2 & HE23-24 | 0 | 0 | 0
Mar | 2018-03-01 | a. HE1-2 & HE23-24 | 24 | RRS | 3086 | 3092 | 3255 | 3255 | 163 | 163 | 0 | Apr | b. HE3-6 | 40 | 40 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 1 | RRS | 3086 | 3170 | 3170 | 3170 | 0 | 0 | 0 | Apr | c. HE7-10 | 39 | 39 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 2 | RRS | 3086 | 3170 | 3170 | 3170 | 0 | 0 | 0 | Apr | d. HE11-14 | 51 | 51 | 0
Apr | 2018-04-01 | b. HE3-6 | 3 | RRS | 3086 | 3170 | 3210 | 3210 | 40 | 40 | 0 | Apr | e. HE15-18 | 43 | 43 | 0
Apr | 2018-04-01 | b. HE3-6 | 4 | RRS | 3086 | 3170 | 3210 | 3210 | 40 | 40 | 0 | Apr | f. HE19-22 | 0 | 0 | 0
Apr | 2018-04-01 | b. HE3-6 | 5 | RRS | 3086 | 3170 | 3210 | 3210 | 40 | 40 | 0 | Apr Total |  | 51 | 51 | 0
Apr | 2018-04-01 | b. HE3-6 | 6 | RRS | 3086 | 3170 | 3210 | 3210 | 40 | 40 | 0 | May | a. HE1-2 & HE23-24 | 94 | 94 | 0
Apr | 2018-04-01 | c. HE7-10 | 7 | RRS | 2998 | 3053 | 3092 | 3092 | 39 | 39 | 0 | May | b. HE3-6 | 90 | 90 | 0
Apr | 2018-04-01 | c. HE7-10 | 8 | RRS | 2998 | 3053 | 3092 | 3092 | 39 | 39 | 0 | May | c. HE7-10 | 122 | 122 | 0
Apr | 2018-04-01 | c. HE7-10 | 9 | RRS | 2998 | 3053 | 3092 | 3092 | 39 | 39 | 0 | May | d. HE11-14 | 222 | 222 | 0
Apr | 2018-04-01 | c. HE7-10 | 10 | RRS | 2998 | 3053 | 3092 | 3092 | 39 | 39 | 0 | May | e. HE15-18 | 195 | 178 | 17
Apr | 2018-04-01 | d. HE11-14 | 11 | RRS | 2908 | 3002 | 3053 | 3053 | 51 | 51 | 0 | May | f. HE19-22 | 142 | 125 | 17
Apr | 2018-04-01 | d. HE11-14 | 12 | RRS | 2908 | 3002 | 3053 | 3053 | 51 | 51 | 0 | May Total |  | 222 | 222 | 17
Apr | 2018-04-01 | d. HE11-14 | 13 | RRS | 2908 | 3002 | 3053 | 3053 | 51 | 51 | 0 | Jun | a. HE1-2 & HE23-24 | 54 | 54 | 0
Apr | 2018-04-01 | d. HE11-14 | 14 | RRS | 2908 | 3002 | 3053 | 3053 | 51 | 51 | 0 | Jun | b. HE3-6 | 97 | 97 | 0
Apr | 2018-04-01 | e. HE15-18 | 15 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Jun | c. HE7-10 | 53 | 53 | 0
Apr | 2018-04-01 | e. HE15-18 | 16 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Jun | d. HE11-14 | 40 | 40 | 0
Apr | 2018-04-01 | e. HE15-18 | 17 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Jun | e. HE15-18 | 417 | 0 | 417
Apr | 2018-04-01 | e. HE15-18 | 18 | RRS | 2868 | 2959 | 3002 | 3002 | 43 | 43 | 0 | Jun | f. HE19-22 | 371 | 40 | 331
Apr | 2018-04-01 | f. HE19-22 | 19 | RRS | 2908 | 3002 | 3002 | 3002 | 0 | 0 | 0 | Jun Total |  | 417 | 97 | 417
Apr | 2018-04-01 | f. HE19-22 | 20 | RRS | 2908 | 3002 | 3002 | 3002 | 0 | 0 | 0 | Jul | a. HE1-2 & HE23-24 | 52 | 52 | 0
Apr | 2018-04-01 | f. HE19-22 | 21 | RRS | 2908 | 3002 | 3002 | 3002 | 0 | 0 | 0 | Jul | b. HE3-6 | 0 | 0 | 0
Apr | 2018-04-01 | f. HE19-22 | 22 | RRS | 2908 | 3002 | 3002 | 3002 | 0 | 0 | 0 | Jul | c. HE7-10 | 0 | 0 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 23 | RRS | 3086 | 3170 | 3170 | 3170 | 0 | 0 | 0 | Jul | d. HE11-14 | 0 | 0 | 0
Apr | 2018-04-01 | a. HE1-2 & HE23-24 | 24 | RRS | 3086 | 3170 | 3170 | 3170 | 0 | 0 | 0 | Jul | e. HE15-18 | 0 | -500 | 500
May | 2018-05-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2797 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Jul | f. HE19-22 | 0 | -500 | 500
May | 2018-05-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2797 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Jul Total |  | 52 | 52 | 500
May | 2018-05-01 | b. HE3-6 | 3 | RRS | 2868 | 3002 | 3092 | 3092 | 90 | 90 | 0 | Aug | a. HE1-2 & HE23-24 | 92 | 92 | 0
May | 2018-05-01 | b. HE3-6 | 4 | RRS | 2868 | 3002 | 3092 | 3092 | 90 | 90 | 0 | Aug | b. HE3-6 | 97 | 97 | 0
May | 2018-05-01 | b. HE3-6 | 5 | RRS | 2868 | 3002 | 3092 | 3092 | 90 | 90 | 0 | Aug | c. HE7-10 | 138 | 138 | 0
May | 2018-05-01 | b. HE3-6 | 6 | RRS | 2868 | 3002 | 3092 | 3092 | 90 | 90 | 0 | Aug | d. HE11-14 | 0 | 0 | 0
May | 2018-05-01 | c. HE7-10 | 7 | RRS | 2707 | 2880 | 3002 | 3002 | 122 | 122 | 0 | Aug | e. HE15-18 | 0 | -500 | 500
May | 2018-05-01 | c. HE7-10 | 8 | RRS | 2707 | 2880 | 3002 | 3002 | 122 | 122 | 0 | Aug | f. HE19-22 | 0 | -500 | 500
May | 2018-05-01 | c. HE7-10 | 9 | RRS | 2707 | 2880 | 3002 | 3002 | 122 | 122 | 0 | Aug Total |  | 138 | 138 | 500
May | 2018-05-01 | c. HE7-10 | 10 | RRS | 2707 | 2880 | 3002 | 3002 | 122 | 122 | 0 | Sep | a. HE1-2 & HE23-24 | -2605 | -2605 | 0
May | 2018-05-01 | d. HE11-14 | 11 | RRS | 2553 | 2658 | 2880 | 2880 | 222 | 222 | 0 | Sep | b. HE3-6 | -2712 | -2712 | 0
May | 2018-05-01 | d. HE11-14 | 12 | RRS | 2553 | 2658 | 2880 | 2880 | 222 | 222 | 0 | Sep | c. HE7-10 | -2605 | -2605 | 0
May | 2018-05-01 | d. HE11-14 | 13 | RRS | 2553 | 2658 | 2880 | 2880 | 222 | 222 | 0 | Sep | d. HE11-14 | -2469 | -2469 | 0
May | 2018-05-01 | d. HE11-14 | 14 | RRS | 2553 | 2658 | 2880 | 2880 | 222 | 222 | 0 | Sep | e. HE15-18 | -2800 | -2800 | 0
May | 2018-05-01 | e. HE15-18 | 15 | RRS | 2523 | 2605 | 2783 | 2800 | 195 | 178 | 17 | Sep | f. HE19-22 | -2469 | -2469 | 0
May | 2018-05-01 | e. HE15-18 | 16 | RRS | 2523 | 2605 | 2783 | 2800 | 195 | 178 | 17 | Sep Total |  | -2469 | -2469 | 0
May | 2018-05-01 | e. HE15-18 | 17 | RRS | 2523 | 2605 | 2783 | 2800 | 195 | 178 | 17 | Oct | a. HE1-2 & HE23-24 | -3053 | -3053 | 0
May | 2018-05-01 | e. HE15-18 | 18 | RRS | 2523 | 2605 | 2783 | 2800 | 195 | 178 | 17 | Oct | b. HE3-6 | -3053 | -3053 | 0
May | 2018-05-01 | f. HE19-22 | 19 | RRS | 2553 | 2658 | 2783 | 2800 | 142 | 125 | 17 | Oct | c. HE7-10 | -2959 | -2959 | 0
May | 2018-05-01 | f. HE19-22 | 20 | RRS | 2553 | 2658 | 2783 | 2800 | 142 | 125 | 17 | Oct | d. HE11-14 | -2783 | -2783 | 0
May | 2018-05-01 | f. HE19-22 | 21 | RRS | 2553 | 2658 | 2783 | 2800 | 142 | 125 | 17 | Oct | e. HE15-18 | -2800 | -2800 | 0
May | 2018-05-01 | f. HE19-22 | 22 | RRS | 2553 | 2658 | 2783 | 2800 | 142 | 125 | 17 | Oct | f. HE19-22 | -2783 | -2783 | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2797 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Oct Total |  | -2783 | -2783 | 0
May | 2018-05-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2797 | 2959 | 3053 | 3053 | 94 | 94 | 0 | Nov | a. HE1-2 & HE23-24 | -3170 | -3170 | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2553 | 2658 | 2712 | 2712 | 54 | 54 | 0 | Nov | b. HE3-6 | -3170 | -3170 | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2553 | 2658 | 2712 | 2712 | 54 | 54 | 0 | Nov | c. HE7-10 | -3053 | -3053 | 0
Jun | 2018-06-01 | b. HE3-6 | 3 | RRS | 2598 | 2783 | 2880 | 2880 | 97 | 97 | 0 | Nov | d. HE11-14 | -3002 | -3002 | 0
Jun | 2018-06-01 | b. HE3-6 | 4 | RRS | 2598 | 2783 | 2880 | 2880 | 97 | 97 | 0 | Nov | e. HE15-18 | -3002 | -3002 | 0
Jun | 2018-06-01 | b. HE3-6 | 5 | RRS | 2598 | 2783 | 2880 | 2880 | 97 | 97 | 0 | Nov | f. HE19-22 | -3002 | -3002 | 0
Jun | 2018-06-01 | b. HE3-6 | 6 | RRS | 2598 | 2783 | 2880 | 2880 | 97 | 97 | 0 | Nov Total |  | -3002 | -3002 | 0
Jun | 2018-06-01 | c. HE7-10 | 7 | RRS | 2523 | 2605 | 2658 | 2658 | 53 | 53 | 0 | Dec | a. HE1-2 & HE23-24 | -3053 | -3053 | 0
Jun | 2018-06-01 | c. HE7-10 | 8 | RRS | 2523 | 2605 | 2658 | 2658 | 53 | 53 | 0 | Dec | b. HE3-6 | -3053 | -3053 | 0
Jun | 2018-06-01 | c. HE7-10 | 9 | RRS | 2523 | 2605 | 2658 | 2658 | 53 | 53 | 0 | Dec | c. HE7-10 | -2880 | -2880 | 0
Jun | 2018-06-01 | c. HE7-10 | 10 | RRS | 2523 | 2605 | 2658 | 2658 | 53 | 53 | 0 | Dec | d. HE11-14 | -2880 | -2880 | 0
Jun | 2018-06-01 | d. HE11-14 | 11 | RRS | 2372 | 2429 | 2469 | 2469 | 40 | 40 | 0 | Dec | e. HE15-18 | -2880 | -2880 | 0
Jun | 2018-06-01 | d. HE11-14 | 12 | RRS | 2372 | 2429 | 2469 | 2469 | 40 | 40 | 0 | Dec | f. HE19-22 | -2959 | -2959 | 0
Jun | 2018-06-01 | d. HE11-14 | 13 | RRS | 2372 | 2429 | 2469 | 2469 | 40 | 40 | 0 | Dec Total |  | -2880 | -2880 | 0
Jun | 2018-06-01 | d. HE11-14 | 14 | RRS | 2372 | 2429 | 2469 | 2469 | 40 | 40 | 0 | Grand Total |  | 417 | 222 | 500
Jun | 2018-06-01 | e. HE15-18 | 15 | RRS | 2341 | 2383 | 2383 | 2800 | 417 | 0 | 417
Jun | 2018-06-01 | e. HE15-18 | 16 | RRS | 2341 | 2383 | 2383 | 2800 | 417 | 0 | 417
Jun | 2018-06-01 | e. HE15-18 | 17 | RRS | 2341 | 2383 | 2383 | 2800 | 417 | 0 | 417
Jun | 2018-06-01 | e. HE15-18 | 18 | RRS | 2341 | 2383 | 2383 | 2800 | 417 | 0 | 417
Jun | 2018-06-01 | f. HE19-22 | 19 | RRS | 2372 | 2429 | 2469 | 2800 | 371 | 40 | 331
Jun | 2018-06-01 | f. HE19-22 | 20 | RRS | 2372 | 2429 | 2469 | 2800 | 371 | 40 | 331
Jun | 2018-06-01 | f. HE19-22 | 21 | RRS | 2372 | 2429 | 2469 | 2800 | 371 | 40 | 331
Jun | 2018-06-01 | f. HE19-22 | 22 | RRS | 2372 | 2429 | 2469 | 2800 | 371 | 40 | 331
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2553 | 2658 | 2712 | 2712 | 54 | 54 | 0
Jun | 2018-06-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2553 | 2658 | 2712 | 2712 | 54 | 54 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2440 | 2469 | 2521 | 2521 | 52 | 52 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2440 | 2469 | 2521 | 2521 | 52 | 52 | 0
Jul | 2018-07-01 | b. HE3-6 | 3 | RRS | 2486 | 2566 | 2566 | 2566 | 0 | 0 | 0
Jul | 2018-07-01 | b. HE3-6 | 4 | RRS | 2486 | 2566 | 2566 | 2566 | 0 | 0 | 0
Jul | 2018-07-01 | b. HE3-6 | 5 | RRS | 2486 | 2566 | 2566 | 2566 | 0 | 0 | 0
Jul | 2018-07-01 | b. HE3-6 | 6 | RRS | 2486 | 2566 | 2566 | 2566 | 0 | 0 | 0
Jul | 2018-07-01 | c. HE7-10 | 7 | RRS | 2409 | 2469 | 2469 | 2469 | 0 | 0 | 0
Jul | 2018-07-01 | c. HE7-10 | 8 | RRS | 2409 | 2469 | 2469 | 2469 | 0 | 0 | 0
Jul | 2018-07-01 | c. HE7-10 | 9 | RRS | 2409 | 2469 | 2469 | 2469 | 0 | 0 | 0
Jul | 2018-07-01 | c. HE7-10 | 10 | RRS | 2409 | 2469 | 2469 | 2469 | 0 | 0 | 0
Jul | 2018-07-01 | d. HE11-14 | 11 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Jul | 2018-07-01 | d. HE11-14 | 12 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Jul | 2018-07-01 | d. HE11-14 | 13 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Jul | 2018-07-01 | d. HE11-14 | 14 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Jul | 2018-07-01 | e. HE15-18 | 15 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | e. HE15-18 | 16 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | e. HE15-18 | 17 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | e. HE15-18 | 18 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | f. HE19-22 | 19 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | f. HE19-22 | 20 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | f. HE19-22 | 21 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | f. HE19-22 | 22 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2440 | 2469 | 2521 | 2521 | 52 | 52 | 0
Jul | 2018-07-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2440 | 2469 | 2521 | 2521 | 52 | 52 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2409 | 2429 | 2521 | 2521 | 92 | 92 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2409 | 2429 | 2521 | 2521 | 92 | 92 | 0
Aug | 2018-08-01 | b. HE3-6 | 3 | RRS | 2440 | 2469 | 2566 | 2566 | 97 | 97 | 0
Aug | 2018-08-01 | b. HE3-6 | 4 | RRS | 2440 | 2469 | 2566 | 2566 | 97 | 97 | 0
Aug | 2018-08-01 | b. HE3-6 | 5 | RRS | 2440 | 2469 | 2566 | 2566 | 97 | 97 | 0
Aug | 2018-08-01 | b. HE3-6 | 6 | RRS | 2440 | 2469 | 2566 | 2566 | 97 | 97 | 0
Aug | 2018-08-01 | c. HE7-10 | 7 | RRS | 2372 | 2383 | 2521 | 2521 | 138 | 138 | 0
Aug | 2018-08-01 | c. HE7-10 | 8 | RRS | 2372 | 2383 | 2521 | 2521 | 138 | 138 | 0
Aug | 2018-08-01 | c. HE7-10 | 9 | RRS | 2372 | 2383 | 2521 | 2521 | 138 | 138 | 0
Aug | 2018-08-01 | c. HE7-10 | 10 | RRS | 2372 | 2383 | 2521 | 2521 | 138 | 138 | 0
Aug | 2018-08-01 | d. HE11-14 | 11 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Aug | 2018-08-01 | d. HE11-14 | 12 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Aug | 2018-08-01 | d. HE11-14 | 13 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Aug | 2018-08-01 | d. HE11-14 | 14 | RRS | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0
Aug | 2018-08-01 | e. HE15-18 | 15 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | e. HE15-18 | 16 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | e. HE15-18 | 17 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | e. HE15-18 | 18 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | f. HE19-22 | 19 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | f. HE19-22 | 20 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | f. HE19-22 | 21 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | f. HE19-22 | 22 | RRS | 2300 | 2800 | 2300 | 2800 | 0 | -500 | 500
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2409 | 2429 | 2521 | 2521 | 92 | 92 | 0
Aug | 2018-08-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2409 | 2429 | 2521 | 2521 | 92 | 92 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2553 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2553 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | b. HE3-6 | 3 | RRS | 2553 | 2712 |  |  | -2712 | -2712 | 0
Sep | 2018-09-01 | b. HE3-6 | 4 | RRS | 2553 | 2712 |  |  | -2712 | -2712 | 0
Sep | 2018-09-01 | b. HE3-6 | 5 | RRS | 2553 | 2712 |  |  | -2712 | -2712 | 0
Sep | 2018-09-01 | b. HE3-6 | 6 | RRS | 2553 | 2712 |  |  | -2712 | -2712 | 0
Sep | 2018-09-01 | c. HE7-10 | 7 | RRS | 2523 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | c. HE7-10 | 8 | RRS | 2523 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | c. HE7-10 | 9 | RRS | 2523 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | c. HE7-10 | 10 | RRS | 2523 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | d. HE11-14 | 11 | RRS | 2409 | 2469 |  |  | -2469 | -2469 | 0
Sep | 2018-09-01 | d. HE11-14 | 12 | RRS | 2409 | 2469 |  |  | -2469 | -2469 | 0
Sep | 2018-09-01 | d. HE11-14 | 13 | RRS | 2409 | 2469 |  |  | -2469 | -2469 | 0
Sep | 2018-09-01 | d. HE11-14 | 14 | RRS | 2409 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | e. HE15-18 | 15 | RRS | 2372 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | e. HE15-18 | 16 | RRS | 2372 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | e. HE15-18 | 17 | RRS | 2372 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | e. HE15-18 | 18 | RRS | 2372 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | f. HE19-22 | 19 | RRS | 2409 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | f. HE19-22 | 20 | RRS | 2409 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | f. HE19-22 | 21 | RRS | 2409 | 2800 |  |  | -2800 | -2800 | 0
Sep | 2018-09-01 | f. HE19-22 | 22 | RRS | 2409 | 2469 |  |  | -2469 | -2469 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2553 | 2605 |  |  | -2605 | -2605 | 0
Sep | 2018-09-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2553 | 2605 |  |  | -2605 | -2605 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | b. HE3-6 | 3 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | b. HE3-6 | 4 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | b. HE3-6 | 5 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | b. HE3-6 | 6 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | c. HE7-10 | 7 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Oct | 2018-10-01 | c. HE7-10 | 8 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Oct | 2018-10-01 | c. HE7-10 | 9 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Oct | 2018-10-01 | c. HE7-10 | 10 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Oct | 2018-10-01 | d. HE11-14 | 11 | RRS | 2707 | 2783 |  |  | -2783 | -2783 | 0
Oct | 2018-10-01 | d. HE11-14 | 12 | RRS | 2707 | 2783 |  |  | -2783 | -2783 | 0
Oct | 2018-10-01 | d. HE11-14 | 13 | RRS | 2707 | 2783 |  |  | -2783 | -2783 | 0
Oct | 2018-10-01 | d. HE11-14 | 14 | RRS | 2707 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | e. HE15-18 | 15 | RRS | 2645 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | e. HE15-18 | 16 | RRS | 2645 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | e. HE15-18 | 17 | RRS | 2645 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | e. HE15-18 | 18 | RRS | 2645 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | f. HE19-22 | 19 | RRS | 2707 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | f. HE19-22 | 20 | RRS | 2707 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | f. HE19-22 | 21 | RRS | 2707 | 2800 |  |  | -2800 | -2800 | 0
Oct | 2018-10-01 | f. HE19-22 | 22 | RRS | 2707 | 2783 |  |  | -2783 | -2783 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Oct | 2018-10-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 1 | RRS | 3086 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 2 | RRS | 3086 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | b. HE3-6 | 3 | RRS | 2998 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | b. HE3-6 | 4 | RRS | 2998 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | b. HE3-6 | 5 | RRS | 2998 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | b. HE3-6 | 6 | RRS | 2998 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | c. HE7-10 | 7 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Nov | 2018-11-01 | c. HE7-10 | 8 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Nov | 2018-11-01 | c. HE7-10 | 9 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Nov | 2018-11-01 | c. HE7-10 | 10 | RRS | 2908 | 3053 |  |  | -3053 | -3053 | 0
Nov | 2018-11-01 | d. HE11-14 | 11 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | d. HE11-14 | 12 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | d. HE11-14 | 13 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | d. HE11-14 | 14 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | e. HE15-18 | 15 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | e. HE15-18 | 16 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | e. HE15-18 | 17 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | e. HE15-18 | 18 | RRS | 2868 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | f. HE19-22 | 19 | RRS | 2908 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | f. HE19-22 | 20 | RRS | 2908 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | f. HE19-22 | 21 | RRS | 2908 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | f. HE19-22 | 22 | RRS | 2908 | 3002 |  |  | -3002 | -3002 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 23 | RRS | 3086 | 3170 |  |  | -3170 | -3170 | 0
Nov | 2018-11-01 | a. HE1-2 & HE23-24 | 24 | RRS | 3086 | 3170 |  |  | -3170 | -3170 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 1 | RRS | 2998 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 2 | RRS | 2998 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | b. HE3-6 | 3 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | b. HE3-6 | 4 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | b. HE3-6 | 5 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | b. HE3-6 | 6 | RRS | 2959 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | c. HE7-10 | 7 | RRS | 2868 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | c. HE7-10 | 8 | RRS | 2868 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | c. HE7-10 | 9 | RRS | 2868 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | c. HE7-10 | 10 | RRS | 2868 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | d. HE11-14 | 11 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | d. HE11-14 | 12 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | d. HE11-14 | 13 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | d. HE11-14 | 14 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | e. HE15-18 | 15 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | e. HE15-18 | 16 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | e. HE15-18 | 17 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | e. HE15-18 | 18 | RRS | 2797 | 2880 |  |  | -2880 | -2880 | 0
Dec | 2018-12-01 | f. HE19-22 | 19 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Dec | 2018-12-01 | f. HE19-22 | 20 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Dec | 2018-12-01 | f. HE19-22 | 21 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Dec | 2018-12-01 | f. HE19-22 | 22 | RRS | 2868 | 2959 |  |  | -2959 | -2959 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 23 | RRS | 2998 | 3053 |  |  | -3053 | -3053 | 0
Dec | 2018-12-01 | a. HE1-2 & HE23-24 | 24 | RRS | 2998 | 3053 |  |  | -3053 | -3053 | 0