## Slide 1: Emergency Conditions List
ROS & WMS Update to TAC
September 29th, 2021

## Slide 2: OVERVIEW
Status Updates
Proposed Deletions

## Slide 3: STATUS UPDATES
ROS
Item #122 (Consider dynamic load shed ratios): ERCOT is gathering info on load shed ratios at different time periods and feasibility of more dynamic approach
Item #128 (Emergency Operational Communications): status is in progress and being reviewed at OWG

## Slide 4: STATUS UPDATES
WMS
Item #48 (ERS performance and lessons learned): NPRR1090 is now at TAC; DSWG will determine if any additional action is needed on this item
Items #50 (Demand Reponse performance) and #62(Load Resource, ERS load serving critical natural gas): NPRR1087 is now at TAC; DSWG will determine if any additional action is needed on this item
Item #54 (firm load shed inclusion in RDPA): NPRR1081 was approved by the aboard to implement this change; item is complete

## Slide 5: STATUS UPDATES
Joint ROS/WMS Items
Items #93 (Load forecasting) and #94 (Extreme case planning): joint PLWG / SAWG discussion at SAWG’s September 17th meeting
Item #100 (Storage FFR performance): storage did not bid for FFR during February 14 - 15. Item can be closed

## Slide 6: COMPLETED ITEMS
With TAC’s approval, we will update the status of the following items as “Complete”
Item | Item Description | Findings
54 | Shouldn’t protocols be changed to include firm load shed in RDPA to reflect commission order ? | NPRR1081: Revisions to Real-Time Reliability Deployment Price Adder to Consider Firm Load Shed was approved
100 | How did batteries providing FFR perform? Were FFR providers allowed to charge and if not, what penalties did they get charged? | No ESR bid for FFR during time of Feb 14/15 winter event; WMWG reviewed and no further action is needed

## Slide 7
QUESTIONS?

## Slide 8: APPENDIX – UPDATE DETAILS
Item | Owner | Update | Comment
48 | ROS/WMS | Comments | Added WMS Note “PRS recommended approval of NPRR1090 with Urgency; DSWG to determine if any additional action is needed”
50 | ROS/WMS | Comments | Added WMS Note “NPRR1087 recommended for approval with urgency; DSWG to determine if any additional action is needed”
54 | WMS | Status, Comments | Status updated to Complete Added WMS note “NPRR1081 addressed this item”
62 | WMS | Comments | Added WMS Note “NPRR1087 recommended for approval with urgency; DSWG to determine if any additional action is needed”
93 | ROS/WMS | Comments | Added Other Note “Joint PLWG / SAWG meeting 9/17”
94 | ROS/WMS | Comments | Added Other Note “Joint PLWG / SAWG meeting 9/17”
100 | ROS/WMS | Status, Comments | Updated status to “Complete” Added WMS note “WMWG review of this item is complete”
122 | ROS | Comments | Added ROS Note “ERCOT gathering info on load shed ratios at different time periods and feasibility of more dynamic approach.”