Date:	September 29, 2021

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following SCRs recommended for approval by PRS: - NPRR1082, Emergency Response Service (ERS) Test Exception for Co-located ERS Loads [Enerwise Global Technologies] - NPRR1087, Prohibit Participation of Critical Loads as Load Resources or ERS Resources [ERCOT] - NPRR1090, ERS Winter Storm Uri Lessons Learned Changes and Other ERS Items – URGENT [ERCOT] - NPRR1093, Load Resource Participation in Non-Spinning Reserve – URGENT [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) For NPRRs, ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1082, Emergency Response Service (ERS) Test Exception for Co-located ERS Loads [Enerwise Global Technologies] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $5k (O&M); no impacts to ERCOT staffing; impacts to Data Management & Analytic Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the testing criteria for Emergency Response Service (ERS) Load with obligations no greater than 100 kW that is co-located with an ERCOT Generator. If the ERS Load and ERS Generator are evaluated separately, the ERS Load will be considered to have passed its testing obligations if the ERS Generator meets the combined testing obligations of both the ERCOT Generator and the ERS Load. PRS Decision: On 8/12/21, PRS voted via roll call to recommend approval of NPRR1082 as amended by the 8/6/21 WMS comments. There was one opposing vote from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment, and four abstentions from the Cooperative (STEC) and Independent Generator (3) (Luminant, Exelon, Enel Green Power) Market Segments. On 9/16/21, PRS voted via roll call to endorse and forward to TAC the 8/12/21 PRS Report and Impact Analysis for NPRR1082. There was one opposing vote from the IPM (Morgan Stanley) Market Segment and two abstentions from the Cooperative (STEC) and Independent Generator (Luminant) Market Segments. - NPRR1087, Prohibit Participation of Critical Loads as Load Resources or ERS Resources – URGENT [ERCOT] Proposed Effective Date: November 1, 2021 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR defines “Critical Load” and adds language in Section 3.6.1, Load Resource Participation, to prohibit the registration and participation of such Loads as Load Resources or ERS Resources. The revisions proposed in this NPRR also require any Resource Entity that owns or controls a currently registered Load Resource to ensure and attest that the Load Resource is not located behind an Electric Service Identifier (ESI ID) for a Critical Load, or if it is located behind such an ESI ID, that the Load Resource itself is not the Critical Load or else uses backup generation or another technology that will ensure the Load’s continued availability during an emergency deployment. Any Resource Entity seeking to register a new Load Resource will also be required to submit such an attestation as a condition of registration. This NPRR also requires a Qualified Scheduling Entity (QSE) representing an ERS Resource to ensure and attest that the ERS Resource is not located behind an ESI ID for a Critical Load, or if it is located behind such an ESI ID, that the ERS Resource itself is not the Critical Load or else uses backup generation or another technology that ensures the ERS Resource’s continued availability during emergency deployment. To foreclose the possibility that backup generation supporting one or more Critical Loads could be offered as an ERS Generator, this NPRR also requires the QSE to ensure and attest that the ERS Resource offered does not support a Critical Load. PRS Decision: On 8/12/21, PRS voted via roll call to grant NPRR1087 Urgent status; and to table NPRR1087. There was one opposing vote from the IPM (Morgan Stanley) Market Segment and one abstention from the IPM (Tenaska) Market Segment. On 9/16/21, PRS voted via roll call to recommend approval of NPRR1087 as amended by the 9/3/21 ERCOT comments; and to forward to TAC NPRR1087 and the Impact Analysis. There was one opposing vote from the IPM (Morgan Stanley) Market Segment. The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote. - NPRR1090, ERS Winter Storm Uri Lessons Learned Changes and Other ERS Items – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3360 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Market Operation Systems and Data Management & Analytic Systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR makes a number of revisions pertaining to ERS that addresses items 48 and 102 of TAC’s Emergency Conditions List, including: modifying and clarifying language related to the beginning and end of ERS Contract Periods for ERS renewals; removing the limit on the maximum number of deployments per ERS Contract Period, the three-hour maximum limit per single deployment event, and modifying language related to the cumulative deployment obligation time requirement for Weather-Sensitive ERS Resources; eliminating the options for ERS Resources to be excluded from an ERS deployment event or to exclude intervals from event and availability performance with properly noticed scheduled unavailability and planned maintenance for up to 2% of their obligated intervals without payment reductions; modifying language related to short ERS Contract Period availability calculations for ERS Resources to account for short Contract Periods in which no exhaustion occurs and modifying the formula for the ratio of Availability Factor Hours to the total awarded hours in the ERS Standard Contract Term to include all awarded hours in the Standard Contract Term; removing the requirement to reduce the time-weighting factor for intervals by 25% after eight hours for QSE-level event performance; removing language related to the first full interval of an ERS deployment event from the ERS Resource-level event performance criteria and modifying language related to successful performance during ERS deployment events to satisfy annual testing requirements; removing language related to testing ERS Generators for failing self-tests; and modifying QSE-level event performance to be both time and capacity weighted. PRS Decision: On 9/16/21, PRS voted via roll call to grant NPRR1090 Urgent status; to recommended approval of NPRR1090 as amended by the 9/7/21 WMS comments as revised by PRS; and to forward to TAC NPRR1090 and the Impact Analysis with a recommended priority of 2021 and rank of 3360. There was one opposing vote from the IPM (Morgan Stanley) Market Segment. The IREP Market Segment did not participate in the vote. - NPRR1093, ERS Winter Storm Uri Lessons Learned Changes and Other ERS Items – URGENT [ERCOT] Proposed Effective Date: Upon system implementation – Priority 2021; Rank 3195 ERCOT Impact Analysis: Between $300k and $500k; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Credit, Settlements & Billing Systems, Energy Management Systems, Grid Decision Support Systems, ERCOT Website and MIS System, Content Delivery Systems, and Integration Systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR changes the Protocols to allow Load Resources that are not Controllable Load Resources to provide Non-Spin. The NPRR largely reinstates Protocol requirements that were in place during the first five years of the Nodal market implementation that were subsequently changed to enable Controllable Load Resource participation in Security-Constrained Economic Dispatch (SCED) and Non-Spin. Additionally, it also incorporates market design changes that have been made for the Operating Reserve Demand Curve (ORDC) and Reliability Deployment Price Adder process when deploying Ancillary Services from Load Resources that are not Controllable Load Resources. PRS Decision: On 9/16/21, PRS voted via roll call to grant NPRR1093 Urgent status; to recommend approval of NPRR1093 as amended by the 9/10/21 ERCOT comments as revised by PRS; and to forward to TAC NPRR1093 and the Impact Analysis with a recommended priority of 2021 and rank of 3195. There were three opposing votes from the Cooperative (2) (LCRA, STEC) and Independent Generator (Luminant) Market Segments and seven abstentions from the Cooperative (2) (Golden Spread, Brazos Electric), Independent Generator (2) (Exelon, Calpine), and Municipal (3) (DME, Austin Energy, CPS Energy) Market Segments. Revision Requests Rejected - NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification [Invenergy] Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: This NPRR increases transparency with respect to Generic Transmission Constraints (GTCs) with a large market impact. The information released pursuant to Section 3.10.7.6, Use of Generic Transmission Constraints and Generic Transmission Limits, shall only be accessible to users of the ERCOT Market Information System (MIS) Secure Area. PRS Decision: On 9/16/21, PRS voted via roll call to reject NPRR1056. There were five opposing votes from the Independent Generator (4) (Engie, Invenergy, Enel Green Power, EDP Renewables) and IPM (Morgan Stanley) Market Segments, and four abstentions from the Consumer (Occidental), Independent Generator (Luminant), IPM (Tenaska), and IREP (Just Energy) Market Segments. Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1094, Allow Under Frequency Relay Load to be Manually Shed During EEA3 [Oncor] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR981, Day-Ahead Market Price Correction Process [Luminant] - NPRR1058, Resource Offer Modernization for Real-Time Co-Optimization [Reliant, Luminant, STEC, LCRA, Calpine] - NPRR1067, Market Entry Qualifications, Continued Participation Requirements, and Credit Risk Assessment [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs [ERCOT] - NPRR1084, Improvements to Reporting of Resource Outages and Derates [ERCOT] - NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs) [ERCOT] - NPRR1088, Applying Forward Adjustment Factors to Forward Market Positions and Un-applying Forward Adjustment Factors to Prior Market Positions [Grand Oak Capital Partners] - NPRR1089, Requiring Highest-Ranking Representative, Official, or Officer of a Resource Entity to Execute Weatherization and Natural Gas Declarations [ERCOT] - NPRR1091, Changes to Address Market Impacts of Additional Non-Spin Procurement [Shell] - NPRR1092, Remove RUC Offer Floor [IMM] - SCR816, CRR Auction Bid Credit Enhancement [DC Energy] New Revision Requests Scheduled for Consideration at PRS None at this time These Revision Requests and supporting materials are posted on the ERCOT website at the following links: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr