## Slide 1
HDL/LDL Manual Override Report
WMS
Dave Maggio
Director, Market Design & Analytics
October 6, 2021

## Slide 2: Introduction
Per protocol language section 6.5.7.1.13 (10):
  No sooner than sixty days after the applicable Operating Day, ERCOT shall provide to the appropriate TAC subcommittee instances of manual overrides of HDL or LDL, including the name of the Generation Resource, the reason for the override, and, as applicable, the cost as calculated in Section 6.6.3.7, Real-Time High Dispatch Limit Override Energy Payment.

## Slide 3: Manual Override Driver – DAUSLOS5
Nine Resources had HDL or LDL manual overrides at various times over the period from 2/14/2021 18:55 through 2/15/2021 00:40 for the constraint DAUSLOS5: 190T152_1 which was at its maximum shadow price and exceeded its Relay Loadability Rating.
  WIPOPA_G1
    1 SCED Interval (2/14/2021 18:55-19:00)
    13 SCED Intervals (2/14/2021 20:25 - 21:30)
    32 SCED Intervals (2/14/2021 22:50 – 2/15/2021 00:35)
  WIPOPA_G2
    49 SCED Intervals (2/14/2021 21:55 – 2/15/2021 00:35)
  WIPOPA_G3
    41 SCED Intervals (2/14/2021 22:27 – 2/15/2021 00:35)
  WIPOPA_G4
    37 SCED Intervals (2/14/2021 22:37 – 2/15/2021 00:35)

## Slide 4: Manual Override Driver – DAUSLOS5, continued
  FPPYD1_FPP_G1_J01
    84 SCED Intervals (2/14/2021 19:05 – 2/15/2021 00:40)
  FPPYD1_FPP_G1_J02
    84 SCED Intervals (2/14/2021 19:05 – 2/15/2021 00:40)
  FPPYD1_FPP_G2_J01
    84 SCED Intervals (2/14/2021 19:05 – 2/15/2021 00:40)
  FPPYD1_FPP_G2_J02
    84 SCED Intervals (2/14/2021 19:05 – 2/15/2021 00:40)
  LOSTPI_CC1_2
    83 SCED Intervals (2/14/2021 19:10 – 2/15/2021 00:35)
The costs, as calculated as in Section 6.6.3.7, for these two Operating Days across 7 of 9 of the Resources listed totaled $7.96M

## Slide 5: Manual Override Driver – SWIRFE28
One Resource had HDL manual overrides between 2/18/2021 08:00 and 08:45. The overrides were caused by the overloading of the constraint SWIRFE28: 342T195_1.
  FERG_CC1_2
    9 SCED Intervals (2/18/2021 08:00-08:45)
No costs as calculated in Section 6.6.3.7