## Slide 1: Critical Load Status of Water and Sewer Facilities
October 5, 2021
Rebecca Zerwas, PUCT Director of market analysis

## Slide 2: Senate Bill 3, 87th Legislature, Regular Session Water Utility Filing Requirements
By November 1, 2021, water and wastewater utilities must provide notice to the following entities regarding facilities that qualify for critical load status:
  Public Utility Commission of Texas (PUCT);
  Statewide, the transmission and distribution electric utility for each facility;
  In competitive areas, the REP for each facility;
  For each county where a facility qualifies for critical load status, the office of emergency management; and
  The Texas Division of Emergency Management (TDEM).
Notice will include information regarding the utility’s facilities and emergency contacts.
The water and wastewater utilities must provide annual updates to the electric utility and REP.
The filing requirements applies to “affected utilities” under Texas Water Code (TWC) §13.1394.
PUCT’s Department of Utility Outreach is available to answer water utility questions.

## Slide 3: Senate Bill 3, 87th Legislature, Regular Session Electric Utility and REP Impacts
  TWC §13.1396 requires the electric utility and REP to accept the critical load information and determine whether the facilities qualify for critical load status under rules adopted by the PUCT.
  Texas Admin. Code (TAC) §25.497 provides guidance regarding Critical Load Public Safety Customers, which includes critical water and wastewater facilities (see also §25.52 and §25.53).
  TWC §13.1396 states, that if an electric utility determines that a water or wastewater utility's facilities do not qualify for critical load status, the electric utility and the REP must notice the customer and the office of emergency management of each county where the customer has facilities within 30 days of receiving the critical load request.
  Designation as a Critical Load Customer does not guarantee the uninterrupted supply of electricity.
  Note, the PUCT does not have critical load forms or determination criteria for REPs, the obligation is on the electric utility

## Slide 4: Questions
Rebecca Zerwas
Email: Rebecca.Zerwas@puc.texas.gov
?
PUCT Department of Utility Outreach
Email: DUO@puc.texas.gov