## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
10/07/2021

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT is still assessing framework needed before changes to Stage 1 UFLS could be made
Tabled

## Slide 4: Emergency Condition list #5 NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  Concerns raised on having enough personnel to provide the updates in the timeline required in the comments filed
  Comments have been submitted and will be reviewed at next OWG

## Slide 5: Emergency Condition list #6 NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  Comments have been submitted and will be reviewed at next OWG

## Slide 6: Emergency Condition list # 122
Dynamic Load Shed Tables
  Senate Bill 3 sets new requirements
  No recommendations from OWG
  OWG considers this item complete

## Slide 7: Emergency Condition list # 49, 73
49 - Energy Emergency Alert: Review EEA rules and assess if any changes are warranted.
73 - Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events?
  No new information to report on these items

## Slide 8: Emergency Condition list # 86
Review constraint management process: How much generation was curtailed for congestion including GTCs during EEA?
  Joint meeting with CMWG concluded that current ERCOT procedures provides guidance on constraining to a 15 minute rating or a single contingency during an EEA event
  NSA Inactive and Active Constraint reports posted on MIS provides the market visibility on constraints impacted.
  Based on discussions at joint meeting, OWG considers this item complete

## Slide 9: Emergency Condition list #128
Using Instant Messaging during EEA Events
  A draft SCR was presented and discussed
  Additional information on requirements are gathered to include in the SCR