| PGRR Number | 094 | PGRR Title | Clarify Notification Requirement for Generator Construction Commencement or Completion |
| --- | --- | --- | --- |
| Date of Decision |  | September 29, 2021 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2022; Rank – 3540 |  |
| Planning Guide Sections Requiring Revision |  | 5.3.2, Modifications to Request Declarations of Resource Data Accuracy |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) aligns Section 5.3.2 with current practices by greyboxing item (7)(c), which requires submission of project construction start and completion dates, until system implementation in the Resource Integration and Ongoing Operations (RIOO) – Integration Services system. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Due to spotty compliance with the construction start and completion date reporting requirement, ERCOT decided to not enforce the submission of these dates until the functionality to submit them in the RIOO-IS system was fully implemented. Due to continued implementation delays, ERCOT has decided to greybox item (7)(c) of Section 5.3.2, such that construction date reporting is no longer required until the functionality has been implemented. This greyboxing is intended to eliminate Interconnecting Entity (IE) confusion regarding when and how construction start and completion dates are to be provided to ERCOT. System implementation will also trigger reporting of the construction dates in the monthly Generator Interconnection Status reports. It should also be noted that PGRR082, Revise Section 5 and Establish Small Generation Interconnection Process, created parallel language in item (6)(c) of Section 5.2.5, Duty to Update Project Information and Respond to ERCOT and TDSP Requests for Information, which should also remain greyboxed until implementation of the necessary functionality in RIOO-IS. If other portions of PGRR082 were to be implemented prior, details about the partial implementation will be provided in a Market Notice. |  |
| ROS Decision |  | On 8/5/21, ROS voted unanimously via roll call to recommend approval of PGRR094 as submitted. All Market Segments participated in the vote. On 9/2/21, ROS voted unanimously via roll call to endorse and forward to TAC the 8/5/21 ROS Report and the Revised Impact Analysis for PGRR094 with a recommended priority of 2022 and rank of 3540. All Market Segments participated in the vote. |  |
| Summary of ROS Discussion |  | On 8/5/21, ERCOT staff provided an overview of PGRR094. On 9/2/21, participants reviewed the Revised Impact Analysis for PGRR094 and considered priority and rank. |  |
| TAC Decision |  | On 9/29/21, TAC voted unanimously via roll call to recommend approval of PGRR094 as recommended by ROS in the 9/2/21 ROS Report; and the Revised Impact Analysis. All Market Segments participated in the vote. |  |
| Summary of TAC Discussion |  | On 9/29/21, TAC reviewed the ERCOT Opinion and ERCOT Market Impact Statement for PGRR094. |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR094. |  |
| ERCOT Market Impact Statement |  | ERCOT Staff has reviewed PGRR094 and believes the market impact for PGRR094 improves efficiency by aligning the Planning Guide with current practices and removes a potential source of confusion regarding when and how to submit data required for the generator interconnection process. |  |

| Sponsor |  |
| --- | --- |
| Name | Pete Warnken |
| E-mail Address | Pete.Warnken@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6705 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Phillip Bracy |
| E-Mail Address | Phillip.Bracy@ercot.com |
| Phone Number | 512-248-6917 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Guide Language Revision

5.3.2	Modifications to Request Declarations of Resource Data Accuracy

(1)	The IE shall maintain communication with ERCOT and the assigned TSP at all stages of the generation interconnection process by updating its contact information for the GINR process and in the Resource Registration process.  Failure to do so may result in GINR cancellation as described in Section 5.7.7, Cancellation of a Project Due to Failure to Comply with Requirements.  As soon as possible, but no later than ten Business Days after any relevant change, the IE shall submit a change request via the online RIOO system to communicate any revisions that would affect the technical attributes and/or timeline of the project.  The TSP will receive a RIOO system automated email when ERCOT reviews and acknowledges the change.

(2)	The IE shall update the Resource Registration data as soon as possible, but no later than ten Business Days, following any change to the proposed facility and shall submit the updated information via the online RIOO system.  This obligation to update continues even after any interconnection agreement is signed.

(3)	Twice each year, each IE that has submitted an FIS request shall submit via the online RIOO system, for each proposed facility, the declaration in Section 8, Attachment A, Declaration of Resource Data Accuracy, stating that, as of the date of submission, the most recently submitted data on the current version of the Resource Registration form accurately reflects the anticipated characteristics of the proposed Resource and that the contact information is correct.  The declaration shall be executed by an officer or other person having authority to bind the company and shall be submitted via the online RIOO system.  Each IE shall submit one declaration for each project no earlier than March 1 and no later than March 15 each year, and shall submit another declaration for each proposed facility no earlier than September 1 and no later than September 15 each year.  Failure to submit a declaration may result in a GINR cancellation as described in Section 5.7.7.

(4)	If, after receipt of updated Resource Registration data, ERCOT or the TSP determines that any subsequent changes to the project may affect the reliable operation of the ERCOT System or otherwise warrant new studies, then ERCOT may require additional studies to be performed before the proposed Generation Resource or Settlement Only Generator (SOG), is allowed to interconnect to the ERCOT System.  The IE and TSP(s) shall develop a schedule for completing the additional studies.  The TSP shall provide the FIS studies to ERCOT and the other TSPs via the online RIOO system.  If these additional studies show that the project would not meet the operational standards specified in the Protocols, this Planning Guide, the Operating Guides, or Other Binding Documents, ERCOT may require the IE to demonstrate its compliance with these standards as a condition for energization of the proposed Generation Resource or SOG.

(5)	If the IE increases the requested amount of capacity of the proposed Generation Resource or SOG by more than 20% of the amount requested in the initial application, ERCOT shall require the IE to submit a new GINR for the additional capacity or for the entire project.  ERCOT may, at its discretion, require the IE to submit a new GINR for significant capacity decreases or capacity increases of less than 20%, particularly if other changes to the request are also made, such as changes to the Commercial Operations Date.  ERCOT’s determination as to whether new studies are needed in no way affects the ongoing obligations of the IE and TSP to comply with North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, this Planning Guide and the Operating Guides.

(6)	Within ten Business Days, the IE shall notify ERCOT and the relevant TSP(s) of any change in ownership and shall provide conclusive documentary evidence of the ownership change (such as a purchase/sale agreement or a document executed by both parties confirming the transaction) via the online RIOO system.  TSPs will receive a RIOO system automated email when ERCOT reviews and acknowledges the change.  The new owner shall acknowledge the sale by submitting the Resource Registrations data showing the contact information for the new owners within 60 days.  Failure to do so may result in a GINR cancellation as described in Section 5.7.7.

(7)	To support ERCOT resource adequacy and NERC reliability assessment reporting requirements, the IE shall enter into the online RIOO system the following information for the proposed Generation Resource or SOG as soon as possible, but in no event later than ten Business Days after the information is available or has been updated:

(a)	Revisions to the initial projected Commercial Operations Date; and

(b)	Notification if any required air permits have been issued or permit applications have been withdrawn;

tion and dated.

[PGRR094: Insert item (c) below upon system implementation:] (c) Notification and dates for when generator construction has commenced or been completed.

[PGRR082: Delete Section 5.3.2 above upon system implementation.]