## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for September 2021

## Slide 2: Non-IRR GREDP < 85% – September 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 315 | 158 | 197 | 1.38 | 80.20
Unit 360 | 0 | 4 | 0.80 | 0.00

## Slide 3: IRR Summary – September 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 96.82 | 77.39 | 82.01
GREDP Median (%) | 4.49 | 4.85 | 4.54
Average MW Error | 4.07 | 4.47 | 3.94
Median MW Error | 26,756 | 10,386 | 9,072
Total Intervals Scored | 92 | 179 | 38
100+ Intervals Scored | 97.29 | 129.83 | 238.74
Total Intervals Scored Average | 96.82 | 77.39 | 82.01

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Sept. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 1,600 | 1,617 | 11.38 | 98.95
Unit 2 | 850 | 885 | 3.83 | 96.05
Unit 3 | 771 | 785 | 13.52 | 98.22
Unit 4 | 731 | 749 | 3.49 | 97.60
Unit 6 | 689 | 691 | 3.85 | 99.71
Unit 10 | 475 | 477 | 1.97 | 99.58
Unit 11 | 475 | 476 | 2.33 | 99.79
Unit 12 | 447 | 462 | 1.13 | 96.75
Unit 13 | 447 | 448 | 2.50 | 99.78
Unit 14 | 435 | 435 | 6.41 | 100.00
Unit 16 | 417 | 424 | 3.69 | 98.35
Unit 17 | 350 | 363 | 1.53 | 96.42
Unit 18 | 348 | 353 | 3.56 | 98.58
Unit 20 | 340 | 349 | 3.40 | 97.42
Unit 21 | 335 | 346 | 1.53 | 96.82
Unit 22 | 307 | 321 | 1.76 | 95.64
Unit 24 | 293 | 296 | 3.27 | 98.99
Unit 25 | 290 | 295 | 1.90 | 98.31

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Sept. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 26 | 293 | 293 | 0.81 | 100.00
Unit 27 | 291 | 291 | 4.37 | 100.00
Unit 28 | 286 | 291 | 1.76 | 98.28
Unit 31 | 266 | 269 | 3.21 | 98.88
Unit 32 | 266 | 268 | 5.05 | 99.25
Unit 34 | 261 | 265 | 6.43 | 98.49
Unit 38 | 213 | 220 | 6.31 | 96.82
Unit 43 | 205 | 205 | 4.74 | 100.00
Unit 46 | 192 | 192 | 4.96 | 100.00
Unit 48 | 175 | 180 | 7.74 | 97.22
Unit 49 | 177 | 177 | 4.59 | 100.00
Unit 50 | 172 | 176 | 6.41 | 97.73
Unit 54 | 168 | 174 | 5.16 | 96.55
Unit 55 | 168 | 169 | 3.14 | 99.41
Unit 57 | 156 | 163 | 3.47 | 95.71
Unit 58 | 148 | 155 | 3.98 | 95.48
Unit 61 | 152 | 152 | 3.17 | 100.00
Unit 63 | 148 | 150 | 2.05 | 98.67

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Sept. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 65 | 142 | 144 | 4.06 | 98.61
Unit 66 | 138 | 140 | 3.26 | 98.57
Unit 68 | 128 | 134 | 6.31 | 95.52
Unit 69 | 126 | 132 | 9.10 | 95.45
Unit 71 | 127 | 130 | 9.61 | 97.69
Unit 72 | 127 | 128 | 6.95 | 99.22
Unit 74 | 124 | 125 | 1.34 | 99.20
Unit 75 | 123 | 124 | 1.55 | 99.19
Unit 78 | 110 | 113 | 5.34 | 97.35
Unit 80 | 109 | 111 | 1.02 | 98.20
Unit 81 | 108 | 111 | 1.80 | 97.30
Unit 83 | 107 | 110 | 1.75 | 97.27
Unit 85 | 108 | 109 | 2.99 | 99.08
Unit 86 | 106 | 109 | 1.21 | 97.25
Unit 87 | 106 | 107 | 4.02 | 99.07
Unit 89 | 105 | 106 | 11.11 | 99.06
Unit 90 | 101 | 104 | 4.08 | 97.12
Unit 91 | 102 | 103 | 4.10 | 99.03

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – Sept. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 5 | 664 | 700 | 2.88 | 94.86
Unit 7 | 615 | 682 | 3.88 | 90.18
Unit 8 | 442 | 584 | 4.55 | 75.68
Unit 9 | 354 | 574 | 6.40 | 61.67
Unit 15 | 384 | 434 | 2.21 | 88.48
Unit 19 | 324 | 350 | 1.21 | 92.57
Unit 23 | 254 | 316 | 3.70 | 80.38
Unit 29 | 217 | 280 | 4.83 | 77.50
Unit 30 | 226 | 277 | 2.14 | 81.59
Unit 33 | 206 | 265 | 2.71 | 77.74
Unit 35 | 218 | 246 | 4.29 | 88.62
Unit 36 | 171 | 228 | 2.28 | 75.00
Unit 37 | 43 | 222 | 3.02 | 19.37
Unit 39 | 151 | 219 | 3.37 | 68.95
Unit 40 | 132 | 218 | 7.08 | 60.55
Unit 41 | 199 | 212 | 7.68 | 93.87
Unit 42 | 110 | 208 | 4.78 | 52.88
Unit 44 | 190 | 205 | 4.64 | 92.68

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Sept. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 45 | 181 | 194 | 2.65 | 93.30
Unit 47 | 149 | 182 | 13.02 | 81.87
Unit 51 | 162 | 176 | 4.61 | 92.05
Unit 52 | 49 | 175 | 11.12 | 28.00
Unit 53 | 124 | 174 | 2.81 | 71.26
Unit 56 | 153 | 168 | 1.21 | 91.07
Unit 59 | 121 | 154 | 4.46 | 78.57
Unit 60 | 140 | 153 | 2.13 | 91.50
Unit 62 | 140 | 151 | 3.68 | 92.72
Unit 64 | 142 | 150 | 6.93 | 94.67
Unit 67 | 129 | 137 | 2.94 | 94.16
Unit 70 | 90 | 131 | 4.01 | 68.70
Unit 73 | 97 | 127 | 2.01 | 76.38
Unit 76 | 113 | 122 | 1.95 | 92.62
Unit 77 | 96 | 116 | 7.21 | 82.76
Unit 79 | 92 | 112 | 9.05 | 82.14
Unit 82 | 61 | 111 | 10.46 | 54.95
Unit 84 | 15 | 110 | 0.76 | 13.64

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Sept. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 88 | 91 | 107 | 5.61 | 85.05
Unit 92 | 94 | 102 | 4.33 | 92.16