## Slide 1: RUCing Self Committed units
WMWG – 10/25/21

## Slide 2: ERCOT RUC of Stryker Creek Unit 2 on 10/13
Luminant submitted a COP with ON resource status for HE 14-19 at 7:21 AM
Luminant Received a RUC instruction for HE 14-20 at 7:24
Luminant Operators informed ERCOT that the Unit was online in COP
ERCOT stated that the ERCOT tool “does not see the unit as online” until the top of the hour after a new COP is submitted
ERCOT refused to cancel the RUC and required Luminant to opt-out of the RUC to keep the unit self committed and avoid claw back

## Slide 3: Moving Forward
How frequently should ERCOT systems be updated, so that RUC dispatch instructions are not sent to a self committed unit?
Do we need Protocols that require ERCOT operators to cancel RUC instruction if this occurs?
Are there other similar issues where RUC is removing the ability to self commit?
This is a major issue as ERCOT is currently using RUC to procure excess reserves.