## Instruction
2020-21 Winter Seasonal Risk Scenario Data Form
Year
2020-21 Winter
Version
Manual Data Entry Required
Manual Data Entry Optional
No Data Entry
Description
Data Provided (Do Not Modify)

## S2-Seasonal Risk Scenario
Demand Scenarios
| Unit | 2021-22 Winter | Description
Seasonal Load Adjustment | MW | 14799 | Additional load based on extreme weather conditions (e.g., Polar Vortex forecasted load)
Extreme winter peak load | MW | 76800 | Sum of Net Internal Demand and Seasonal Load Adjustment
Demand side resource derate in extreme conditions | MW | 0 | Operational adjustment for behind the meter demand response that is accounted for in normal conditions (optional winter data form row 9; or LTRA Summary Worksheet Row 6) but may potentially not show up. Enter a positive value that should be added to Net Internal Demand for an extreme winter scenario, or enter "0" if no derates for demand side resources should be applied.
Additional demand-side resources in extreme conditions | MW | 0 | Operational adjustment for behind the meter demand response that is not accounted for in normal conditions (optional winter data form row 9; or LTRA Summary Worksheet Row 6) but may be called on in extreme conditions. Enter a positive value that should be subtracted from Net Internal Demand for an extreme winter scenario, or enter 0 if no additional demand side resources are anticipated.
Resource Scenario
| Unit | 2021-22 Winter | Description
Typical Maintenance Outages | MW | 1565.4658 | Based on historical average of maintenance outages for a specified period/conditions, (e.g., average of maintenance outages for December through February weekdays, over the past three years) or area-specific methodology for determining anticipated maintenance outages
Typical Forced Outages (Non-intermittent resources) | MW | 7412.3415 | Based on historical average of forced outages for a specified period/conditions (e.g., average of forced outages for December through February weekdays, over the past three years), or area-specific methodology for determining anticipated forced outages
Derates for Extreme Conditions, Thermal | MW | 17990.6585 | Capacity derate for thermal resources for extreme conditions. The derate accounts for reduced capacity contributions due to forced outages, reduced generator performance, and fuel limitations, as applicable, under conditions similar to the historical extreme event(s).
Derates for Extreme Conditions, Wind | MW | 7927 | Capacity derate for wind resources for extreme conditions. The derate accounts for reduced capacity contributions due to forced outages, reduced generator performance, and prime-mover under conditions similar to the historical extreme event(s).
Derates for Extreme Conditions, PV | MW | 663 | Capacity derate for PV resources for extreme conditions. The derate accounts for reduced capacity contributions due to forced outages, reduced unit performance, and loss of energy under conditions similar to the historical extreme event(s).
Derates for Extreme Conditions, Other | MW | 1499 | Capacity derate for other resources for extreme conditions. The derate accounts for reduced capacity contributions to other resources or for any other reasons not specified above under conditions similar to the historical extreme event(s).
Other capacity risk adjustment | MW | 0 | Assessment area specific consideration. A resource capacity adjustment (positive or negative) for the historical extreme event(s) that is not covered in the resource derate above.
Operational procedures used to mitigate extreme conditions | MW | 1034 | Provide the MW value of mitigation due to operational procedures/emergency procedures that would be employed in extreme conditions, if applicable
Required Reserves - Reliability Coord or other operating entity | MW | 1000 | Expected operating reserve requirement on peak from operating entity (e.g., Reliability Coordinator, ISO/RTO)

## S3-Risk Hour Scenario
Assessment Areas for which studies or operating experience indicate that the risk of resource shortfall during non-peak periods is similar or greater than the risk during the peak demand hour should provide information for this assessment using Form S3. Other assessment areas with findings of interest are encouraged to complete form S3 but are not required to do so for the WRA.
Demand Scenarios
| Unit | 2021-22 Winter | Description
Risk Hour | Local Hour |  | The hour of local time, and AM or PM, that marks the end the 60-minute period for which values in this data form are based (e.g. Risk Hour 1:00 P.M. covers the 60 minutes that precedes 1:00 p.m. local time)
Forecasted Net Internal Demand | MW |  | Peak Total of all end-use customer demand and electric system losses within specified metered boundaries, reduced by the projected impacts of Controllable and Dispatchable Demand Response programs for the risk hour.
Seasonal Load Adjustment | MW |  | Additional load based on extreme weather conditions (e.g., Polar Vortex forecasted load) for the risk hour
Extreme winter peak load | MW | 0 | Sum of Forecasted Net Internal Demand and Seasonal Load Adjustment
Resource Scenario
| Unit | 2021-22 Winter | Description
Anticipated Resources | MW |  | Enter the MW value of the total contribution of Existing-Certain Resources, Net Firm Transfers, plus Tier 1 Resources at the risk hour. This value may differ from on-peak anticipated resource capacity because the contribution of some resource types may be different at the risk hour.
Net Firm Transfers | MW |  | Enter the MW value of expected Net Firm Transfers at the risk hour (i.e., the portion of Anticipated Resources above that is attributed to Firm Transfers)
Typical Maintenance Outages | MW |  | Based on historical average of maintenance outages for a specified period/conditions, (e.g., average of maintenance outages for December through February weekdays, over the past three years) or area-specific methodology for determining anticipated maintenance outages. If the value reported for Anticipated Resources for the Risk Hour above already accounts for Typical Maintenance Outages, leave blank
Typical Forced Outages (non-intermittent resources) | MW |  | Based on historical average of forced outages for a specified period/conditions (e.g., average of forced outages for December through February weekdays, over the past three years), or area-specific methodology for determining anticipated forced outages. If the value reported for Anticipated Resources for the Risk Hour above already accounts for Typical Maintenance Outages, leave blank
Derates for Extreme Conditions, Thermal | MW |  | Capacity derate for thermal resources for extreme conditions. The derate accounts for reduced capacity contributions due to forced outages, reduced generator performance, and fuel limitations, as applicable, under conditions similar to the historical extreme event(s).
Derates for Extreme Conditions, Wind | MW |  | Capacity derate for wind resources for extreme conditions. The derate accounts for reduced capacity contributions due to forced outages, reduced generator performance, and prime-mover under conditions similar to the historical extreme event(s).
Derates for Extreme Conditions, PV | MW |  | Capacity derate for PV resources for extreme conditions. The derate accounts for reduced capacity contributions due to forced outages, reduced unit performance, and loss of energy under conditions similar to the historical extreme event(s).
Derates for Extreme Conditions, Other | MW |  | Capacity derate for other resources for extreme conditions. The derate accounts for reduced capacity contributions to other resources or for any other reasons not specified above under conditions similar to the historical extreme event(s).
Other capacity risk adjustment | MW |  | Assessment area specific consideration. A resource capacity adjustment (positive or negative) for the historical extreme event(s) that is not covered in the resource derate above.
Operational procedures used to mitigate extreme conditions. | MW |  | Provide the MW value of mitigation due to operational procedures/emergency procedures that would be employed in extreme conditions, if applicable.