## Slide 1: Congestion Management Working Group
November 3, 2021
Katie Rich, Chair
Andy Nguyen, Vice Chair

## Slide 2: RUC for Congestion on September 21
On September 21, ERCOT reported that nine resources were committed
ERCOT reported unsolved contingencies in the Houston area due to lack of reactive support
There were also restricted flows on the West Texas GTC due to outages
With the lack of generation on the system, the operator chose to RUC generation to resolve voltage issues
As a follow-up, ERCOT will be bringing back a study to address the operational issue in West Texas, SCED impacts to RUC’d resources, and a comparison of the RUC load forecast vs. the actual load forecast

## Slide 3: Improving the CRR Auction Model
A stakeholder presented concerns about the current long-term auction models
The main issue is short-term derates are being included in long-term auctions
Four options were presented:
  Include an estimated end date for NOMCR submissions
  Require TSPs to submit a corresponding NOMCR to bring the derated line back
  Include a flag that designs a line outage as temporary
  Using outage scheduler data to include in models since it has a state and end date
ERCOT offered to provide a ranking of least to most costly solutions for the November meeting

## Slide 4: Next Meeting: November 15
Improving the CRR Auction Model
RUCs for Congestion

## Slide 5: Questions?