APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

Webex Only

Thursday, September 2, 2021 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Alvarez, Eli | Brownsville PUB |  |
| Ayers-Brasher, Jennifer | RWE Renewables |  |
| Bowen, Kenneth | CPS Energy |  |
| Cochran, Seth | DC Energy |  |
| Ebrahimian, Reza | Austin Energy |  |
| Evans, Doug | South Texas Electric Cooperative |  |
| Farhangi, Anoush | Demand Control 2 |  |
| Greer, Clayton | Morgan Stanley |  |
| Goff, Eric | OPUC | Alt. Rep. for Shawnee Claiborn-Pinto |
| Hudson, Tony | Texas-New Mexico Power |  |
| Kroskey, Tony | Brazos Electric Power Cooperative |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Lee, Billy | Garland Power and Light |  |
| Marr, Daniel | Lower Colorado River Authority |  |
| Matt, Kevin | Reliant |  |
| Nashawati, Eithar | Oncor |  |
| Reed, Cyrus | Sierra Club |  |
| Reid, Mike | Air Liquide |  |
| Rich, Katie | Golden Spread Electric Cooperative |  |
| Smith, Chase | Southern Power Co |  |
| Staples, Boone | Tenaska Power Services |  |
| Valagura, Bill | Calpine Corporation |  |
| Woitt, Wes | CenterPoint Energy |  |

The following proxies were assigned:

- Lori Simpson to Bill Valagura

- Resmi Surendran to Seth Cochran

| - Guests: |  |  |  |
| --- | --- | --- | --- |
| Ahn, Sirius | Oncor |  |  |
| Ainspan, Malcolm | NRG |  |  |
| Alford, Anthony | CenterPoint Energy |  |  |
| Brandin, Samuel | Able Grid Energy |  |  |
| Bruce, Mark | Cratylus Advisors |  |  |
| Calcagni, Anthony | DC Energy |  |  |
| Chhajed, Pushkar | Lower Colorado River Authority |  |  |
| Chilton, Tamme | CenterPoint Energy |  |  |
| Cloninger, Ross | Texas New Mexico Power |  |  |
| Cook, Tim | CTT |  |  |
| Cortinas, Cesar Augusto | Brownsville PUB |  |  |
| De Arizon, Maria | CenterPoint Energy |  |  |
| Dewitt, Charles | PEC |  |  |
| Donohoo, Kenneth | EPE |  |  |
| Downey, Marty | Jupiter Power |  |  |
| Easton, Eric | CenterPoint Energy |  |  |
| Floyd, Rickey | Oncor |  |  |
| Greaff, Venona | Oxy |  |  |
| Gross, Blake | AEPSC |  |  |
| Hanson, Kevin | National Grid |  |  |
| Henry, Mark | Texas Reliability Entity |  |  |
| Henson, Martha | Oncor |  |  |
| Jablonski, Edward | CenterPoint Energy |  |  |
| Jackson, Jimmy | CPS Energy |  |  |
| Johnson, Anthony | CenterPoint Energy |  |  |
| Jowlabar, Nicholas | RWE |  |  |
| Jung, Sam | Oncor |  |  |
| Khayat, Maribel | CenterPoint Energy |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative |  |  |
| Kremling, Barry | GVEC |  |  |
| Liang, Chu | Wind Energy of Texas |  |  |
| Lotter, Eric | GridMonitor |  |  |
| Loyferman, Larisa | CenterPoint Energy |  |  |
| Martin, Collin | Oncor |  |  |
| Mathew, Shirley | Austin Energy |  |  |
| McClellan, Suzi | Good Company Associates |  |  |
| Morris, Sandy | Customized Energy Solutions |  |  |
| Mulholland, Chad | NRG |  |  |
| Nagarajan, Ramya | LS Power |  |  |
| Narvarte, John | NBU |  |  |
| Nguyen, Andy | Lower Colorado River Authority |  |  |
| Penney, David | Texas Reliability Entity |  |  |
| Phillips, Cody | Enel North America |  |  |
| Price, Chris | 61 Commodities |  |  |
| Rainwater, Kim | Lower Colorado River Authority |  |  |
| Ramaswamy, Ramya | PUCT |  |  |
| Reed, Ronald | CenterPoint Energy |  |  |
| Reid, Walter | Advanced Power Alliance |  |  |
| Roberts, Vincent | TNMP |  |  |
| Rivers, Joshua | Pedernales Electric Cooperative |  |  |
| Sauter, Megan | Oncor |  |  |
| Shu, Tony | DC Energy |  |  |
| Siddiqi, Shams | Crescent Power Consulting |  |  |
| Sithuraj, Murali | Austin Energy |  |  |
| Smith, Caitlin | AB Power Advisors |  |  |
| Tovar, Mathew | Oncor |  |  |
| Turner, Lucas | South Texas Electric Cooperative |  |  |
| Uy, Manny | Hunt Energy |  |  |
| Varnell, John | Tenaska Power Services |  |  |
| Velasquez, Ivan | Oncor |  |  |
| Walke, Pranil | Calpine |  |  |
| Wang, Zhenhua | AEP |  |  |
| White, Lauri | AEP |  |  |
| Williams, Scot | Oncor |  |  |
| Wittmeyer, Bob | Longhorn Power |  |  |
| Yatar, J-M | CenterPoint Energy |  |  |
| ERCOT Staff: |  |  |  |
| Albracht, Brittney |  |  |  |
| Allgeier, Mike |  |  |  |
| Anderson, Troy |  |  |  |
| Bernecker, John |  |  |  |
| Billo, Jeff |  |  |  |
| Blevins, Bill |  |  |  |
| Bonser, Drew |  |  |  |
| Boren, Ann |  |  |  |
| Bracy, Phil |  |  |  |
| Cheng, Yunzhi |  |  |  |
| Clifton, Suzy |  |  |  |
| Cyphers, Darrell |  |  |  |
| Daryabak, Mehdi |  |  |  |
| Day, Betty |  |  |  |
| Garcia, Freddy |  |  |  |
| Gnanam, Prabhu |  |  |  |
| Guiyab, Rochie |  |  |  |
| Hartmann, Jimmy |  |  |  |
| Huang, Fred |  |  |  |
| Kang, Sun Wook |  |  |  |
| Lee, Alex |  |  |  |
| Lee, Raymund |  |  |  |
| Mago, Nitika |  |  |  |
| Mantena, Dan |  |  |  |
| Meier, Eric |  |  |  |
| Miller, Megan |  |  |  |
| Neiberger, Valery |  |  |  |
| Nikouei, Farhad |  |  |  |
| Pedigo, Jake |  |  |  |
| Phillips, Cory |  |  |  |
| Sanchez, Daniel |  |  |  |
| Sanchez, Lilia |  |  |  |
| Sharma, Sandip |  |  |  |
| Solis, Stephen |  |  |  |
| Stice, Clayton |  |  |  |
| Thompson, Chad |  |  |  |
| Thuerwaechter, Kashia |  |  |  |
| Wang, Shawn |  |  |  |
| Williams, Leslie |  |  |  |
| Wolf, Craig |  |  |  |
| Woodfin, Dan |  |  |  |
| Xiao, Hong |  |  |  |
| Yan, Ping |  |  |  |

Unless otherwise indicated, all Market Segments were participating in the votes.

Chase Smith called the September 2, 2021 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

There were no changes to the agenda.

- Approval of Meeting Minutes (see Key Documents)

- August 5, 2021

Market Participants reviewed the August 5, 2021 ROS meeting minutes.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Smith reviewed the disposition of items considered at the August 27, 2021 TAC meeting, including clarifications to the Emergency Conditions List, Resource Registration Glossary Revision Request (RRGRR) 030, Allow New Voltage Levels in Resource Registration Information, modifications to the Electric Reliability Council of Texas Technical Advisory Committee Procedures to codify quorum and voting participation requirements for TAC and TAC Subcommittee hybrid remote/in-person meetings, and the sunset of the Real-Time Co-Optimization Task Force (RTCTF).  Mr. Smith noted to comply with Senate Bill 2 ERCOT Staff will develop Market Impact Statements for Revision Requests that will be considered by the ERCOT Board and Public Utility Commission of Texas (PUCT), and that TAC will review these statements.  Mr. Smith summarized the discussion on the Ancillary Services analyses and changes in requirements and noted that since September 1, 2021 ERCOT is procuring additional Non-Spinning Reserve (Non-Spin) only for hours determined are high risk on high forecast variability days.

- ERCOT Reports (see Key Documents)

- Operations Report

- Freddy Garcia reviewed the July 2021 Operations Report, presented a draft version to include Solar generation as requested at the August 5, 2021 ROS meeting, and encouraged Market Participants to contact himself or Nitika Mago for additional revisions.  There were no objections to the revised report format.

- System Planning Report

- Ping Yan presented the July 2021 System Planning Report.

Generic Transmission Constraint (GTC) Update

Yunzhi Cheng presented recent GTC updates.

2021 Under-Frequency Load Shedding (UFLS) Survey Results

Daniel Sanchez presented findings of the 2021 UFLS survey.

May 9, 2021 Loss of Generation Event

Stephen Solis summarized the May 9, 2021 loss of generation event, reviewed the preliminary findings and system impacts, and presented Next Steps.

ROS Revision Requests (See Key Documents)

Impact Analyses Review

Planning Guide Revision Request (PGRR)093, Replace Inadvertent Deletions in Section 5

Market Participants reviewed the Impact Analysis for PGRR093.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

PGRR094, Clarify Notification Requirement for Generator Construction Commencement or Completion

Market Participants reviewed the Revised Impact Analysis and considered the appropriate priority and rank for PGRR094.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Nodal Operating Guide Revision Request (NOGRR) 223, Add Phasor Measurement Recording Equipment Requirement to Modified Generating Facilities in Interconnection Process

Market Participants reviewed the Revised Impact Analysis for NOGRR223.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

NOGRR230, WAN Participant Security

Mike Allgeier summarized NPRR230 and requested ROS table it in anticipation of pending ERCOT clarifications.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR231, Update ERCOT Regional Map

Jimmy Hartmann summarized NOGRR231.  Market Participants requested additional specificity in labeling of the graphic to clarify areas with ERCOT transmission and generation facilities versus areas with Load being served by other Independent System Operators (ISOs).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

ROS took no action on this item.

Planning Working Group (PLWG) (see Key Documents)

Charles DeWitt reviewed PLWG activities, including updates to the Emergency Conditions List.

NPRR1056, Market Impact Generic Transmission Constraint (GTC) Notification

Mr. DeWitt summarized NPRR1056 discussion at the August 17, 2021 PLWG meeting, noted the 6/4/21 WMS comments, and stated that the sponsor anticipates additional clarifications.  Some Market Participants expressed concern that clarifications to NPRR1056 had not been submitted since requested at the August 5, 2021 ROS meeting.

Dennis Kunkel moved to recommend the Protocol Revision Subcommittee (PRS) reject NPRR1056.  Wes Woitt seconded the motion.  The motion carried via roll call vote with five objections from the Consumer (Sierra Club), Independent Generator (2) (RWE, Southern), Independent Power Marketer (IPM) (2) (Morgan Stanley, Tenaska) Market Segments, and four abstentions from the Consumer (Air Liquide), Independent Generator (2) (Exelon, Calpine), and Municipal (Brownsville PUB) Market Segments.  (Please see ballot posted with Key Documents.)

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities, including updates to the Emergency Conditions List.

NOGRR215, Limit Use of Remedial Action Schemes

NOGRR226, Revision to 5% Transmission Operator (TO) Load Shedding Relay Point

NPRR1084, Improvements to Reporting of Resource Outages and Derates

NPRR1085, Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)

ROS took no action on these items.

NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

PGRR092, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

RRGRR029, Related to NPRR1077, Extension of Self-Limiting Facility Concept to Settlement Only Generators (SOGs) and Telemetry Requirements for SOGs

Mr. Floyd summarized discussion at the August 19, 2021 OWG meeting, noted that at the September 1, 2021 Wholesale Market Subcommittee (WMS) meeting WMS endorsed NPRR1077 as amended by the 8/16/21 ERCOT comments, and stated that OWG was in consensus to support NPRR1077 as amended by the 8/16/21 ERCOT comments, PGRR092, and RRGRR029.  Mr. Smith noted these items could be considered for inclusion in the Combined Ballot.

Major Transmission Elements (MTE) list

Mr. Floyd summarized the MTE discussion at the August 19, 2021 OWG meeting and stated that OWG was in consensus to recommend ROS approve the MTE List as presented.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities, including updates to the Emergency Conditions List and ERCOT Ancillary Service Methodology.

Dynamics Working Group (see Key Documents)

Zhenhua Wang reviewed DWG activities.

Operations Training Working Group (OTWG)

OTWG Leadership

Market Participants expressed support to approve Tamme Chilton, CenterPoint Energy as the 2021 OTWG Chair.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Mr. Kunkel moved to approve the Combined Ballot as follows:

- To approve the August 5, 2021 ROS Meeting Minutes as submitted

- To endorse and forward to TAC the 8/5/21 ROS Report and Impact Analysis for PGRR093

- To endorse and forward to TAC the 8/5/21 ROS Report and the Revised Impact Analysis for PGRR094 with a recommended priority of 2022 and rank of 3540

- To endorse and forward to TAC the 8/5/21 ROS Report and the Revised Impact Analysis for NOGRR223

- To table NOGRR230

- To table NOGRR231

- To endorse NPRR1077 as amended by the 8/16/21 ERCOT comments

- To recommend approval of PGRR092 as submitted

- To recommend approval of RRGRR029 as submitted

- To endorse MTE List as presented

- To approve OTWG Leadership as presented

Eric Goff seconded the motion.  The motion carried unanimously via roll call vote.  (Please see ballot posted with Key Documents.)

Steady State Working Group (SSWG) (see Key Documents)

Ross Cloninger reviewed SSWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

Scot Williams reviewed VPWG activities.

Other Business

Review Open Action Items List

Market Participants reviewed the Open Action Items list and removed the completed items:

- TAC Assignment:   Remaining Key Topic Concepts (KTCs) from Battery Energy Storage Task Force (BESTF)

- KTC 15-3 Switchable Resources

- KTC 15-4 Provisions Associated with Delayed Outages

Annual TAC Subcommittee Structural Review

Mr. Smith announced the September 17, 2021 TAC/TAC Subcommittee Structural and Procedural Review and presented the ROS Subcommittee Structural and Procedural Review developed from ROS Working Group and Task Force leadership responses.  Market Participants discussed the appropriate forum for Geomagnetically Induced Current (GIC) model build issues.  Mr. Smith noted that ERCOT Staff and leadership at the Planning Geomagnetic Disturbance Task Force (PGDTF), DWG and SSWG are still reviewing the issues and will provide their recommendation at a later date.

NPRR1093, Load Resource Participation in Non-Spinning Reserve

Sandip Sharma summarized NPRR1093 and NOGRR232, Related to NPRR1093, Load Resource Participation in Non-Spinning Reserve, noted the request for Urgent status and reviewed the implementation timeline in consideration of having additional capacity for Winter and Summer 2022.  Mr. Sharma stated that ERCOT anticipates requesting ROS consider NOGRR232 by email vote so that the related Revision Requests can advance to the September 29, 2021 TAC meeting.

No Report

- Black Start Working Group (BSWG)

- Network Data Support Working Group (NDSWG)

- PGDTF

- System Protection Working Group (SPWG)

Adjournment

Mr. Smith adjourned the September 2, 2021 ROS meeting 12:43 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- http://www.ercot.com/calendar/2021/9/2/214029-ROS