## Slide 1: SAWG Update
11/3/2021
Ian Haley

## Slide 2
Reporting of ERS Load and Resource Components in the CDR
  ERCOT presented a proposal for separate reporting of ERS load and generation resources, which will help reduce double-counting of ERS capacity contributions in the CDR; the proposal is incorporated in a draft NPRR that addresses CDR reporting of Distributed Generation
  ERS will continue to be treated as a downward adjustment to the peak load forecast
  ERCOT is requesting all feedback by the December 16th SAWG meeting
Discussion on whether to conduct a Reserve Margin study in 2022
  ERCOT is requesting WMS feedback, as there are concerns about duplicating work and issuing a report potentially inconsistent with new PUCT market design/resource adequacy rules
  SAWG’s feedback included holding off on the study; ERCOT will seek Commission feedback if WMS concurs

## Slide 3
Preliminary Probabilistic Winter SARA results
  Probabilistic model incorporates representation of the risk of another Uri-type winter storm event
  ERCOT is attempting to incorporate the weatherization standards into a probabilistic model as ERCOT will not have the actual data in time for the SARA
  ERCOT had asked for feedback by Nov 2nd
Severe Winter Event Scenario for the NERC Winter Reliability Assessment
  ERCOT made available the severe winter event scenario data requested by NERC and shared the progress on the assessment
Unplanned Outage Analysis and Winter SARA Scenario Development Progress
  ERCOT evaluated the 2014 and 2018 severe winter weather events against a 2011 baseline
  Generation owners made significant progress in reducing unplanned outages due to severe weather events since winter 2011