| NOGRR Number | 236 | NOGRR Title | Related to NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) |
| --- | --- | --- | --- |

| Date | November 8, 2021 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Doug Evans |
| E-mail Address | devans@stec.org |
| Company | South Texas Electric Cooperative (STEC) |
| Phone Number | 361-485-6459 |
| Cell Number |  |
| Market Segment | Cooperative |

Comments

STEC appreciates the opportunity to comment on this Nodal Operating Guide Revision Request (NOGRR).  STEC agrees with the timing and the goal of NOGRR236, but offers these changes that clarify there is no obligation, implicit or explicit, for any party to invest in voltage reduction capabilities.  Under the proposed language, the term “available” could be construed to require installation of voltage reduction capabilities because the capability is commercially available .  These comments are also intended to clarify that parties will not be held responsible for ensuring that a voltage reduction action would not create adverse issues on the transmission or distribution system.  STEC agrees that ERCOT and Transmission Service Providers (TSPs) need the leeway to determine at the time of an event whether or not it is best for the reliability of the system to reduce voltage and the amount of the reduction that can occur.

Revised Cover Page Language

None

Revised Proposed Guide Language

4.5.3.1 	General Procedures Prior to EEA Operations

(1)	Prior to declaring EEA Level 1 detailed in Section 4.5.3.3, EEA Levels, ERCOT may perform the following operations consistent with Good Utility Practice:

(a)	Provide Dispatch Instructions to QSEs for specific Resources to operate at an Emergency Base Point to maximize Resource deployment so as to increase Responsive Reserve (RRS) levels on other Resources;

(b)	Commit specific available Resources as necessary that can respond in the timeframe of the emergency.  Such commitments will be settled using the Hourly Reliability Unit Commitment (HRUC) process;

(c)	Start Reliability Must-Run (RMR) Units available in the time frame of the emergency.  RMR Units should be loaded to full capability;

(d)	Utilize available Resources providing Non-Spinning Reserve (Non-Spin) services as required;

(e)	Instruct TSPs and Distribution Service Providers (DSPs) or their agents to reduce Customer Load by using existing, in-service distribution voltage reduction measures if ERCOT determines that the implementation of these measures could help avoid entering into EEA and ERCOT does not expect to need to use these measures to reduce the amount of Load shedding that may be needed in EEA Level 3.  A TSP, DSP, or their agent shall implement these instructions if distribution voltage reduction measures are available and already installed.  If the TSP, DSP, or their agent determines in their sole discretion that the distribution voltage reduction would adversely affect reliability, the voltage reduction measure may be reduced, modified, or otherwise changed from maximum performance to a level of exercise that has no negative impact to reliability; and

(f)	ERCOT shall use the PRC and system frequency to determine the appropriate Emergency Notice and EEA levels.