## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Shawn McCreary
HITE List Sub-Chair – Pushkar Chhajed
11/04/2021

## Slide 2: NOGRR215 – Limited Use of RAS
Tabled pending new comments from ERCOT

## Slide 3: NOGRR226 - Revision to 5% Transmission Operator (TO) Load Shedding Relay Set Point
ERCOT continues to assess framework for studies needed before changes to Stage 1 UFLS can be considered
Tabled

## Slide 4: Emergency Condition list #5 NPRR1084
Improvements to Reporting of Resource Outages and Derates.
  Concerns raised on having enough personnel to provide the updates in the timeline required in the comments filed
  New comments have been filed by ERCOT and will be reviewed at next OWG

## Slide 5: Emergency Condition list #6 NPRR1085
Ensuring Continuous Validity of Physical Responsive Capability (PRC) and Dispatch through Timely Changes to Resource Telemetry and Current Operating Plans (COPs)
  Concerns raised on personnel being able to provide accurate information to ERCOT as required in the comments
  Concerns were discussed about keeping COP updated and compliance risk if information was wrong
  Recommendations were reiterated on adding an “ON-HOLD” option when a units is experiencing issues for a long term solution and possibly locking the HSL or using “ONTEST” as a interim solution
  New comments have been filed by ERCOT and will be reviewed at next OWG

## Slide 6: Emergency Condition list #128
Using Instant Messaging during EEA Events
  An update to the draft SCR was presented and discussed
  ERCOT requested a time to review the SCR and get additional details on the applications capabilities. ERCOT may also want to look at others vendors outside of the app use by SPP.
  ERCOT will provide updates and the next OWG.

## Slide 7: Emergency Condition list # 49, 73
49 - Energy Emergency Alert: Review EEA rules and assess if any changes are warranted.
73 - Should there be different PRC EEA trigger point & ORDC minimum reserves levels for winter and summer given potential for different events?
  No new information to report on these items