## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
November 4, 2021

## Slide 2: ROS Voting Items
NPRR 1070 – Planning Criteria for GTC Exit Solutions
  EDF and Pattern filed comments on 10/7/2021 attempting to address concerns stated in prior meetings.
  No specific objection was stated by Market Participants to the 10/7/2021 version of the NPRR.
  PLWG discussion resulted in non-consensus on the following issue:
    Option 1: Keep at PLWG while awaiting further direction that may result from PUCT rulemaking on economic planning criteria
    Option 2: Move it forward and make necessary changes after the PUCT rulemaking
  ERCOT filed comments following the last PLWG meeting.

## Slide 3: Other ROS Voting Items
PGRR 095 – Establish Minimum Deliverability Criteria
  Recommend to remain tabled at PLWG pending further discussion
    Of comments filed by REMC
    Of TSP suggestions to include additional contingencies
    Of meaning of minimum amount resource capacity
PGRR 096 – Achieve Consistent Representation of DG in Steady-State Models
  No concerns raised.
  Final review pending SSWG review
PGRR 097 – Related to NPRR1098 and NOGRR234, DC Tie Reactive Power Capability Requirements
  Ready to move forward to ROS with proposed desktop change to the title of 6.2.3 DC Tie Operators.
  PLWG had no objection to urgent status if ERCOT saw need.

## Slide 4: TAC Emergency Conditions List Transmission Planning Studies and Winter Cases (#47, 93, 94)
Areas of Focus
  Planning Guide revisions –
    Item is pending additional investigations
  Defining Extreme event scenarios
    Development of scenarios in which gas curtailments impact generating capacity requires coordination beyond ERCOT. No existing mechanism has been identified.
    Additional input resulting from discussions about how load shed will be handled during EEA events is needed.
    ERCOT has expressed a desire to have flexibility that is exercised withing the Regional Transmission Plan for this area of interest.
  Contingency definitions –
    Development of contingency definitions based on common gas supply infrastructure dependent on entities outside ERCOT and PUCT jurisdictions.

## Slide 5: Other items discussed
Emergency Conditions List - GTC management (#29, #51, #86)
KTC- 15-6 RMR and MRA Services analysis for Batteries
  ERCOT is preparing concepts and a draft NPRR that will include consideration of Energy Storage Resources in RMR and MRA Services. Expects to bring concepts to PLWG before March 2022.
  PLWG identifying issues including - minimum duration for a Battery Energy Storage facility to qualify.

## Slide 6: Questions?