## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2022-03-07 | 11:57

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2021
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2021 Demand, MW | 58606.3472 | 69811.9544 | 45380.1922 | 52813.692 | 62831.9688 | 70257.3057 | 73145.1529 | 73687.1049 | 72370.1996 | 62475.6705 | 48983.4476 | 49191.6878 | 73687.1049
Date | 01/12/2021 | 02/14/2021 | 03/27/2021 | 04/09/2021 | 05/26/2021 | 06/23/2021 | 07/26/2021 | 08/24/2021 | 09/01/2021 | 10/08/2021 | 11/17/2021 | 12/10/2021
Hour ending | 08:00 | 20:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 16:00
Day of the week | Tuesday | Sunday | Saturday | Friday | Wednesday | Wednesday | Monday | Tuesday | Wednesday | Friday | Wednesday | Friday
Forecasted Demand, MW | 60073.618 | 59379.5635 | 52541.172 | 55139.2105 | 64742.1288 | 72661.6492 | 74253.2488 | 77243.6379 | 71201.2616 | 62781.5994 | 54260.5751 | 59500.1777 | 77243.6379
Difference, percent | -2.442% | 17.57% | -13.63% | -4.217% | -2.95% | -3.309% | -1.492% | -4.604% | 1.642% | -0.4873% | -9.726% | -17.33% | -4.604%
2020 Demand, MW | 49072.1973 | 56127.6102 | 52833.4707 | 55291.6984 | 64410.804 | 68146.2887 | 74344.0699 | 74375.8462 | 64834.9062 | 63064.2233 | 49020.3408 | 55916.1918 | 74375.8462
Date | 01/08/2020 | 02/06/2020 | 03/26/2020 | 04/08/2020 | 05/19/2020 | 06/08/2020 | 07/13/2020 | 08/14/2020 | 09/01/2020 | 10/11/2020 | 11/09/2020 | 12/17/2020
Hour ending | 08:00 | 08:00 | 17:00 | 17:00 | 18:00 | 18:00 | 17:00 | 17:00 | 15:00 | 17:00 | 16:00 | 08:00
Day of the week | Wednesday | Thursday | Thursday | Wednesday | Tuesday | Monday | Monday | Friday | Tuesday | Sunday | Monday | Thursday
Increase, MW | 9534.1498 | 13684.3442 | -7453.2785 | -2478.0064 | -1578.8351 | 2111.017 | -1198.917 | -688.7413 | 7535.2933 | -588.5528 | -36.8931 | -6724.5041
Increase, percent | 19.43% | 24.38% | -14.11% | -4.482% | -2.451% | 3.098% | -1.613% | -0.926% | 11.62% | -0.9333% | -0.0753% | -12.03%
Max All Time, MW | 65914.6978 | 69811.9544 | 60756.4143 | 55291.6984 | 67265.1165 | 70257.3057 | 74344.0699 | 74819.7146 | 72370.1996 | 65303.777 | 56446.4369 | 57932.4325
Date | 01/17/2018 at 08:00 | 02/14/2021 at 20:00 | 03/05/2019 at 08:00 | 04/08/2020 at 17:00 | 05/29/2018 at 17:00 | 06/23/2021 at 17:00 | 07/13/2020 at 17:00 | 08/12/2019 at 17:00 | 09/01/2021 at 17:00 | 10/02/2019 at 17:00 | 11/12/2019 at 08:00 | 12/19/2016 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2021 Demand, MW | 58715.42 | 69993.566 | 45430.4665 | 52984.5105 | 63026.453 | 70393.6374 | 73305.14 | 73822.004 | 72440.5196 | 62613.7291 | 49027.5792 | 49569.7393 | 73822.004
Date | 01/12/2021 | 02/14/2021 | 03/27/2021 | 04/09/2021 | 05/26/2021 | 06/23/2021 | 07/26/2021 | 08/24/2021 | 09/01/2021 | 10/08/2021 | 11/17/2021 | 12/10/2021
Interval ending | 07:30 | 19:00 | 17:30 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:30 | 15:30 | 18:00
Day of the week | Tuesday | Sunday | Saturday | Friday | Wednesday | Wednesday | Monday | Tuesday | Wednesday | Friday | Wednesday | Friday
Max All Time, MW | 66068.475 | 69993.566 | 61563.6014 | 55534.614 | 67435.4482 | 70393.6374 | 74392.1926 | 74896.6615 | 72440.5196 | 65365.3599 | 57039.3063 | 58048.2808
Date | 01/17/2018 at 07:15 | 02/14/2021 at 19:00 | 03/05/2019 at 07:15 | 04/08/2020 at 17:00 | 05/29/2018 at 17:00 | 06/23/2021 at 17:00 | 07/13/2020 at 16:45 | 08/12/2019 at 17:00 | 09/01/2021 at 17:00 | 10/02/2019 at 16:45 | 11/14/2018 at 07:00 | 12/19/2016 at 07:30
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2021 Demand, MW | 31614.8973 | 27754.7456 | 29702.3478 | 29406.9933 | 31340.2733 | 33444.8757 | 37978.9695 | 39522.5112 | 32466.9856 | 29947.2526 | 30987.0379 | 31496.9459
Date | 01/19/2021 | 02/24/2021 | 03/05/2021 | 04/04/2021 | 05/13/2021 | 06/02/2021 | 07/04/2021 | 08/16/2021 | 09/23/2021 | 10/17/2021 | 11/01/2021 | 12/26/2021
Interval ending | 03:00 | 03:30 | 03:00 | 04:30 | 04:00 | 04:00 | 07:00 | 04:00 | 03:45 | 04:45 | 03:45 | 04:00
Day of the week | Tuesday | Wednesday | Friday | Sunday | Thursday | Wednesday | Sunday | Monday | Thursday | Sunday | Monday | Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2021
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2021 Energy, MWh | 30821915.4736 | 29095558.0072 | 27328258.808 | 28089569.6067 | 31785102.3989 | 37345561.2128 | 39576928.5792 | 41395541.0817 | 36555303.1682 | 32670091.5275 | 27996249.0358 | 30187899.6556 | 392847978.5551
2021 YTD Energy, MWh | 30821915.4736 | 59917473.4808 | 87245732.2888 | 115335301.8955 | 147120404.2944 | 184465965.5072 | 224042894.0864 | 265438435.1681 | 301993738.3363 | 334663829.8637 | 362660078.8995 | 392847978.5551
Forecasted Energy, MWh | 32810450.133 | 28418016.688 | 29474913.256 | 28910563.205 | 33506794.459 | 38282884.329 | 41278325.804 | 42216795.274 | 36300366.207 | 32083525.459 | 29555872.3 | 33003523.681 | 405842030.795
Difference, percent | -6.061% | 2.384% | -7.283% | -2.84% | -5.138% | -2.448% | -4.122% | -1.945% | 0.7023% | 1.828% | -5.277% | -8.531% | -3.202%
YTD Forecasted Energy, MWh | 32810450.133 | 61228466.821 | 90703380.077 | 119613943.282 | 153120737.741 | 191403622.07 | 232681947.874 | 274898743.148 | 311199109.355 | 343282634.814 | 372838507.114 | 405842030.795
YTD Difference, percent | -6.061% | -2.141% | -3.812% | -3.577% | -3.919% | -3.625% | -3.713% | -3.441% | -2.958% | -2.511% | -2.73% | -3.202%
2020 Energy, MWh | 29045219.2963 | 28014207.9507 | 28213676.0529 | 26968040.6448 | 31282703.8056 | 35530030.0365 | 40318086.7204 | 40846568.052 | 32784781.1844 | 31265619.7264 | 27335002.1891 | 30301400.4501 | 381905336.1091
Increase, MWh | 1776696.1773 | 1081350.0564 | -885417.2449 | 1121528.9619 | 502398.5933 | 1815531.1763 | -741158.1412 | 548973.0297 | 3770521.9838 | 1404471.8011 | 661246.8467 | -113500.7945 | 10942642.446
Increase, percent | 6.117% | 3.86% | -3.138% | 4.159% | 1.606% | 5.11% | -1.838% | 1.344% | 11.5% | 4.492% | 2.419% | -0.3746% | 2.865%
2020 YTD Energy, MWh | 29045219.2963 | 57059427.247 | 85273103.2999 | 112241143.9447 | 143523847.7503 | 179053877.7867 | 219371964.5072 | 260218532.5591 | 293003313.7435 | 324268933.4699 | 351603935.659 | 381905336.1091
Increase, MWh | 1776696.1773 | 2858046.2337 | 1972628.9889 | 3094157.9507 | 3596556.5441 | 5412087.7204 | 4670929.5792 | 5219902.6089 | 8990424.5927 | 10394896.3938 | 11056143.2405 | 10942642.446
Increase, percent | 6.117% | 5.009% | 2.313% | 2.757% | 2.506% | 3.023% | 2.129% | 2.006% | 3.068% | 3.206% | 3.144% | 2.865%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2021 | 70.69% | 62.02% | 81.05% | 73.87% | 67.99% | 73.83% | 72.72% | 75.51% | 70.15% | 70.29% | 79.27% | 82.48% | 60.86%
Demand Factors 2020 | 79.55% | 71.71% | 71.87% | 67.74% | 65.28% | 72.41% | 72.89% | 73.82% | 70.23% | 66.64% | 77.34% | 72.84% | 58.46%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2021 | 70.56% | 61.86% | 80.96% | 73.63% | 67.78% | 73.68% | 72.57% | 75.37% | 70.09% | 70.13% | 79.2% | 81.85% | 60.75%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2021
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2029.6896 | 2571.6448 | 1633.7786 | 2061.591 | 2206.6161 | 2566.7056 | 2594.7404 | 2610.935 | 2644.5665 | 2145.1753 | 1726.9062 | 1790.9896
LZ_CPS | 3974.756 | 4962.8263 | 3171.1029 | 3993.8917 | 4164.2158 | 4728.6841 | 4627.3393 | 4750.1666 | 4838.1856 | 3943.3563 | 3095.1655 | 3142.8639
LZ_HOUSTON | 14201.4261 | 14236.6749 | 12725.0456 | 14108.3528 | 17373.0478 | 19435.7628 | 19748.7025 | 19986.7721 | 17677.022 | 16871.2285 | 14229.1901 | 14299.3651
LZ_LCRA | 2793.0201 | 3698.1622 | 1511.2753 | 2000.7104 | 2223.5516 | 2674.2494 | 2792.9558 | 2793.8667 | 2802.7569 | 2187.9153 | 1541.8037 | 1648.6122
LZ_NORTH | 20781.1482 | 27970.153 | 13860.0569 | 16553.4132 | 21627.6432 | 24394.6883 | 26651.5852 | 26302.6894 | 26998.2061 | 21576.233 | 15338.6921 | 15422.8882
LZ_RAYBN | 1003.2983 | 1520.9314 | 445.6135 | 473.0537 | 763.4575 | 918.6372 | 1077.7395 | 1039.9316 | 1083.4466 | 806.1315 | 459.3275 | 516.0208
LZ_SOUTH | 8014.7695 | 9879.3677 | 6927.1789 | 8146.9687 | 8293.7523 | 8562.7786 | 8849.1802 | 9168.3011 | 9242.2492 | 8211.0747 | 6947.5429 | 6955.1944
LZ_WEST | 5917.3122 | 5153.8058 | 5156.4149 | 5646.5291 | 6374.1687 | 7112.1315 | 6962.8971 | 7169.3414 | 7154.0866 | 6872.6147 | 5688.9513 | 5793.8051
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2046.405 | 2571.6448 | 1660.0864 | 2078.5821 | 2303.448 | 2649.2592 | 2625.1316 | 2678.0076 | 2673.5678 | 2217.7177 | 1740.1601 | 1805.9745
Date and Time | 12 @ 08:00 | 14 @ 19:00 | 27 @ 18:45 | 9 @ 18:00 | 3 @ 17:45 | 14 @ 17:45 | 26 @ 18:00 | 31 @ 18:00 | 1 @ 18:00 | 25 @ 17:00 | 17 @ 16:00 | 10 @ 16:00
LZ_CPS | 3975.5784 | 5011.0744 | 3201.3545 | 4052.2878 | 4454.3636 | 4781.6668 | 4795.1725 | 4991.968 | 4927.649 | 4216.8086 | 3136.3754 | 3187.9518
Date and Time | 12 @ 07:45 | 15 @ 00:15 | 27 @ 18:00 | 9 @ 18:00 | 3 @ 17:45 | 14 @ 16:00 | 28 @ 17:30 | 19 @ 17:30 | 1 @ 18:00 | 25 @ 17:00 | 17 @ 16:30 | 10 @ 16:15
LZ_HOUSTON | 14307.8746 | 14405.3214 | 13207.4247 | 15662.3239 | 17879.5123 | 19446.2294 | 19768.8543 | 20222.5558 | 19826.3365 | 17723.3306 | 14229.6366 | 14378.7325
Date and Time | 11 @ 10:30 | 12 @ 10:15 | 12 @ 15:30 | 28 @ 15:30 | 10 @ 16:15 | 23 @ 16:30 | 28 @ 17:00 | 10 @ 14:45 | 21 @ 16:00 | 12 @ 16:00 | 17 @ 15:45 | 10 @ 14:30
LZ_LCRA | 2794.7672 | 3713.3522 | 1962.109 | 2034.9168 | 2312.7538 | 2721.0507 | 2805.6957 | 2837.909 | 2849.1861 | 2250.5211 | 1773.2712 | 1948.6762
Date and Time | 12 @ 07:45 | 14 @ 19:45 | 3 @ 07:15 | 9 @ 18:00 | 3 @ 18:00 | 14 @ 16:45 | 26 @ 18:00 | 25 @ 17:45 | 5 @ 17:30 | 10 @ 17:15 | 29 @ 07:30 | 12 @ 08:00
LZ_NORTH | 20794.0474 | 27983.4175 | 16310.0473 | 16914.4789 | 21627.6432 | 25126.4351 | 26803.9113 | 26655.4047 | 27028.0998 | 21576.233 | 15893.1273 | 17241.5585
Date and Time | 12 @ 07:45 | 14 @ 18:45 | 3 @ 07:15 | 12 @ 18:00 | 26 @ 17:00 | 17 @ 17:00 | 27 @ 16:30 | 25 @ 16:45 | 1 @ 16:30 | 8 @ 16:30 | 19 @ 07:15 | 21 @ 08:15
LZ_RAYBN | 1003.2983 | 1522.4028 | 703.0164 | 672.1287 | 788.5422 | 1033.3355 | 1092.4858 | 1088.1472 | 1091.358 | 827.5619 | 706.8456 | 827.4901
Date and Time | 12 @ 07:30 | 14 @ 19:30 | 3 @ 07:15 | 21 @ 07:15 | 26 @ 18:00 | 13 @ 17:45 | 31 @ 17:30 | 25 @ 18:00 | 1 @ 17:45 | 10 @ 17:45 | 19 @ 07:15 | 12 @ 07:45
LZ_SOUTH | 8321.4879 | 9944.4813 | 6959.9452 | 8258.6218 | 8675.742 | 9250.6458 | 9097.3568 | 9523.5899 | 9478.701 | 8717.9888 | 7007.0923 | 7172.4957
Date and Time | 13 @ 07:30 | 14 @ 20:45 | 27 @ 16:45 | 28 @ 16:45 | 3 @ 17:30 | 21 @ 16:45 | 31 @ 16:45 | 19 @ 16:30 | 2 @ 16:45 | 10 @ 17:15 | 17 @ 16:30 | 10 @ 15:30
LZ_WEST | 5919.1489 | 6279.7984 | 5597.1801 | 5883.1778 | 6374.1687 | 7207.4791 | 7221.9249 | 7369.0851 | 7299.7202 | 6903.0247 | 6030.1033 | 6353.9993
Date and Time | 13 @ 07:30 | 11 @ 10:45 | 2 @ 07:15 | 27 @ 16:30 | 26 @ 17:00 | 23 @ 15:30 | 27 @ 19:15 | 9 @ 16:00 | 3 @ 16:45 | 9 @ 17:00 | 22 @ 07:45 | 21 @ 07:45
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1053593.9998 | 998692.2538 | 953824.8544 | 986362.6113 | 1126591.9975 | 1335364.1908 | 1391329.8029 | 1466914.2158 | 1323173.5311 | 1152212.1608 | 955966.4856 | 1036372.7838
LZ_CPS | 1820783.3582 | 1835308.3063 | 1627545.6709 | 1717010.3377 | 2015860.6635 | 2377329.6028 | 2451816.6228 | 2654301.4627 | 2370912.1585 | 2020247.3045 | 1625116.9753 | 1746008.0585
LZ_HOUSTON | 7935364.8183 | 6700320.8722 | 7513237.8063 | 8012534.0923 | 9256195.145 | 10498257.911 | 10916705.6867 | 11401294.724 | 9785330.5136 | 9130630.5484 | 7603130.5517 | 8362249.2027
LZ_LCRA | 1096673.8811 | 1197395.1368 | 847501.7627 | 857241.7497 | 1001909.0769 | 1253903.7467 | 1316425.5686 | 1413615.6254 | 1244233.0674 | 1033083.3992 | 864832.7236 | 930370.0185
LZ_NORTH | 10630641.1932 | 10913491.8047 | 8837659.2182 | 8597167.6759 | 9713118.8006 | 12333248.6211 | 13505898.42 | 13957027.3545 | 12126775.0622 | 10221680.7645 | 8843253.7911 | 9424107.5447
LZ_RAYBN | 435392.0653 | 496344.3358 | 297059.375 | 280750.4521 | 317187.8122 | 432413.9868 | 493161.7295 | 507193.2927 | 422552.8041 | 336918.3218 | 319250.7349 | 331935.7622
LZ_SOUTH | 3937807.0871 | 3801545.1885 | 3616104.6831 | 3989914.877 | 4475862.0567 | 4832270.7781 | 5001424.3907 | 5354364.1396 | 4897556.6354 | 4570420.612 | 3778113.2547 | 4111932.4484
LZ_WEST | 3911659.0705 | 3152460.109 | 3635325.4374 | 3648587.8107 | 3878376.8465 | 4282772.3754 | 4500166.3581 | 4640830.2669 | 4384769.3959 | 4204898.4162 | 4006584.5188 | 4244923.8369
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2021
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 15142.4284 | 15289.7866 | 13471.4892 | 14906 | 18266.8069 | 20388.4762 | 20706.904 | 21002.2248 | 18611.1651 | 17793.105 | 15036.7462 | 15190.5269
EAST | 2494.0376 | 3021.2904 | 1587.8197 | 1600.7259 | 2232.5829 | 2575.9281 | 2650.6386 | 2717.4605 | 2779.8353 | 2345.0822 | 1737.8836 | 1704.7123
FWEST | 4035.3987 | 2809.495 | 3854.9293 | 4030.7944 | 4426.4588 | 4983.8288 | 4753.781 | 5003.7371 | 4942.9934 | 4970.3628 | 4131.8033 | 4225.6399
NCENT | 19003.0021 | 26061.0521 | 12556.1775 | 15254.835 | 19851.696 | 22387.8555 | 24672.4545 | 24219.251 | 24894.5743 | 19723.9212 | 13846.0194 | 14021.1605
NORTH | 1106.5554 | 1423.6619 | 688.6962 | 823.3898 | 1090.448 | 1253.1678 | 1356.5319 | 1358.1503 | 1389.8588 | 1120.6872 | 953.7836 | 970.5976
SCENT | 10584.2839 | 13201.7466 | 7722.349 | 9648.0201 | 10323.3279 | 11756.9768 | 11819.608 | 11992.1358 | 12146.9079 | 10043.9717 | 7849.596 | 8108.6183
SOUTH | 4594.4094 | 6024.4723 | 4427.9287 | 5295.8493 | 5191.5239 | 5233.8459 | 5473.7823 | 5701.3853 | 5825.9932 | 5031.3879 | 4310.4552 | 4178.2391
WEST | 1755.3046 | 2162.0611 | 1121.0769 | 1424.896 | 1643.6087 | 1813.5583 | 1871.4397 | 1827.6592 | 1849.1915 | 1585.2112 | 1161.2919 | 1170.2448
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 15183.0452 | 15385.8585 | 13878.2511 | 16595.4359 | 18863.4985 | 20403.3016 | 20746.6525 | 21251.3839 | 20874.8515 | 18743.9778 | 15036.7462 | 15253.7724
Date and Time | 11 @ 10:30 | 12 @ 10:15 | 12 @ 15:30 | 28 @ 15:30 | 10 @ 16:15 | 23 @ 16:30 | 28 @ 16:45 | 10 @ 14:45 | 21 @ 16:00 | 12 @ 16:00 | 17 @ 15:30 | 10 @ 14:30
EAST | 2505.5344 | 3039.1718 | 2045.2529 | 2046.8266 | 2318.4889 | 2697.4363 | 2793.7801 | 2811.3323 | 2818.0342 | 2365.8015 | 1883.5602 | 2131.9065
Date and Time | 12 @ 08:15 | 14 @ 20:15 | 3 @ 07:15 | 28 @ 16:30 | 27 @ 16:30 | 15 @ 17:00 | 29 @ 16:15 | 11 @ 17:00 | 2 @ 16:30 | 25 @ 16:45 | 29 @ 07:30 | 21 @ 08:15
FWEST | 4088.2777 | 4171.0964 | 3951.2493 | 4266.8261 | 4426.4588 | 5112.6313 | 5036.7415 | 5155.9654 | 5162.7192 | 5014.3576 | 4277.5431 | 4427.4145
Date and Time | 13 @ 07:45 | 10 @ 18:45 | 30 @ 20:45 | 27 @ 16:15 | 26 @ 17:00 | 23 @ 15:30 | 27 @ 19:30 | 8 @ 17:30 | 9 @ 16:45 | 8 @ 15:30 | 25 @ 10:45 | 21 @ 07:45
NCENT | 19003.0021 | 26072.1948 | 14735.3083 | 15367.0229 | 19851.696 | 23078.8748 | 24813.1948 | 24588.1654 | 24910.0931 | 19723.9212 | 14494.9765 | 15658.4732
Date and Time | 12 @ 07:30 | 14 @ 18:45 | 3 @ 07:15 | 12 @ 18:00 | 26 @ 17:00 | 17 @ 17:00 | 27 @ 16:30 | 25 @ 17:00 | 1 @ 16:30 | 8 @ 16:30 | 19 @ 07:15 | 21 @ 08:00
NORTH | 1106.822 | 1426.4893 | 931.8191 | 896.0274 | 1090.448 | 1294.6696 | 1376.9286 | 1396.3194 | 1394.6663 | 1425.232 | 1146.1954 | 1242.9663
Date and Time | 12 @ 07:15 | 14 @ 18:45 | 2 @ 07:15 | 21 @ 07:00 | 26 @ 17:00 | 16 @ 16:30 | 28 @ 16:00 | 12 @ 16:15 | 1 @ 16:30 | 9 @ 16:45 | 19 @ 07:15 | 21 @ 08:30
SCENT | 10589.0911 | 13204.7015 | 7849.7529 | 9813.3348 | 10880.026 | 12020.3635 | 12029.6729 | 12491.9609 | 12332.3749 | 10549.4361 | 7996.8385 | 8156.2128
Date and Time | 12 @ 07:45 | 14 @ 19:15 | 3 @ 07:15 | 9 @ 18:00 | 3 @ 17:45 | 14 @ 18:15 | 28 @ 18:00 | 31 @ 18:15 | 20 @ 18:15 | 25 @ 17:00 | 17 @ 16:30 | 10 @ 16:00
SOUTH | 5087.2699 | 6087.1322 | 4509.4659 | 5442.051 | 5486.2679 | 5798.4873 | 5671.9997 | 5923.8001 | 5887.5106 | 5386.8478 | 4468.9598 | 4412.0463
Date and Time | 13 @ 07:45 | 14 @ 20:45 | 27 @ 16:30 | 28 @ 16:00 | 3 @ 16:45 | 21 @ 16:30 | 19 @ 16:45 | 18 @ 17:00 | 2 @ 16:45 | 12 @ 16:30 | 2 @ 16:45 | 10 @ 15:15
WEST | 1755.3046 | 2191.8152 | 1480.4974 | 1427.7743 | 1653.2848 | 1845.0187 | 1901.8162 | 1888.1729 | 1881.1764 | 1585.2112 | 1336.3347 | 1444.346
Date and Time | 12 @ 07:30 | 14 @ 20:15 | 2 @ 07:15 | 9 @ 17:45 | 27 @ 16:15 | 10 @ 17:00 | 31 @ 17:45 | 9 @ 16:45 | 8 @ 16:30 | 8 @ 16:30 | 29 @ 07:30 | 21 @ 07:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 8427652.0498 | 7152452.6129 | 7943810.3482 | 8506505.0912 | 9803198.7127 | 11042058.6031 | 11520057.8664 | 12034098.8477 | 10341939.5543 | 9688618.7656 | 8091989.606 | 8913591.3476
EAST | 1231941.7818 | 1225441.2715 | 1028855.0065 | 1001510.6467 | 1110530.3013 | 1350339.4357 | 1424734.102 | 1501885.1545 | 1299134.8313 | 1172198.0518 | 1027070.6521 | 1060903.9791
FWEST | 2844978.527 | 2139644.4341 | 2723690.2337 | 2719866.5309 | 2875246.4362 | 3132110.0081 | 3275576.5235 | 3366882.6415 | 3238615.4017 | 3084715.5332 | 2928955.2334 | 3121134.0716
NCENT | 9675014.0581 | 10007379.7882 | 7982974.6429 | 7764405.205 | 8790470.713 | 11241921.2825 | 12375814.2831 | 12764271.8587 | 11084969.6971 | 9254119.0654 | 8012239.4927 | 8562691.0766
NORTH | 607531.9127 | 611686.4417 | 500573.5896 | 479969.6642 | 514612.7613 | 649109.534 | 716834.8432 | 740304.0683 | 644166.1557 | 651666.7481 | 647699.9552 | 680514.0697
SCENT | 4842642.6108 | 4871246.5544 | 4238623.1718 | 4375432.2016 | 5047951.9551 | 5978962.6579 | 6202369.6555 | 6649503.207 | 5983513.806 | 5198500.4542 | 4329399.0785 | 4674789.6193
SOUTH | 2293042.4243 | 2236364.6697 | 2179498.0633 | 2482986.3094 | 2798952.5794 | 2994560.857 | 3060753.3735 | 3299189.5368 | 3017365.8 | 2789953.6298 | 2199642.3995 | 2377641.6061
WEST | 899112.1089 | 851342.2345 | 730233.752 | 758893.9577 | 844138.94 | 956498.8344 | 1000787.932 | 1039405.7673 | 945597.922 | 830319.2794 | 759252.6182 | 796633.8857
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2021
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 22210.0577 | 16861.7651 | 21570.9024 | 19358.0608 | 18198.1174 | 28867.7437 | 67765.6628 | 74707.7283 | 64828.6314 | 64605.0392 | 18135.2352 | 17199.3258 | 434308.2697
Coal | 6803460.9221 | 5540041.4091 | 4036478.9364 | 4858990.8949 | 5955674.0442 | 7803971.7602 | 8192073.6015 | 7705983.3511 | 6875815.9467 | 6139620.5332 | 5301360.8643 | 5611357.139 | 74824829.4027
Gas | 934381.6499 | 2842780.8526 | 1235423.489 | 2053224.0848 | 1193257.253 | 2924717.7381 | 3476467.7536 | 3519836.1841 | 2671992.0347 | 2730229.9504 | 1446132.0636 | 1077828.971 | 26106272.0249
Gas-CC | 10743815.8195 | 10455207.0331 | 7023206.1799 | 8119288.2155 | 10228455.8579 | 14620529.4613 | 16735003.3636 | 17044572.1757 | 14538116.5573 | 11360135.5333 | 8425334.5319 | 9020771.295 | 138314436.0237
Hydro | 35649.1879 | 55689.7105 | 23217.6383 | 50605.817 | 75823.9472 | 77370.5582 | 56931.4789 | 56358.105 | 34131.8293 | 17880.6578 | 10899.8002 | 9183.1032 | 503741.8334
Net DC/BLT | 39971.2141 | 171264.7931 | 52187.27 | 80301.8265 | 61903.5015 | 136921.6125 | 102300.2051 | 198488.2091 | 238558.8042 | 117075.9336 | 47901.0825 | 22478.5003 | 1269352.9525
Nuclear | 3801376.5406 | 3316997.2594 | 3368699.551 | 2987511.8109 | 3748481.0808 | 3098735.2197 | 3704911.6345 | 3696397.0742 | 3594960.3117 | 2177869.443 | 2984255.77 | 3789603.2747 | 40269798.9704
Other | 592.8013 | 14250.3099 | -771.5462 | 2395.186 | -1054.2893 | 250.958 | -681.973 | -1777.6398 | -1696.8064 | -1343.9505 | 3318.6882 | -3053.3444 | 10428.3939
Solar | 738201.9024 | 686426.7339 | 1084972.4748 | 1023321.6601 | 1400050.7222 | 1694028.3167 | 1872217.3342 | 1725987.7991 | 1771166.3601 | 1456352.7108 | 1215812.2016 | 1043110.0712 | 15711648.2869
Wind | 7702255.3782 | 5996038.1407 | 10483273.9126 | 8894572.0502 | 9104312.1639 | 6960167.8445 | 5369939.5181 | 7374988.0948 | 6767429.4992 | 8607665.6766 | 8543098.7982 | 9599421.3199 | 95403162.397
Total | 30821915.4736 | 29095558.0072 | 27328258.808 | 28089569.6067 | 31785102.3989 | 37345561.2128 | 39576928.5792 | 41395541.0817 | 36555303.1682 | 32670091.5275 | 27996249.0358 | 30187899.6556 | 392847978.5551
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.0721% | 0.058% | 0.0789% | 0.0689% | 0.0573% | 0.0773% | 0.1712% | 0.1805% | 0.1773% | 0.1977% | 0.0648% | 0.057% | 0.1106%
Coal | 22.07% | 19.04% | 14.77% | 17.3% | 18.74% | 20.9% | 20.7% | 18.62% | 18.81% | 18.79% | 18.94% | 18.59% | 19.05%
Gas | 3.032% | 9.771% | 4.521% | 7.31% | 3.754% | 7.831% | 8.784% | 8.503% | 7.309% | 8.357% | 5.165% | 3.57% | 6.645%
Gas-CC | 34.86% | 35.93% | 25.7% | 28.9% | 32.18% | 39.15% | 42.28% | 41.17% | 39.77% | 34.77% | 30.09% | 29.88% | 35.21%
Hydro | 0.1157% | 0.1914% | 0.085% | 0.1802% | 0.2386% | 0.2072% | 0.1439% | 0.1361% | 0.0934% | 0.0547% | 0.0389% | 0.0304% | 0.1282%
Net DC/BLT | 0.1297% | 0.5886% | 0.191% | 0.2859% | 0.1948% | 0.3666% | 0.2585% | 0.4795% | 0.6526% | 0.3584% | 0.1711% | 0.0745% | 0.3231%
Nuclear | 12.33% | 11.4% | 12.33% | 10.64% | 11.79% | 8.297% | 9.361% | 8.929% | 9.834% | 6.666% | 10.66% | 12.55% | 10.25%
Other | 0.0019% | 0.049% | -0.0028% | 0.0085% | -0.0033% | 0.0007% | -0.0017% | -0.0043% | -0.0046% | -0.0041% | 0.0119% | -0.0101% | 0.0027%
Solar | 2.395% | 2.359% | 3.97% | 3.643% | 4.405% | 4.536% | 4.731% | 4.17% | 4.845% | 4.458% | 4.343% | 3.455% | 3.999%
Wind | 24.99% | 20.61% | 38.36% | 31.66% | 28.64% | 18.64% | 13.57% | 17.82% | 18.51% | 26.35% | 30.52% | 31.8% | 24.29%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel. This category also includes adjustments for Wholesale Storage Load.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 22.2101 | 16.8618 | 21.5709 | 19.3581 | 18.1981 | 28.8677 | 67.7657 | 74.7077 | 64.8286 | 64.605 | 18.1352 | 17.1993
Coal | 6803.4609 | 5540.0414 | 4036.4789 | 4858.9909 | 5955.674 | 7803.9718 | 8192.0736 | 7705.9834 | 6875.8159 | 6139.6205 | 5301.3609 | 5611.3571
Gas | 934.3817 | 2842.7809 | 1235.4235 | 2053.2241 | 1193.2573 | 2924.7177 | 3476.4678 | 3519.8362 | 2671.992 | 2730.2299 | 1446.1321 | 1077.829
Gas-CC | 10743.8158 | 10455.207 | 7023.2062 | 8119.2882 | 10228.4559 | 14620.5295 | 16735.0034 | 17044.5722 | 14538.1166 | 11360.1355 | 8425.3345 | 9020.7713
Hydro | 35.6492 | 55.6897 | 23.2176 | 50.6058 | 75.8239 | 77.3706 | 56.9315 | 56.3581 | 34.1318 | 17.8807 | 10.8998 | 9.1831
Net DC/BLT | 39.9712 | 171.2648 | 52.1873 | 80.3018 | 61.9035 | 136.9216 | 102.3002 | 198.4882 | 238.5588 | 117.0759 | 47.9011 | 22.4785
Nuclear | 3801.3765 | 3316.9973 | 3368.6996 | 2987.5118 | 3748.4811 | 3098.7352 | 3704.9116 | 3696.3971 | 3594.9603 | 2177.8694 | 2984.2558 | 3789.6033
Other | 0.5928 | 14.2503 | -0.77155 | 2.3952 | -1.0543 | 0.25096 | -0.68197 | -1.7776 | -1.6968 | -1.344 | 3.3187 | -3.0533
Solar | 738.2019 | 686.4267 | 1084.9725 | 1023.3217 | 1400.0507 | 1694.0283 | 1872.2173 | 1725.9878 | 1771.1664 | 1456.3527 | 1215.8122 | 1043.1101
Wind | 7702.2554 | 5996.0381 | 10483.2739 | 8894.5721 | 9104.3122 | 6960.1678 | 5369.9395 | 7374.9881 | 6767.4295 | 8607.6657 | 8543.0988 | 9599.4213
* Information for this month has been updated based on final settlements.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Net DC/BLT | Gas-CC | Gas
Jan* | 3801 | 6803 | 7702 | 738 | 36 | 22 | 1 | 40 | 10744 | 934
Feb* | 3317 | 5540 | 5996 | 686 | 56 | 17 | 14 | 171 | 10455 | 2843
Mar* | 3369 | 4036 | 10483 | 1085 | 23 | 22 | -1 | 52 | 7023 | 1235
Apr* | 2988 | 4859 | 8895 | 1023 | 51 | 19 | 2 | 80 | 8119 | 2053
May* | 3748 | 5956 | 9104 | 1400 | 76 | 18 | -1 | 62 | 10228 | 1193
Jun* | 3099 | 7804 | 6960 | 1694 | 77 | 29 | 0 | 137 | 14621 | 2925
Jul* | 3705 | 8192 | 5370 | 1872 | 57 | 68 | -1 | 102 | 16735 | 3476
Aug* | 3696 | 7706 | 7375 | 1726 | 56 | 75 | -2 | 198 | 17045 | 3520
Sep* | 3595 | 6876 | 6767 | 1771 | 34 | 65 | -2 | 239 | 14538 | 2672
Oct* | 2178 | 6140 | 8608 | 1456 | 18 | 65 | -1 | 117 | 11360 | 2730
Nov* | 2984 | 5301 | 8543 | 1216 | 11 | 18 | 3 | 48 | 8425 | 1446
Dec* | 3790 | 5611 | 9599 | 1043 | 9 | 17 | -3 | 22 | 9021 | 1078

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2020 Actual | 2021 Actual
Jan* | 29045 | 30822
Feb* | 28014 | 29096
Mar* | 28214 | 27328
Apr* | 26968 | 28090
May* | 31283 | 31785
Jun* | 35530 | 37346
Jul* | 40318 | 39577
Aug* | 40847 | 41396
Sep* | 32785 | 36555
Oct* | 31266 | 32670
Nov* | 27335 | 27996
Dec* | 30301 | 30188

## data_Energy Comparisons_2 (hidden)
| 2021 Forecast | 2021 Actual
Jan* | 32810 | 30822
Feb* | 28418 | 29096
Mar* | 29475 | 27328
Apr* | 28911 | 28090
May* | 33507 | 31785
Jun* | 38283 | 37346
Jul* | 41278 | 39577
Aug* | 42217 | 41396
Sep* | 36300 | 36555
Oct* | 32084 | 32670
Nov* | 29556 | 27996
Dec* | 33004 | 30188

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2020 Actual | 2021 Actual
Jan* | 49072 | 58606
Feb* | 56128 | 69812
Mar* | 52833 | 45380
Apr* | 55292 | 52814
May* | 64411 | 62832
Jun* | 68146 | 70257
Jul* | 74344 | 73145
Aug* | 74376 | 73687
Sep* | 64835 | 72370
Oct* | 63064 | 62476
Nov* | 49020 | 48983
Dec* | 55916 | 49192

## data_Demand Comparisons_2 (hidden)
| 2021 Forecast | 2021 Actual
Jan* | 60074 | 58606
Feb* | 59380 | 69812
Mar* | 52541 | 45380
Apr* | 55139 | 52814
May* | 64742 | 62832
Jun* | 72662 | 70257
Jul* | 74253 | 73145
Aug* | 77244 | 73687
Sep* | 71201 | 72370
Oct* | 62782 | 62476
Nov* | 54261 | 48983
Dec* | 59500 | 49192