## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2021

## Slide 2: Non-IRR GREDP < 85% – October 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 343 | 73 | 91 | 1.32 | 80.22
Unit 353 | 25 | 36 | 1.55 | 69.44
Unit 357 | 0 | 12 | 1.74 | 0.00

## Slide 3: IRR Summary – October 2021
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 82.58 | 68.85 | 82.04
GREDP Median (%) | 94.61 | 80.95 | 88.03
Average MW Error | 4.42 | 4.61 | 4.72
Median MW Error | 3.92 | 4.19 | 4.34
Total Intervals Scored | 102,573 | 38,931 | 37,752
100+ Intervals Scored | 119 | 165 | 61
Total Intervals Scored Average | 359.91 | 347.60 | 618.89

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,567 | 3,581 | 3.47 | 99.61
Unit 2 | 2,405 | 2,407 | 2.20 | 99.92
Unit 3 | 2,370 | 2,372 | 2.41 | 99.92
Unit 4 | 2,367 | 2,372 | 1.99 | 99.79
Unit 5 | 2,281 | 2,334 | 1.36 | 97.73
Unit 6 | 2,103 | 2,122 | 8.34 | 99.10
Unit 7 | 2,100 | 2,108 | 2.17 | 99.62
Unit 9 | 2,014 | 2,105 | 2.90 | 95.68
Unit 12 | 1,834 | 1,871 | 5.32 | 98.02
Unit 13 | 1,846 | 1,853 | 0.97 | 99.62
Unit 14 | 1,742 | 1,825 | 3.09 | 95.45
Unit 15 | 1,712 | 1,800 | 1.93 | 95.11
Unit 16 | 1,649 | 1,723 | 1.69 | 95.71
Unit 17 | 1,662 | 1,703 | 1.99 | 97.59
Unit 20 | 1,628 | 1,656 | 6.08 | 98.31
Unit 21 | 1,620 | 1,654 | 5.95 | 97.94
Unit 22 | 1,574 | 1,580 | 6.33 | 99.62
Unit 24 | 1,365 | 1,367 | 3.70 | 99.85

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 25 | 1,330 | 1,356 | 9.75 | 98.08
Unit 26 | 1,312 | 1,327 | 7.62 | 98.87
Unit 27 | 1,188 | 1,219 | 3.41 | 97.46
Unit 28 | 1,186 | 1,201 | 13.66 | 98.75
Unit 29 | 1,101 | 1,144 | 4.61 | 96.24
Unit 30 | 1,095 | 1,142 | 3.92 | 95.88
Unit 31 | 1,125 | 1,127 | 4.61 | 99.82
Unit 37 | 919 | 948 | 5.52 | 96.94
Unit 41 | 856 | 890 | 5.82 | 96.18
Unit 42 | 854 | 890 | 4.75 | 95.96
Unit 43 | 853 | 886 | 1.44 | 96.28
Unit 44 | 832 | 873 | 3.34 | 95.30
Unit 45 | 839 | 852 | 2.12 | 98.47
Unit 46 | 824 | 833 | 3.48 | 98.92
Unit 51 | 678 | 703 | 2.60 | 96.44
Unit 52 | 668 | 702 | 8.04 | 95.16
Unit 54 | 683 | 683 | 5.24 | 100.00
Unit 57 | 636 | 640 | 5.18 | 99.38

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 59 | 631 | 631 | 6.98 | 100.00
Unit 61 | 606 | 621 | 3.11 | 97.58
Unit 64 | 583 | 599 | 5.01 | 97.33
Unit 65 | 581 | 597 | 2.89 | 97.32
Unit 66 | 580 | 596 | 2.63 | 97.32
Unit 67 | 568 | 593 | 3.07 | 95.78
Unit 68 | 576 | 588 | 1.65 | 97.96
Unit 69 | 569 | 586 | 4.38 | 97.10
Unit 75 | 512 | 518 | 4.67 | 98.84
Unit 76 | 515 | 518 | 4.39 | 99.42
Unit 78 | 472 | 491 | 5.71 | 96.13
Unit 88 | 374 | 375 | 5.68 | 99.73
Unit 90 | 332 | 346 | 5.55 | 95.95
Unit 91 | 346 | 346 | 3.07 | 100.00
Unit 95 | 265 | 269 | 4.86 | 98.51
Unit 97 | 250 | 250 | 5.24 | 100.00
Unit 106 | 171 | 179 | 1.84 | 95.53
Unit 107 | 176 | 177 | 2.67 | 99.44

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 108 | 171 | 172 | 11.30 | 99.42
Unit 109 | 164 | 167 | 8.99 | 98.20
Unit 115 | 124 | 128 | 4.32 | 96.88
Unit 119 | 111 | 116 | 1.23 | 95.69

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 8 | 1,854 | 2,106 | 3.67 | 88.03
Unit 10 | 1,582 | 1,931 | 5.44 | 81.93
Unit 11 | 1,827 | 1,926 | 2.99 | 94.86
Unit 18 | 1,593 | 1,702 | 3.45 | 93.60
Unit 19 | 1,408 | 1,697 | 4.64 | 82.97
Unit 23 | 1,346 | 1,469 | 4.73 | 91.63
Unit 32 | 970 | 1,125 | 7.22 | 86.22
Unit 33 | 995 | 1,110 | 7.84 | 89.64
Unit 34 | 983 | 1,049 | 5.08 | 93.71
Unit 35 | 938 | 1,006 | 5.23 | 93.24
Unit 36 | 906 | 986 | 1.42 | 91.89
Unit 38 | 887 | 941 | 1.55 | 94.26
Unit 39 | 767 | 903 | 8.28 | 84.94
Unit 40 | 811 | 893 | 9.56 | 90.82
Unit 47 | 757 | 811 | 5.05 | 93.34
Unit 48 | 723 | 777 | 7.90 | 93.05
Unit 49 | 682 | 737 | 6.32 | 92.54
Unit 50 | 685 | 732 | 1.27 | 93.58

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 53 | 656 | 694 | 0.85 | 94.52
Unit 55 | 144 | 674 | 11.80 | 21.36
Unit 56 | 627 | 670 | 1.10 | 93.58
Unit 58 | 590 | 640 | 5.42 | 92.19
Unit 60 | 553 | 629 | 6.73 | 87.92
Unit 62 | 474 | 602 | 3.33 | 78.74
Unit 63 | 478 | 599 | 5.12 | 79.80
Unit 70 | 476 | 581 | 4.04 | 81.93
Unit 71 | 517 | 556 | 5.55 | 92.99
Unit 72 | 378 | 556 | 2.63 | 67.99
Unit 73 | 436 | 550 | 4.34 | 79.27
Unit 74 | 456 | 535 | 1.99 | 85.23
Unit 77 | 325 | 501 | 5.70 | 64.87
Unit 79 | 419 | 451 | 3.72 | 92.90
Unit 80 | 402 | 438 | 4.30 | 91.78
Unit 81 | 303 | 434 | 8.72 | 69.82
Unit 82 | 395 | 427 | 2.26 | 92.51
Unit 83 | 381 | 422 | 4.70 | 90.28

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 84 | 234 | 396 | 2.52 | 59.09
Unit 85 | 299 | 388 | 2.73 | 77.06
Unit 86 | 357 | 385 | 1.03 | 92.73
Unit 87 | 312 | 378 | 7.85 | 82.54
Unit 89 | 233 | 362 | 10.45 | 64.36
Unit 92 | 295 | 313 | 10.49 | 94.25
Unit 93 | 228 | 303 | 8.33 | 75.25
Unit 94 | 276 | 295 | 1.13 | 93.56
Unit 96 | 224 | 266 | 2.97 | 84.21
Unit 98 | 215 | 247 | 2.60 | 87.04
Unit 99 | 232 | 245 | 3.02 | 94.69
Unit 100 | 116 | 227 | 0.75 | 51.10
Unit 101 | 182 | 205 | 2.81 | 88.78
Unit 102 | 171 | 203 | 0.41 | 84.24
Unit 103 | 188 | 201 | 3.42 | 93.53
Unit 104 | 188 | 200 | 3.60 | 94.00
Unit 105 | 122 | 198 | 4.92 | 61.62
Unit 110 | 151 | 159 | 6.45 | 94.97

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – Oct. 2021
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 111 | 71 | 157 | 5.48 | 45.22
Unit 112 | 74 | 136 | 3.01 | 54.41
Unit 113 | 111 | 133 | 15.04 | 83.46
Unit 114 | 95 | 128 | 2.21 | 74.22
Unit 116 | 89 | 124 | 1.97 | 71.77
Unit 117 | 31 | 122 | 6.07 | 25.41
Unit 118 | 108 | 121 | 4.46 | 89.26